*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  21-Nov-2001

Data Processor :  barryd

Diary File     :  /acdata/hur01/docs_proc/011121Hs_P.doc

Total Number of Records: 8127

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500

==============================================================================

N42RF ADC Channel Assignments for 011121

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N42RF ABD 011121 IMPROVE 2001

01      ttf1    	Rosemount Total Temp #1 FWD     SN 58173/amp #1 cal date 060701

02      ttf2    	Rosemount Total Temp #2 AFT     SN A7868/amp #137 cal date 060701

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52724/92616 cal date 060701

04      pdaf    	Attack Pressure Fuselage	  SN 823 CAL DATE 060701

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 832 CAL DATE 060701

06      pdsf    	Sideslip Pressure Fuselage   	  SN 844 CAL DATE 060701

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 833 CAL DATE 060701

08      psw    	Static Pressure Wingtip           SN 162 CAL DATE 060701

09      pqw    	Dynamic Pressure Wingtip          SN 162 CAL DATE 060701

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 648 CAL DATE 111901

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 642 CAL DATE 111901

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2671 CAL DATE 060701

17      pdsr    	Sideslip Pressure Radome 	  SN 284 CAL DATE 060701

18      pqr    	Dynamic Pressure Radome  	  SN 658 CAL DATE 060701

19      ptr    	Total Pressure Radome 		  SN 227 CAL DATE 060701

20      ttr    	Total Temperature Radome          SN 3081/amp #124 cal date 072099

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  392 w/1705 CAL DATE  060701

25

26

27      dpbuck    	BK Dewpoint Fuselage Buck Research 1011C w/ 1011B 313-P w/ 52721 cal date 071801

28      dw3bal    	DW3 Balance

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 165 CAL DATE 060701

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 165 CAL DATE 060701

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 860 CAL DATE 060701

35

36

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Rmnt 1201F   sn 177 cal date 060701

48      axbt1    	AXBT Channel 1

49      axbt2    	AXBT Channel 2

50      axbt3    	AXBT Channel 3

51

52

53

54

55

56

57

58

59

60

61

62

63      truprt5    	Up PRT-5 Radiometer           Barnes Up-Looking Radiometer 588 cal date 111901

64

65

66

67

68

69

70

71

72

73

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  0.71 minutes

No problems detected on yrhp or mohp or ddhp for 011121H_s

NO time DROPOUT (i.e., No dt<0) found in  011121H_s

NO REDUNDANT time (i.e., No dt==0) found in  011121H_s

There is a TIME GAP at this sample number:

2911

Here are the contiguous blocks:

BLOCKS 	      SAMPLES		       UTC

01	    00001-02910		15:03:51-15:52:20

02	    02911-08127		15:52:34-17:19:30

Checking data CONTNUITY around time gap at 2911

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

02908	057138   21   15   52   18	 877.87	18.95	64.01

02909	057139   21   15   52   19	 877.80	18.94	63.89

02910	057140   21   15   52   20	 877.75	18.94	63.81

02911	057154   21   15   52   34	 845.56	18.30	63.59

02912	057155   21   15   52   35	 880.12	19.41	67.50

02913	057156   21   15   52   36	 880.39	19.46	67.73

02914	057157   21   15   52   37	 880.63	19.50	68.01

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 2911

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

02908	057138   21   15   52   18	 877.87	18.95	64.01

02909	057139   21   15   52   19	 877.80	18.94	63.89

02910	057140   21   15   52   20	 877.76	18.94	63.73

02911	057154   21   15   52   34	 879.87	19.37	67.24

02912	057155   21   15   52   35	 880.12	19.41	67.50

02913	057156   21   15   52   36	 880.39	19.46	67.73

02914	057157   21   15   52   37	 880.63	19.50	68.01

Final contiguous blocks saved in ----> z_blksndx & z_blksutc:

BLOCKS 	      SAMPLES		       UTC

01	    00001-02910		15:03:51-15:52:20

02	    02911-08127		15:52:34-17:19:30

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  [15 12 00 17 12 00]

There is no: dpegg

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1279

Dynamic pressure values set to 35.0 mb for sample numbers above: 6128

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1278

Dynamic pressure values set to 35.0 mb for sample numbers above: 6128

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1289

Dynamic pressure values set to 35.0 mb for sample numbers above: 6128

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1282

Dynamic pressure values set to 35.0 mb for sample numbers above: 6128

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1277

Dynamic pressure values set to 35.0 mb for sample numbers above: 6128

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1277

Dynamic pressure values set to 35.0 mb for sample numbers above: 6128

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:  1289

z_pqnd:  6128

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dpbuck  	dw3bal

hhhp    	hr159p  	klwcV

lwcjw   	mmhp    	mohp

pcab    	sshp    	trdprt5V

truprt5 	truprt5V	tsrdco2

tsrdco2V		tsrdco2V

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 011121Hs		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                | > 10 mb/s         |  NO   |

|pqw     | < 15 mb        |                |                   |  NO   |

|pqf1    | < 15 mb        |                |                   |  NO   |

|pqf2    | < 15 mb        |                |                   |  NO   |

|pqaf    | < 15 mb        |                |                   |  NO   |

|pqsf    | < 15 mb        |                |                   |  NO   |

|pdar    |                |                |                   |  YES  |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                |                   |  YES  |

|hi1     | < 0 m          |                |                   |  NO   |

|hi2     | < 0 m          |                |                   |  NO   |

|hg      | < 0 m          |                |                   |  NO   |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                | > 0.005 deg/s     |  NO   |

|lati2   |                |                | > 0.005 deg/s     |  NO   |

|latg    |                |                | > 0.005 deg/s     |  NO   |

|longi1  |                |                | > 0.005 deg/s     |  NO   |

|longi2  |                |                | > 0.005 deg/s     |  NO   |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                |                   |  YES  |

|vxi2    |                |                |                   |  YES  |

|vxg     |                |                |                   |  YES  |

|vyi1    |                |                |                   |  YES  |

|vyi2    |                |                |                   |  YES  |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                | > 5 C/s           |  NO   |

|ttf2    |                |                |                   |  YES  |

|ttr     |                |                |                   |  YES  |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                | > 5 C/s           |  NO   |

|dpaocf  | < -80 C        |                | > 5 C/s           |  NO   |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                | > 10 mb/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqr

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqr

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqw     | < 15 mb        |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqw

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqw

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqf1    | < 15 mb        |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqf1

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqf1

- Enter q to quit this routine (qcheckall.m)

What is your choice:

Your choice is NO Reference variable

Go ahead with segments selection and correction of pqf1? y/n [y]

Using the mouse on LOWER plot, put the hair-cross at

BEGINNING of desired segment, then click the left button once

Put the hair-cross now at

END of desired segment, then click the left button once

You selected: Start=4760,  End=5389

Are you satisfied with segment or re-plot <w>hole flight? y/n/w [n]

Using the mouse on LOWER plot, put the hair-cross at

BEGINNING of desired segment, then click the left button once

Put the hair-cross now at

END of desired segment, then click the left button once

You selected: Start=5386,  End=5374

Are you satisfied with segment or re-plot <w>hole flight? y/n/w [n] w

Using the mouse on LOWER plot, put the hair-cross at

BEGINNING of desired segment, then click the left button once

Put the hair-cross now at

END of desired segment, then click the left button once

You selected: Start=4801,  End=5389

Are you satisfied with segment or re-plot <w>hole flight? y/n/w [n] y

Despike, Replace, do Nothing on this segment? d/r/n [d] r

Sorry there is NO Reference variable to replace pqf1 with

You can still choose a Reference by following these steps:

Answer 'n' the next prompt: Still LOOKING for bad data?

Answer 'y' the 2nd next prompt: RE-DO corrections of pqf1?

This is the WHOLE picture.

The last segment you worked on is

delineated by CYAN vertical bars.

Still LOOKING for bad data? y/n [y]

Using the mouse on LOWER plot, put the hair-cross at

BEGINNING of desired segment, then click the left button once

Put the hair-cross now at

END of desired segment, then click the left button once

You selected: Start=4784,  End=5379

Are you satisfied with segment or re-plot <w>hole flight? y/n/w [n] y

Despike, Replace, do Nothing on this segment? d/r/n [d]

If you selected YES by mistake, just go through despiking but

SKIP the selected spike

Using the mouse on LOWER plot, put the hair-cross at

BEGINNING of desired spike, then click the left button once

Put the hair-cross now at

END of same spike, then click the left button once

Done selecting Start & End of spikes? y/n [n] y

IN GENERAL, THE SPIKES HAVE ONE OF THESE SHAPES:

B	       C			A		D

oooooooo 		          ooooooo                ooooo

o        o		         	 o              o

o	       o		OR        o            o

A o	        o D                        o          o

ooooooo   	         ooooooo                 B  oooooooooo C

A       D                                   B=C

ooooo      oooo                                 oo

o    o                     OR             o  o

o  o                                    o    o

oo                                    o      o

B=C                             oooooo        ooooooo

A        D

B     C=D                               A

ooooooo			     ooooooo

o      |				    o        |

o       |Data End		OR           o       |Data End

A o        |				      o      |

ooooo         |				       o     |

oooooo

B   C=D

A=B    C				       	      D

ooooooo			             |        ooooooo

|      o			   Data Start|       o

Data Start|	    o	      		OR           |      o

|	     o D		             |     o

|	      oooooo		             oooooo C

A=B

*******Choosing Final Start and End points A, B, C, D******

**********Point A*********

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

**********Point B*********

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

**********Point C*********

Value of Right plotting margin is set to 0

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

**********Point D*********

Value of Right plotting margin is set to 0

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

What now? (correct/redo/skip) c/r/s [c]

Warning: Divide by zero.

> In /opt/uci.src/uci/mfiles/corrvarfuclk.m at line 314

In /opt/uci.src/uci/mfiles/corrvar.m at line 289

In /opt/uci.src/uci/mfiles/qcheckall.m at line 226

In /opt/uci.src/uci/mfiles/aocproc.m at line 122

Warning: Divide by zero.

> In /opt/uci.src/uci/mfiles/corrvarfuclk.m at line 315

In /opt/uci.src/uci/mfiles/corrvar.m at line 289

In /opt/uci.src/uci/mfiles/qcheckall.m at line 226

In /opt/uci.src/uci/mfiles/aocproc.m at line 122

Rework this spike or go to Next one? r/n [n] r

Current Left plotting margin is: 20

Enter new value or Return for no change

New width? [as is] 40

Current Right plotting margin is: 0

Enter new value or Return for no change

New width? [as is] 40

Reworking the spike

*******Choosing Final Start and End points A, B, C, D******

**********Point A*********

Value of Left plotting margin is set to 0

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

**********Point B*********

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

**********Point C*********

Value of Right plotting margin is set to 0

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

**********Point D*********

Value of Right plotting margin is set to 0

Going to zplotvarhappy.m now...

Enter number of samples to move by, preceeded with:

minus sign '-' to move backwards

no sign to move forward

Or enter 'y' if happy with selection or 'n' for default option

Are you happy with this red point? y/n/(-x)/x [n] y

What now? (correct/redo/skip) c/r/s [c]

Warning: Divide by zero.

> In /opt/uci.src/uci/mfiles/corrvarfuclk.m at line 314

In /opt/uci.src/uci/mfiles/corrvar.m at line 289

In /opt/uci.src/uci/mfiles/qcheckall.m at line 226

In /opt/uci.src/uci/mfiles/aocproc.m at line 122

Warning: Divide by zero.

> In /opt/uci.src/uci/mfiles/corrvarfuclk.m at line 315

In /opt/uci.src/uci/mfiles/corrvar.m at line 289

In /opt/uci.src/uci/mfiles/qcheckall.m at line 226

In /opt/uci.src/uci/mfiles/aocproc.m at line 122

Rework this spike or go to Next one? r/n [n]

Error in ==> /opt/uci.src/uci/mfiles/corrvarfuclk.m

On line 347  ==>        redo=input('Rework this spike or go to Next one? r/n [n] ','s');

Error in ==> /opt/uci.src/uci/mfiles/corrvar.m

On line 289  ==>       [zvarc_t,spkstpt,spksndx]=corrvarfuclk(zvar,zvarref,timetp,...

Error in ==> /opt/uci.src/uci/mfiles/qcheckall.m

On line 226  ==>          [varc,spkstpt,spksndx]=corrvar(zvar,varname,...

Error in ==> /opt/uci.src/uci/mfiles/aocproc.m

On line 122  ==> qcheckall	%Checks and corrects out-of-bounds variables

>>

>>

>>

>>

>>

>> exit