*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  14-Jan-2002

Data Processor :  barryd

Diary File     :  /acdata/hur01/docs_proc/011216Hs_P.doc

Total Number of Records: 30660

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500 11000 11500 12000 12500 13000 13500 14000 14500 15000 15500 16000 16500 17000 17500 18000 18500 19000 19500 20000 20500 21000 21500 22000 22500 23000 23500 24000 24500 25000 25500 26000 26500 27000 27500 28000 28500 29000 29500 30000 30500 31000

==============================================================================

N42RF ADC Channel Assignments for 011216

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N42RF ABD 011121 IMPROVE 2001

01      ttf1    	Rosemount Total Temp #1 FWD     SN 58173/amp #1 cal date 060701

02      ttf2    	Rosemount Total Temp #2 AFT     SN A7868/amp #137 cal date 060701

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52724/92616 cal date 060701

04      pdaf    	Attack Pressure Fuselage	  SN 823 CAL DATE 060701

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 832 CAL DATE 060701

06      pdsf    	Sideslip Pressure Fuselage   	  SN 844 CAL DATE 060701

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 833 CAL DATE 060701

08      psw    	Static Pressure Wingtip           SN 162 CAL DATE 060701

09      pqw    	Dynamic Pressure Wingtip          SN 162 CAL DATE 060701

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 648 CAL DATE 111901

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 642 CAL DATE 111901

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2671 CAL DATE 060701

17      pdsr    	Sideslip Pressure Radome 	  SN 284 CAL DATE 060701

18      pqr    	Dynamic Pressure Radome  	  SN 658 CAL DATE 060701

19      ptr    	Total Pressure Radome 		  SN 227 CAL DATE 060701

20      ttr    	Total Temperature Radome          SN 3081/amp #124 cal date 072099

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  392 w/1705 CAL DATE  060701

25

26

27      dpbuck    	BK Dewpoint Fuselage Buck Research 1011C w/ 1011B 313-P w/ 52721 cal date 071801

28      dw3bal    	DW3 Balance

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 165 CAL DATE 060701

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 165 CAL DATE 060701

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 860 CAL DATE 060701

35

36

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Rmnt 1201F   sn 177 cal date 060701

48      axbt1    	AXBT Channel 1

49      axbt2    	AXBT Channel 2

50      axbt3    	AXBT Channel 3

51

52

53

54

55

56

57

58

59

60

61

62

63      truprt5    	Up PRT-5 Radiometer           Barnes Up-Looking Radiometer 588 cal date 111901

64

65

66

67

68

69

70

71

72

73

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  2.74 minutes

No problems detected on yrhp or mohp or ddhp for 011216H_s

NO time DROPOUT (i.e., No dt<0) found in  011216H_s

NO REDUNDANT time (i.e., No dt==0) found in  011216H_s

DATA IN TAPE ARE CONTIGUOUS

BLOCKS 	      SAMPLES		       UTC

01	    00001-30660		23:38:01-08:09:00

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  [23 54 00 08 02 00]

There is no: dpegg

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 970

Dynamic pressure values set to 35.0 mb for sample numbers above: 30045

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1009

Dynamic pressure values set to 35.0 mb for sample numbers above: 30045

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 970

Dynamic pressure values set to 35.0 mb for sample numbers above: 29197

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 960

Dynamic pressure values set to 35.0 mb for sample numbers above: 30167

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 968

Dynamic pressure values set to 35.0 mb for sample numbers above: 30044

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 964

Dynamic pressure values set to 35.0 mb for sample numbers above: 30047

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:  1009

z_pqnd: 29197

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dpbuck  	dw3bal

hhhp    	hr159p  	klwcV

lwcjw   	mmhp    	mohp

pcab    	sshp    	trdprt5V

truprt5 	truprt5V	tsrdco2

tsrdco2V		tsrdco2V

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 011216Hs		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        | > 170 mb       |                   |  NO   |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                | > 10 mb/s         |  NO   |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                | > 20 mb        | > 25 mb/s         |  NO   |

|pdaf    |                |                |                   |  YES  |

|pdsr    | < -70 mb       | > 70 mb        |                   |  NO   |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                | > 10 mb/s         |  NO   |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     |                |                |                   |  YES  |

|hi2     |                |                |                   |  YES  |

|hg      |                |                |                   |  YES  |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    | < -10 m/s      |                |                   |  NO   |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                |                   |  YES  |

|lati2   |                |                |                   |  YES  |

|latg    |                |                |                   |  YES  |

|longi1  |                |                |                   |  YES  |

|longi2  |                |                |                   |  YES  |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                |                   |  YES  |

|vxi2    |                |                |                   |  YES  |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                |                   |  YES  |

|vyi2    |                |                |                   |  YES  |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                | > 5 C/s           |  NO   |

|ttf2    |                |                |                   |  YES  |

|ttr     |                |                |                   |  YES  |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                | > 5 C/s           |  NO   |

|dpaocf  |                |                |                   |  YES  |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        | > 170 mb       |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqr

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqr

- Enter q to quit this routine (qcheckall.m)

What is your choice:   q

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur01 Data File:  011216H

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

011216H - HP Time Period of Slow Tape Operation:

Starting Time --> 23:38:01 UTC

Ending Time   --> 08:09:00 UTC

Total time in seconds: 30660.0

Total time in minutes: 511.00

Total time in hours  : 8.52

OR, 8 hour(s), 31 minute(s), and 0 second(s)

-----------------------------------------------------

011216H - Contiguous Time Check on HP Time.

The slow tape is contiguous: 23:38:01 - 08:09:00 UTC

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpbuck

3. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-3 [1]:  3

Reference Dewpoint Sensor -----------> dpgef

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:  1

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N42RF AOC Empirical Adjustments  14-Jan-2002

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpgef	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.31 mbar)	XXXXXX

Pressure      pqr     	(0.87 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.15211

(from N42RF)   	A2 = -0.0122277

A3 =  0.00185083

A4 = -0.000077304

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 12 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

s_dpgef_orig      s_ttf1_orig       s_trdprt5_orig    s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.11 m/s

There are 15 newly-calculated variables:

s_ah_gef  s_mr_gef   s_tad   s_theta     s_machd

s_rh_gef  s_tasdf    s_tvir  s_thetav    s_machh

s_sh_gef  s_tashf    s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:  two

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE2: ---->	s_wndff2

***FYI: The Angle of Attack Coefficients are for TOGA COARE

obtained from 921128H1_m1sp and 921128H4_m4sp

PQF1 offset: z_offset_pqf1=1.31 mb for N42RF

No offset to heading on P342RF

No offset to ssaf on P342RF

Used s_ttf1

There are 10 newly-calculated variables 30660 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff2   s_wdff2   s_wlgff2   s_aaf     s_ssaf    a_aaf

s_wyff2   s_wsff2   s_wltff2   c_kaaf    c_kssaf   a_ssaf

s_wzff2   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_longg_orig        s_trdprt5V

a_dpref             s_longi1            s_trdprt5_orig

a_fldate            s_longi1c           s_trki1c

a_person            s_longi2            s_trki2c

a_project           s_longi2c           s_truprt5

a_ssaf              s_lwcjw             s_truprt5V

a_timeEND           s_machd             s_tsrdco2

a_timeSTART         s_machh             s_tsrdco2V

a_ttref             s_mmhp              s_ttf1

c_baaf              s_mohp              s_ttf1_orig

c_bssaf             s_mr_gef            s_ttf2

c_kaaf              s_pcab              s_ttr

c_kssaf             s_pdaf              s_tvir

do_fastdata         s_pdar              s_vxg

s_aaf               s_pdsf              s_vxg_orig

s_ah_gef            s_pdsr              s_vxi1

s_axbt1             s_pitchi1           s_vxi1c

s_axbt2             s_pitchi2           s_vxi2

s_axbt3             s_pqaf              s_vxi2c

s_azi1              s_pqaf_orig         s_vyg

s_azi2              s_pqf1              s_vyg_orig

s_dai1              s_pqf1_orig         s_vyi1

s_dai1c             s_pqf1c             s_vyi1c

s_dai2              s_pqf2              s_vyi2

s_dai2c             s_pqf2_orig         s_vyi2c

s_ddhp              s_pqr               s_vzg

s_dpaocf            s_pqr_orig          s_vzi1

s_dpbuck            s_pqsf              s_vzi1_p3

s_dpgef             s_pqsf_orig         s_vzi1c

s_dpgef_orig        s_pqw               s_vzi2

s_dw3bal            s_pqw_orig          s_vzi2_p3

s_fstape            s_psf               s_vzi2c

s_hdgi1             s_psfc              s_wdff2

s_hdgi1_orig        s_psw               s_wlgff2

s_hdgi2             s_ptr               s_wltff2

s_hdgi2_orig        s_rh_gef            s_wsff2

s_hg                s_rolli1            s_wxff2

s_hhhp              s_rolli2            s_wyff2

s_hi1               s_sh_gef            s_wzff2

s_hi1_p3            s_ssaf              s_yrhp

s_hi1c              s_sshp              z_acnum

s_hi2               s_tad               z_fstindx

s_hi2_p3            s_tad_f1            z_fstutc

s_hi2c              s_tad_f2            z_min_size

s_hpalt_psfc        s_tad_r             z_offset_dpgef

s_hr159p            s_tasdf             z_offset_hdg

s_hr159s            s_tashf             z_offset_pqf1

s_hr232             s_theta             z_offset_pqr

s_klwcV             s_thetae            z_offset_trdprt5

s_latg              s_thetav            z_offset_ttf1

s_latg_orig         s_timehp_run        z_offset_ttf2

s_lati1             s_timehp_ymdhms     z_pqnd

s_lati1c            s_timetc_01         z_pqst

s_lati2             s_timetp            z_srate

s_lati2c            s_tl                z_varnames

s_longg             s_trdprt5

Name                   Size         Bytes  Class

a_aaf                  1x150          300  char array

a_dpref                1x5             10  char array

a_fldate               1x10            20  char array

a_person               1x6             12  char array

a_project              1x5             10  char array

a_ssaf                 1x149          298  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              30660x1         245280  double array

s_ah_gef           30660x1         245280  double array

s_axbt1            30660x1         245280  double array

s_axbt2            30660x1         245280  double array

s_axbt3            30660x1         245280  double array

s_azi1             30660x1         245280  double array

s_azi2             30660x1         245280  double array

s_dai1             30660x1         245280  double array

s_dai1c            30660x1         245280  double array

s_dai2             30660x1         245280  double array

s_dai2c            30660x1         245280  double array

s_ddhp             30660x1         245280  double array

s_dpaocf           30660x1         245280  double array

s_dpbuck           30660x1         245280  double array

s_dpgef            30660x1         245280  double array

s_dpgef_orig       30660x1         245280  double array

s_dw3bal           30660x1         245280  double array

s_fstape           30660x1         245280  double array

s_hdgi1            30660x1         245280  double array

s_hdgi1_orig       30660x1         245280  double array

s_hdgi2            30660x1         245280  double array

s_hdgi2_orig       30660x1         245280  double array

s_hg               30660x1         245280  double array

s_hhhp             30660x1         245280  double array

s_hi1              30660x1         245280  double array

s_hi1_p3           30660x1         245280  double array

s_hi1c             30660x1         245280  double array

s_hi2              30660x1         245280  double array

s_hi2_p3           30660x1         245280  double array

s_hi2c             30660x1         245280  double array

s_hpalt_psfc       30660x1         245280  double array

s_hr159p           30660x1         245280  double array

s_hr159s           30660x1         245280  double array

s_hr232            30660x1         245280  double array

s_klwcV            30660x1         245280  double array

s_latg             30660x1         245280  double array

s_latg_orig        30660x1         245280  double array

s_lati1            30660x1         245280  double array

s_lati1c           30660x1         245280  double array

s_lati2            30660x1         245280  double array

s_lati2c           30660x1         245280  double array

s_longg            30660x1         245280  double array

s_longg_orig       30660x1         245280  double array

s_longi1           30660x1         245280  double array

s_longi1c          30660x1         245280  double array

s_longi2           30660x1         245280  double array

s_longi2c          30660x1         245280  double array

s_lwcjw            30660x1         245280  double array

s_machd            30660x1         245280  double array

s_machh            30660x1         245280  double array

s_mmhp             30660x1         245280  double array

s_mohp             30660x1         245280  double array

s_mr_gef           30660x1         245280  double array

s_pcab             30660x1         245280  double array

s_pdaf             30660x1         245280  double array

s_pdar             30660x1         245280  double array

s_pdsf             30660x1         245280  double array

s_pdsr             30660x1         245280  double array

s_pitchi1          30660x1         245280  double array

s_pitchi2          30660x1         245280  double array

s_pqaf             30660x1         245280  double array

s_pqaf_orig        30660x1         245280  double array

s_pqf1             30660x1         245280  double array

s_pqf1_orig        30660x1         245280  double array

s_pqf1c            30660x1         245280  double array

s_pqf2             30660x1         245280  double array

s_pqf2_orig        30660x1         245280  double array

s_pqr              30660x1         245280  double array

s_pqr_orig         30660x1         245280  double array

s_pqsf             30660x1         245280  double array

s_pqsf_orig        30660x1         245280  double array

s_pqw              30660x1         245280  double array

s_pqw_orig         30660x1         245280  double array

s_psf              30660x1         245280  double array

s_psfc             30660x1         245280  double array

s_psw              30660x1         245280  double array

s_ptr              30660x1         245280  double array

s_rh_gef           30660x1         245280  double array

s_rolli1           30660x1         245280  double array

s_rolli2           30660x1         245280  double array

s_sh_gef           30660x1         245280  double array

s_ssaf             30660x1         245280  double array

s_sshp             30660x1         245280  double array

s_tad              30660x1         245280  double array

s_tad_f1           30660x1         245280  double array

s_tad_f2           30660x1         245280  double array

s_tad_r            30660x1         245280  double array

s_tasdf            30660x1         245280  double array

s_tashf            30660x1         245280  double array

s_theta            30660x1         245280  double array

s_thetae           30660x1         245280  double array

s_thetav           30660x1         245280  double array

s_timehp_run       30660x1         245280  double array

s_timehp_ymdhms    30660x6        1471680  double array

s_timetc_01        30660x1         245280  double array

s_timetp           30660x1         245280  double array

s_tl               30660x1         245280  double array

s_trdprt5          30660x1         245280  double array

s_trdprt5V         30660x1         245280  double array

s_trdprt5_orig     30660x1         245280  double array

s_trki1c           30660x1         245280  double array

s_trki2c           30660x1         245280  double array

s_truprt5          30660x1         245280  double array

s_truprt5V         30660x1         245280  double array

s_tsrdco2          30660x1         245280  double array

s_tsrdco2V         30660x1         245280  double array

s_ttf1             30660x1         245280  double array

s_ttf1_orig        30660x1         245280  double array

s_ttf2             30660x1         245280  double array

s_ttr              30660x1         245280  double array

s_tvir             30660x1         245280  double array

s_vxg              30660x1         245280  double array

s_vxg_orig         30660x1         245280  double array

s_vxi1             30660x1         245280  double array

s_vxi1c            30660x1         245280  double array

s_vxi2             30660x1         245280  double array

s_vxi2c            30660x1         245280  double array

s_vyg              30660x1         245280  double array

s_vyg_orig         30660x1         245280  double array

s_vyi1             30660x1         245280  double array

s_vyi1c            30660x1         245280  double array

s_vyi2             30660x1         245280  double array

s_vyi2c            30660x1         245280  double array

s_vzg              30660x1         245280  double array

s_vzi1             30660x1         245280  double array

s_vzi1_p3          30660x1         245280  double array

s_vzi1c            30660x1         245280  double array

s_vzi2             30660x1         245280  double array

s_vzi2_p3          30660x1         245280  double array

s_vzi2c            30660x1         245280  double array

s_wdff2            30660x1         245280  double array

s_wlgff2           30660x1         245280  double array

s_wltff2           30660x1         245280  double array

s_wsff2            30660x1         245280  double array

s_wxff2            30660x1         245280  double array

s_wyff2            30660x1         245280  double array

s_wzff2            30660x1         245280  double array

s_yrhp             30660x1         245280  double array

z_acnum                1x1              8  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_min_size             1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            69x8           1104  char array

Grand total is 4385323 elements using 35077034 bytes

Pre-processing is complete...have a nice day.

(total processing time of 2.65 minutes)

Saving: /acdata/hur01/data_mat/011216Hs_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 011216H in netCDF Format? [yN]: y