*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  20-Sep-2000

Data Processor :  stanc

Diary File     :  /acdata/hur00/docs_proc/000913Hs_P.doc

Total Number of Records: 33751

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500 11000 11500 12000 12500 13000 13500 14000 14500 15000 15500 16000 16500 17000 17500 18000 18500 19000 19500 20000 20500 21000 21500 22000 22500 23000 23500 24000 24500 25000 25500 26000 26500 27000 27500 28000 28500 29000 29500 30000 30500 31000 31500 32000 32500 33000 33500 34000

==============================================================================

N42RF ADC Channel Assignments for 000913

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W -   N42RF TRS 081000 Hurricane 2000

01      ttf1    	Rosemount Total Temp #1 FWD     SN A7868/amp #137 CAL DATE 062600

02      ttf2    	Rosemount Total Temp #2 AFT     SN 58173/amp #1 cal date 062600

03      dpgef    	General Eastern Dewpoint   SN 1201/1011B sn 52724/93602 cal date 062600

04      pdaf    	Attack Pressure Fuselage	  SN 823 CAL DATE 062600

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 832 CAL DATE 062600

06      pdsf    	Sideslip Pressure Fuselage   	  SN 844 CAL DATE 062600

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 833 CAL DATE 062600

08      psw    	Static Pressure Wingtip           SN 162 CAL DATE 062600

09      pqw    	Dynamic Pressure Wingtip          SN 162 CAL DATE 062600

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 648 CAL DATE 040100

11      tsrdwin    	Side Rad. Window Temp.

12      tsrdco2    	Radiometric Air Temp (Side)       SN 650 CAL DATE 021000

13      irs    	Ice Rate Sensor

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2671 CAL DATE 062600

17      pdsr    	Sideslip Pressure Radome 	  SN 284 CAL DATE 062600

18      pqr    	Dynamic Pressure Radome  	  SN 658 CAL DATE 062600

19      ptr    	Total Pressure Radome 		  SN 227 CAL DATE 062600

20

21

22

23

24      dpaocf    	AOC Dewpoint Fuselage 	EdgeTech 137X 392/1705   CAL DATE 062600

25

26      lyman    	AIR Lyman Hygrometer

27

28

29      dpdw3    	Dewpoint Fuselage   Buck Research  1011C  313/92768  CAL DATE 080900

30      dpbal    	Dewpoint Balance Fuselage   Buck Research  1011C  313  CAL DATE 080900

31      klwc    	King Liquid Water Voltage

32      psf    	Static Pressure	Fuselage	  SN 165 CAL DATE 062600

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 165 CAL DATE 062600

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 860 CAL DATE 062600

35      pylsa    	slip angle from pylon

36      pylps    	static pressure from pylon

37      pylpq    	dynamic pressure from pylon

38      pylaa    	attack angle from pylon

39      pyltt    	total temp from pylon

40      spare    	Channel 40 test for cross talk with Ch38

41

42

43

44

45

46

47      pcab    	Cabin Pressure Rmnt 1201FA   sn 177 cal date 082300

48      axbt1    	AXBT Channel #1

49      axbt2    	AXBT Channel #2

50      axbt3    	AXBT Channel #3

51

52

53

54

55

56

57

58

59

60

61

62

63      tupprt5    	Up-Looking PRT-5 Radiometer

64      sfmrb3    	SFMR Brightness B3 4.55 GHz

65      sfmrb5    	SFMR Brightness B5 5.64 GHz

66      sfmrb7    	SFMR Brightness B7 6.96 GHz

67      sfmrb8    	SFMR Brightness B8 7.22 GHz

68      sfmrb6    	SFMR Brightness B6 6.34 GHz

69      sfmrb4    	SFMR Brightness B4 5.06 GHz

70      sfmrt8    	SFMR Temp T8 Rcvr Noise Src

71      sfmrt7    	SFMR Temp T7 Rcvr Ref Load

72      sfmrt6    	SFMR Temp T6 Antenna Left

73      sfmrt5    	SFMR Temp T5 Antenna Right

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  3.53 minutes

No problems detected on yrhp or mohp or ddhp for 000913H_s

NO time DROPOUT (i.e., No dt<0) found in  000913H_s

Correcting time data with redundant times and matching 2-second-gaps

redundant times 	matching 2-second-gaps     difference

sample #                 sample #

27633			27634			001

27637			27640			003

27643			27646			003

27649			27652			003

27655			27658			003

27661			27664			003

27668			27670			002

27673			27676			003

27679			27680			001

27681			27682			001

27685			27686			001

27687			27688			001

27692			27694			002

27697			27700			003

27703			27704			001

27705			27706			001

27709			27710			001

27711			27712			001

27716			27718			002

27721			27724			003

27728			27730			002

27733			27734			001

27735			27736			001

27739			27742			003

27746			27747			001

27751			27754			003

27757			27760			003

27764			27766			002

27769			27772			003

27775			27776			001

27777			27778			001

27781			27784			003

27788			27790			002

27793			27796			003

27798			27808			010

27810			27814			004

27815			27816			001

27817			27827			010

27828			27830			002

27831			27832			001

27833			27840			007

27841			27857			016

27858			27876			018

27877			27892			015

27893			27900			007

27901			27912			011

27913			27929			016

27930			27940			010

27941			27942			001

27943			27960			017

27961			27966			005

27967			27971			004

Removing ALL data with redundant time samples and no matching 2-second-gaps

Data in this sample numbers  range are being

removed from all variables listed in z_varnames

27972       27972

All REDUNDANT times have been corrected in 000913H_s

DATA IN TAPE ARE CONTIGUOUS

BLOCKS 	      SAMPLES		       UTC

01	    00001-33750		16:07:11-01:29:40

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>

There is no: dpegg

Save Figures as a PostScript File? [yN]: y

PostScript File Saved: /acdata/hur00/psfiles/000913H_raw.ps

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1112

Dynamic pressure values set to 35.0 mb for sample numbers above: 33034

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1112

Dynamic pressure values set to 35.0 mb for sample numbers above: 33036

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1112

Dynamic pressure values set to 35.0 mb for sample numbers above: 33036

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1084

Dynamic pressure values set to 35.0 mb for sample numbers above: 33067

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1110

Dynamic pressure values set to 35.0 mb for sample numbers above: 33036

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1110

Dynamic pressure values set to 35.0 mb for sample numbers above: 33039

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:  1112

z_pqnd: 33034

ttr     :	variable DOES NOT EXIST in workspace.

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dpbal   	dpdw3

hhhp    	hr159p  	irsV

klwcV   	lwcjw   	lymanV

mmhp    	mohp    	pcab

pylaaV  	pylpqV  	pylpsV

pylsaV  	pylttV  	sfmrb3V

sfmrb4V 	sfmrb5V 	sfmrb6V

sfmrb7V 	sfmrb8V 	sfmrt5V

sfmrt6V 	sfmrt7V 	sfmrt8V

spareV  	sshp    	trdprt5V

tsrdco2 	tsrdco2V	tsrdwinV

tupprt5V		tupprt5V

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 000913Hs		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     |                |                |                   |  YES  |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                |                |                   |  YES  |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     | < 0 m          |                |                   |  NO   |

|hi2     | < 0 m          |                |                   |  NO   |

|hg      |                |                |                   |  YES  |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                |                   |  YES  |

|lati2   |                |                |                   |  YES  |

|latg    |                |                |                   |  YES  |

|longi1  |                |                |                   |  YES  |

|longi2  |                |                |                   |  YES  |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                |                   |  YES  |

|vxi2    |                |                |                   |  YES  |

|vxg     |                |                |                   |  YES  |

|vyi1    |                |                |                   |  YES  |

|vyi2    |                |                |                   |  YES  |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                |                   |  YES  |

|ttf2    |                |                |                   |  YES  |

|ttr     | variable       | does           | not               | exist |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                |                   |  YES  |

|dpaocf  |                |                |                   |  YES  |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|psf     |                |                | > 0.5 mb/s        |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	psf

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of psf

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hr159s  |                |                | > 50 m/s          |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hr159s

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hr159s

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hr232   |                |                | > 50 m/s          |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hr232

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hr232

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hi1     | < 0 m          |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hi1

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hi1

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hi2     | < 0 m          |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hi2

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hi2

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	dai1

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of dai1

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	dai2

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of dai2

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|longg   |                |                | > 0.005 deg/s     |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	longg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of longg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|vyg     |                |                | > 8 m/s/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	vyg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of vyg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur00 Data File:  000913H

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

000913H - HP Time Period of Slow Tape Operation:

Starting Time --> 16:07:11 UTC

Ending Time   --> 01:29:40 UTC

Total time in seconds: 33750.0

Total time in minutes: 562.50

Total time in hours  : 9.38

OR, 9 hour(s), 22 minute(s), and 30 second(s)

-----------------------------------------------------

000913H - Contiguous Time Check on HP Time.

The slow tape is contiguous: 16:07:11 - 01:29:40 UTC

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpbal

3. dpdw3

4. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-4 [1]:  4

Reference Dewpoint Sensor -----------> dpgef

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

Input 1-2 [1]:

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N42RF AOC Empirical Adjustments  20-Sep-2000

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpgef	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.31 mbar)	XXXXXX

Pressure      pqr     	(0.87 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.15211

(from N42RF)   	A2 = -0.0122277

A3 =  0.00185083

A4 = -0.000077304

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 12 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

s_dpgef_orig      s_ttf1_orig       s_trdprt5_orig    s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Dry Air Ambient Temperature Calculation -- Completed.

The 2 newly-calculated variables are:

s_tad_f1  s_tad_f2

Mean Humidity Correction to True Airspeed is: 0.25 m/s

There are 15 newly-calculated variables:

s_ah_gef  s_mr_gef   s_tad   s_theta     s_machd

s_rh_gef  s_tasdf    s_tvir  s_thetav    s_machh

s_sh_gef  s_tashf    s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE1: ---->	s_wndff1

***FYI: The Angle of Attack Coefficients are for TOGA COARE

obtained from 921128H1_m1sp and 921128H4_m4sp

PQF1 offset: z_offset_pqf1=1.31 mb for N42RF

No offset to heading on P342RF

No offset to ssaf on P342RF

Used s_ttf1

There are 10 newly-calculated variables 33750 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff1   s_wdff1   s_wlgff1   s_aaf     s_ssaf    a_aaf

s_wyff1   s_wsff1   s_wltff1   c_kaaf    c_kssaf   a_ssaf

s_wzff1   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_lwcjw             s_timehp_ymdhms

a_dpref             s_lymanV            s_timetc_01

a_fldate            s_machd             s_timetp

a_person            s_machh             s_tl

a_project           s_mmhp              s_trdprt5

a_ssaf              s_mohp              s_trdprt5V

a_timeEND           s_mr_gef            s_trdprt5_orig

a_timeSTART         s_pcab              s_trki1c

a_ttref             s_pdaf              s_trki2c

c_baaf              s_pdar              s_tsrdco2

c_bssaf             s_pdsf              s_tsrdco2V

c_kaaf              s_pdsr              s_tsrdwinV

c_kssaf             s_pitchi1           s_ttf1

do_fastdata         s_pitchi2           s_ttf1_orig

s_aaf               s_pqaf              s_ttf2

s_ah_gef            s_pqaf_orig         s_tupprt5V

s_axbt1             s_pqf1              s_tvir

s_axbt2             s_pqf1_orig         s_vxg

s_axbt3             s_pqf1c             s_vxg_orig

s_azi1              s_pqf2              s_vxi1

s_azi2              s_pqf2_orig         s_vxi1c

s_dai1              s_pqr               s_vxi2

s_dai1c             s_pqr_orig          s_vxi2c

s_dai2              s_pqsf              s_vyg

s_dai2c             s_pqsf_orig         s_vyg_orig

s_ddhp              s_pqw               s_vyi1

s_dpaocf            s_pqw_orig          s_vyi1c

s_dpbal             s_psf               s_vyi2

s_dpdw3             s_psfc              s_vyi2c

s_dpgef             s_psw               s_vzg

s_dpgef_orig        s_ptr               s_vzi1

s_fstape            s_pylaaV            s_vzi1_p3

s_hdgi1             s_pylpqV            s_vzi1c

s_hdgi1_orig        s_pylpsV            s_vzi2

s_hdgi2             s_pylsaV            s_vzi2_p3

s_hdgi2_orig        s_pylttV            s_vzi2c

s_hg                s_rh_gef            s_wdff1

s_hhhp              s_rolli1            s_wlgff1

s_hi1               s_rolli2            s_wltff1

s_hi1_p3            s_sfmrb3V           s_wsff1

s_hi1c              s_sfmrb4V           s_wxff1

s_hi2               s_sfmrb5V           s_wyff1

s_hi2_p3            s_sfmrb6V           s_wzff1

s_hi2c              s_sfmrb7V           s_yrhp

s_hpalt_psfc        s_sfmrb8V           z_acnum

s_hr159p            s_sfmrt5V           z_fstindx

s_hr159s            s_sfmrt6V           z_fstutc

s_hr232             s_sfmrt7V           z_min_size

s_irsV              s_sfmrt8V           z_offset_dpgef

s_klwcV             s_sh_gef            z_offset_hdg

s_latg              s_spareV            z_offset_pqf1

s_latg_orig         s_ssaf              z_offset_pqr

s_lati1             s_sshp              z_offset_trdprt5

s_lati1c            s_tad               z_offset_ttf1

s_lati2             s_tad_f1            z_offset_ttf2

s_lati2c            s_tad_f2            z_pqnd

s_longg             s_tasdf             z_pqst

s_longg_orig        s_tashf             z_srate

s_longi1            s_theta             z_varnames

s_longi1c           s_thetae

s_longi2            s_thetav

s_longi2c           s_timehp_run

Name                   Size         Bytes  Class

a_aaf                  1x150          300  char array

a_dpref                1x5             10  char array

a_fldate               1x10            20  char array

a_person               1x5             10  char array

a_project              1x5             10  char array

a_ssaf                 1x149          298  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              33750x1         270000  double array

s_ah_gef           33750x1         270000  double array

s_axbt1            33750x1         270000  double array

s_axbt2            33750x1         270000  double array

s_axbt3            33750x1         270000  double array

s_azi1             33750x1         270000  double array

s_azi2             33750x1         270000  double array

s_dai1             33750x1         270000  double array

s_dai1c            33750x1         270000  double array

s_dai2             33750x1         270000  double array

s_dai2c            33750x1         270000  double array

s_ddhp             33750x1         270000  double array

s_dpaocf           33750x1         270000  double array

s_dpbal            33750x1         270000  double array

s_dpdw3            33750x1         270000  double array

s_dpgef            33750x1         270000  double array

s_dpgef_orig       33750x1         270000  double array

s_fstape           33750x1         270000  double array

s_hdgi1            33750x1         270000  double array

s_hdgi1_orig       33750x1         270000  double array

s_hdgi2            33750x1         270000  double array

s_hdgi2_orig       33750x1         270000  double array

s_hg               33750x1         270000  double array

s_hhhp             33750x1         270000  double array

s_hi1              33750x1         270000  double array

s_hi1_p3           33750x1         270000  double array

s_hi1c             33750x1         270000  double array

s_hi2              33750x1         270000  double array

s_hi2_p3           33750x1         270000  double array

s_hi2c             33750x1         270000  double array

s_hpalt_psfc       33750x1         270000  double array

s_hr159p           33750x1         270000  double array

s_hr159s           33750x1         270000  double array

s_hr232            33750x1         270000  double array

s_irsV             33750x1         270000  double array

s_klwcV            33750x1         270000  double array

s_latg             33750x1         270000  double array

s_latg_orig        33750x1         270000  double array

s_lati1            33750x1         270000  double array

s_lati1c           33750x1         270000  double array

s_lati2            33750x1         270000  double array

s_lati2c           33750x1         270000  double array

s_longg            33750x1         270000  double array

s_longg_orig       33750x1         270000  double array

s_longi1           33750x1         270000  double array

s_longi1c          33750x1         270000  double array

s_longi2           33750x1         270000  double array

s_longi2c          33750x1         270000  double array

s_lwcjw            33750x1         270000  double array

s_lymanV           33750x1         270000  double array

s_machd            33750x1         270000  double array

s_machh            33750x1         270000  double array

s_mmhp             33750x1         270000  double array

s_mohp             33750x1         270000  double array

s_mr_gef           33750x1         270000  double array

s_pcab             33750x1         270000  double array

s_pdaf             33750x1         270000  double array

s_pdar             33750x1         270000  double array

s_pdsf             33750x1         270000  double array

s_pdsr             33750x1         270000  double array

s_pitchi1          33750x1         270000  double array

s_pitchi2          33750x1         270000  double array

s_pqaf             33750x1         270000  double array

s_pqaf_orig        33750x1         270000  double array

s_pqf1             33750x1         270000  double array

s_pqf1_orig        33750x1         270000  double array

s_pqf1c            33750x1         270000  double array

s_pqf2             33750x1         270000  double array

s_pqf2_orig        33750x1         270000  double array

s_pqr              33750x1         270000  double array

s_pqr_orig         33750x1         270000  double array

s_pqsf             33750x1         270000  double array

s_pqsf_orig        33750x1         270000  double array

s_pqw              33750x1         270000  double array

s_pqw_orig         33750x1         270000  double array

s_psf              33750x1         270000  double array

s_psfc             33750x1         270000  double array

s_psw              33750x1         270000  double array

s_ptr              33750x1         270000  double array

s_pylaaV           33750x1         270000  double array

s_pylpqV           33750x1         270000  double array

s_pylpsV           33750x1         270000  double array

s_pylsaV           33750x1         270000  double array

s_pylttV           33750x1         270000  double array

s_rh_gef           33750x1         270000  double array

s_rolli1           33750x1         270000  double array

s_rolli2           33750x1         270000  double array

s_sfmrb3V          33750x1         270000  double array

s_sfmrb4V          33750x1         270000  double array

s_sfmrb5V          33750x1         270000  double array

s_sfmrb6V          33750x1         270000  double array

s_sfmrb7V          33750x1         270000  double array

s_sfmrb8V          33750x1         270000  double array

s_sfmrt5V          33750x1         270000  double array

s_sfmrt6V          33750x1         270000  double array

s_sfmrt7V          33750x1         270000  double array

s_sfmrt8V          33750x1         270000  double array

s_sh_gef           33750x1         270000  double array

s_spareV           33750x1         270000  double array

s_ssaf             33750x1         270000  double array

s_sshp             33750x1         270000  double array

s_tad              33750x1         270000  double array

s_tad_f1           33750x1         270000  double array

s_tad_f2           33750x1         270000  double array

s_tasdf            33750x1         270000  double array

s_tashf            33750x1         270000  double array

s_theta            33750x1         270000  double array

s_thetae           33750x1         270000  double array

s_thetav           33750x1         270000  double array

s_timehp_run       33750x1         270000  double array

s_timehp_ymdhms    33750x6        1620000  double array

s_timetc_01        33750x1         270000  double array

s_timetp           33750x1         270000  double array

s_tl               33750x1         270000  double array

s_trdprt5          33750x1         270000  double array

s_trdprt5V         33750x1         270000  double array

s_trdprt5_orig     33750x1         270000  double array

s_trki1c           33750x1         270000  double array

s_trki2c           33750x1         270000  double array

s_tsrdco2          33750x1         270000  double array

s_tsrdco2V         33750x1         270000  double array

s_tsrdwinV         33750x1         270000  double array

s_ttf1             33750x1         270000  double array

s_ttf1_orig        33750x1         270000  double array

s_ttf2             33750x1         270000  double array

s_tupprt5V         33750x1         270000  double array

s_tvir             33750x1         270000  double array

s_vxg              33750x1         270000  double array

s_vxg_orig         33750x1         270000  double array

s_vxi1             33750x1         270000  double array

s_vxi1c            33750x1         270000  double array

s_vxi2             33750x1         270000  double array

s_vxi2c            33750x1         270000  double array

s_vyg              33750x1         270000  double array

s_vyg_orig         33750x1         270000  double array

s_vyi1             33750x1         270000  double array

s_vyi1c            33750x1         270000  double array

s_vyi2             33750x1         270000  double array

s_vyi2c            33750x1         270000  double array

s_vzg              33750x1         270000  double array

s_vzi1             33750x1         270000  double array

s_vzi1_p3          33750x1         270000  double array

s_vzi1c            33750x1         270000  double array

s_vzi2             33750x1         270000  double array

s_vzi2_p3          33750x1         270000  double array

s_vzi2c            33750x1         270000  double array

s_wdff1            33750x1         270000  double array

s_wlgff1           33750x1         270000  double array

s_wltff1           33750x1         270000  double array

s_wsff1            33750x1         270000  double array

s_wxff1            33750x1         270000  double array

s_wyff1            33750x1         270000  double array

s_wzff1            33750x1         270000  double array

s_yrhp             33750x1         270000  double array

z_acnum                1x1              8  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_min_size             1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            86x8           1376  char array

Grand total is 5367328 elements using 42932264 bytes

Pre-processing is complete...have a nice day.

(total processing time of 4.43 minutes)

Saving: /acdata/hur00/data_mat/000913Hs_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 000913H in netCDF Format? [yN]: y