*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  15-Sep-2000

Data Processor :  stanc

Diary File     :  /acdata/hur00/docs_proc/000914Is_P.doc

Total Number of Records: 6500

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500

==============================================================================

N43RF ADC Channel Assignments for 000914

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N43RF trs 090600 Hurricane 2000

01      ttf1    	Rosemount Total Temp #1 FWD     SN 31416/amp #11 CAL DATE 083000

02      ttf2    	Rosemount Total Temp #2 AFT     SN a7665/amp #151 cal date 083000

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52723/92768 cal date 083000

04      pdaf    	Attack Pressure Fuselage	  SN 877 CAL DATE 083000

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 842 CAL DATE 083000

06      pdsf    	Sideslip Pressure Fuselage   	  SN 878 CAL DATE 083000

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 861 CAL DATE 083000

08      psw    	Static Pressure Wingtip           SN 163 CAL DATE 083000

09      pqw    	Dynamic Pressure Wingtip          SN 163 CAL DATE 083000

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 588 CAL DATE 012000

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 642 CAL DATE 012000

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 285 CAL DATE 083000 !!NOT installed!!

17      pdsr    	Sideslip Pressure Radome 	  SN 879 CAL DATE 083000

18      pqr    	Dynamic Pressure Radome  	  SN 286 CAL DATE 083000

19      ptr    	Total Pressure Radome 		  SN 260 CAL DATE 083000

20      ttr    	Total Temperature Radome          SN 3129/amp #125 cal date 072099

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  18267 w/1684 CAL DATE  083000

25

26      lyman    	AIR Lyman Alpha Hygr.

27

28

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 161 CAL DATE 083000

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 161 CAL DATE 083000

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 862 CAL DATE 083000

35

36

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Rmnt 1201F   sn 190 cal date 083000

48

49

50

51

52

53

54

55

56

57

58

59

60

61

62

63

64      sfb3    	SFMR Brightness3 4.55GHz

65      sfb5    	SFMR Brightness5 5.64GHz

66      sfb7    	SFMR Brightness7 6.96 GHz

67      sfb8    	SFMR Brightness8 7.22 GHz

68      sfb6    	SFMR Brightness6 6.34 GHz

69      sfb4    	SFMR Brightness4 5.06 GHz

70      sft8    	SFMR Temp8 - Receiver Noise

71      sft7    	SFMR Temp7 - Receiver Reference Load

72      sft6    	SFMR Temp6 - Antenna Right

73      sft5    	SFMR Temp5 - Antenna Left

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  0.52 minutes

No problems detected on yrhp or mohp or ddhp for 000914I_s

NO time DROPOUT (i.e., No dt<0) found in  000914I_s

NO REDUNDANT time (i.e., No dt==0) found in  000914I_s

DATA IN TAPE ARE CONTIGUOUS

BLOCKS 	      SAMPLES		       UTC

01	    00001-06500		16:57:41-18:46:00

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>

There is no: dpegg

Save Figures as a PostScript File? [yN]: y

The file: /acdata/hur00/psfiles/000914I_raw.ps exists.

Hit RETURN to write over this file OR

Input a new file name (e.g., plots.ps) -->

PostScript File Saved: /acdata/hur00/psfiles/000914I_raw.ps

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 703

Dynamic pressure values set to 35.0 mb for sample numbers above: 5926

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 703

Dynamic pressure values set to 35.0 mb for sample numbers above: 5926

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 1999

Dynamic pressure values set to 35.0 mb for sample numbers above: 4501

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 698

Dynamic pressure values set to 35.0 mb for sample numbers above: 5937

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 703

Dynamic pressure values set to 35.0 mb for sample numbers above: 5932

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 703

Dynamic pressure values set to 35.0 mb for sample numbers above: 5932

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:  1999

z_pqnd:  4501

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

ddhp    	hhhp    	hr159p

klwcV   	lwcjw   	lymanV

mmhp    	mohp    	pcab

sfb3V   	sfb4V   	sfb5V

sfb6V   	sfb7V   	sfb8V

sft5V   	sft6V   	sft7V

sft8V   	sshp    	trdprt5V

tsrdco2 	tsrdco2V	yrhp

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 000914Is		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                | > 10 mb/s         |  NO   |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                |                |                   |  YES  |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     | < 285 mb       |                |                   |  NO   |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     |                |                |                   |  YES  |

|hi2     |                |                |                   |  YES  |

|hg      |                |                | > 50 m/s          |  NO   |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                |                   |  YES  |

|lati2   |                |                |                   |  YES  |

|latg    |                |                | > 0.005 deg/s     |  NO   |

|longi1  |                |                |                   |  YES  |

|longi2  |                |                |                   |  YES  |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                |                   |  YES  |

|vxi2    |                |                |                   |  YES  |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                |                   |  YES  |

|vyi2    |                |                |                   |  YES  |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                |                   |  YES  |

|ttf2    |                |                |                   |  YES  |

|ttr     |                |                |                   |  YES  |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                |                   |  YES  |

|dpaocf  |                |                |                   |  YES  |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                | > 10 mb/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqr

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqr

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|psf     |                |                | > 0.5 mb/s        |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	psf

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of psf

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|ptr     | < 285 mb       |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	ptr

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of ptr

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hr159s  |                |                | > 50 m/s          |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hr159s

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hr159s

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hr232   |                |                | > 50 m/s          |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hr232

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hr232

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|hg      |                |                | > 50 m/s          |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	hg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of hg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	dai1

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of dai1

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	dai2

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of dai2

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|latg    |                |                | > 0.005 deg/s     |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	latg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of latg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|longg   |                |                | > 0.005 deg/s     |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	longg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of longg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|vxg     |                |                | > 8 m/s/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	vxg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of vxg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|vyg     |                |                | > 8 m/s/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	vyg

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of vyg

- Enter q to quit this routine (qcheckall.m)

What is your choice:   s

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur00 Data File:  000914I

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

000914I - HP Time Period of Slow Tape Operation:

Starting Time --> 16:57:41 UTC

Ending Time   --> 18:46:00 UTC

Total time in seconds: 6500.0

Total time in minutes: 108.33

Total time in hours  : 1.81

OR, 1 hour(s), 48 minute(s), and 20 second(s)

-----------------------------------------------------

000914I - Contiguous Time Check on HP Time.

The slow tape is contiguous: 16:57:41 - 18:46:00 UTC

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-2 [1]:

Reference Dewpoint Sensor -----------> dpaocf

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N43RF AOC Empirical Adjustments  15-Sep-2000

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpaocf	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.26 mbar)	XXXXXX

Pressure      pqr     	(0.79 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.17701

(from N43RF)   	A2 = -0.0129067

A3 =  0.00190547

A4 = -0.000078284

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 13 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

z_offset_dpaocf   s_dpaocf_orig     s_ttf1_orig       s_trdprt5_orig

s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.25 m/s

There are 15 newly-calculated variables:

s_ah_aocf  s_mr_aocf   s_tad   s_theta     s_machd

s_rh_aocf  s_tasdf     s_tvir  s_thetav    s_machh

s_sh_aocf  s_tashf     s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE1: ---->	s_wndff1

PQF1 offset: z_offset_pqf1=1.26 mb for N43RF

No offset to heading on P343RF

No offset to ssaf on P343RF

Used s_ttf1

There are 10 newly-calculated variables 6500 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff1   s_wdff1   s_wlgff1   s_aaf     s_ssaf    a_aaf

s_wyff1   s_wsff1   s_wltff1   c_kaaf    c_kssaf   a_ssaf

s_wzff1   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_machd             s_tl

a_dpref             s_machh             s_trdprt5

a_fldate            s_mmhp              s_trdprt5V

a_person            s_mohp              s_trdprt5_orig

a_project           s_mr_aocf           s_trki1c

a_ssaf              s_pcab              s_trki2c

a_timeEND           s_pdaf              s_tsrdco2

a_timeSTART         s_pdar              s_tsrdco2V

a_ttref             s_pdsf              s_ttf1

c_baaf              s_pdsr              s_ttf1_orig

c_bssaf             s_pitchi1           s_ttf2

c_kaaf              s_pitchi2           s_ttr

c_kssaf             s_pqaf              s_tvir

do_fastdata         s_pqaf_orig         s_vxg

s_aaf               s_pqf1              s_vxg_orig

s_ah_aocf           s_pqf1_orig         s_vxi1

s_azi1              s_pqf1c             s_vxi1c

s_azi2              s_pqf2              s_vxi2

s_dai1              s_pqf2_orig         s_vxi2c

s_dai1c             s_pqr               s_vyg

s_dai2              s_pqr_orig          s_vyg_orig

s_dai2c             s_pqsf              s_vyi1

s_ddhp              s_pqsf_orig         s_vyi1c

s_dpaocf            s_pqw               s_vyi2

s_dpaocf_orig       s_pqw_orig          s_vyi2c

s_dpgef             s_psf               s_vzg

s_fstape            s_psfc              s_vzi1

s_hdgi1             s_psw               s_vzi1_p3

s_hdgi1_orig        s_ptr               s_vzi1c

s_hdgi2             s_rh_aocf           s_vzi2

s_hdgi2_orig        s_rolli1            s_vzi2_p3

s_hg                s_rolli2            s_vzi2c

s_hhhp              s_sfb3V             s_wdff1

s_hi1               s_sfb4V             s_wlgff1

s_hi1_p3            s_sfb5V             s_wltff1

s_hi1c              s_sfb6V             s_wsff1

s_hi2               s_sfb7V             s_wxff1

s_hi2_p3            s_sfb8V             s_wyff1

s_hi2c              s_sft5V             s_wzff1

s_hpalt_psfc        s_sft6V             s_yrhp

s_hr159p            s_sft7V             z_acnum

s_hr159s            s_sft8V             z_fstindx

s_hr232             s_sh_aocf           z_fstutc

s_klwcV             s_ssaf              z_min_size

s_latg              s_sshp              z_offset_dpaocf

s_latg_orig         s_tad               z_offset_dpgef

s_lati1             s_tad_f1            z_offset_hdg

s_lati1c            s_tad_f2            z_offset_pqf1

s_lati2             s_tad_r             z_offset_pqr

s_lati2c            s_tasdf             z_offset_trdprt5

s_longg             s_tashf             z_offset_ttf1

s_longg_orig        s_theta             z_offset_ttf2

s_longi1            s_thetae            z_pqnd

s_longi1c           s_thetav            z_pqst

s_longi2            s_timehp_run        z_srate

s_longi2c           s_timehp_ymdhms     z_varnames

s_lwcjw             s_timetc_01

s_lymanV            s_timetp

Name                   Size         Bytes  Class

a_aaf                  1x152          304  char array

a_dpref                1x6             12  char array

a_fldate               1x10            20  char array

a_person               1x5             10  char array

a_project              1x5             10  char array

a_ssaf                 1x150          300  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf               6500x1          52000  double array

s_ah_aocf           6500x1          52000  double array

s_azi1              6500x1          52000  double array

s_azi2              6500x1          52000  double array

s_dai1              6500x1          52000  double array

s_dai1c             6500x1          52000  double array

s_dai2              6500x1          52000  double array

s_dai2c             6500x1          52000  double array

s_ddhp              6500x1          52000  double array

s_dpaocf            6500x1          52000  double array

s_dpaocf_orig       6500x1          52000  double array

s_dpgef             6500x1          52000  double array

s_fstape            6500x1          52000  double array

s_hdgi1             6500x1          52000  double array

s_hdgi1_orig        6500x1          52000  double array

s_hdgi2             6500x1          52000  double array

s_hdgi2_orig        6500x1          52000  double array

s_hg                6500x1          52000  double array

s_hhhp              6500x1          52000  double array

s_hi1               6500x1          52000  double array

s_hi1_p3            6500x1          52000  double array

s_hi1c              6500x1          52000  double array

s_hi2               6500x1          52000  double array

s_hi2_p3            6500x1          52000  double array

s_hi2c              6500x1          52000  double array

s_hpalt_psfc        6500x1          52000  double array

s_hr159p            6500x1          52000  double array

s_hr159s            6500x1          52000  double array

s_hr232             6500x1          52000  double array

s_klwcV             6500x1          52000  double array

s_latg              6500x1          52000  double array

s_latg_orig         6500x1          52000  double array

s_lati1             6500x1          52000  double array

s_lati1c            6500x1          52000  double array

s_lati2             6500x1          52000  double array

s_lati2c            6500x1          52000  double array

s_longg             6500x1          52000  double array

s_longg_orig        6500x1          52000  double array

s_longi1            6500x1          52000  double array

s_longi1c           6500x1          52000  double array

s_longi2            6500x1          52000  double array

s_longi2c           6500x1          52000  double array

s_lwcjw             6500x1          52000  double array

s_lymanV            6500x1          52000  double array

s_machd             6500x1          52000  double array

s_machh             6500x1          52000  double array

s_mmhp              6500x1          52000  double array

s_mohp              6500x1          52000  double array

s_mr_aocf           6500x1          52000  double array

s_pcab              6500x1          52000  double array

s_pdaf              6500x1          52000  double array

s_pdar              6500x1          52000  double array

s_pdsf              6500x1          52000  double array

s_pdsr              6500x1          52000  double array

s_pitchi1           6500x1          52000  double array

s_pitchi2           6500x1          52000  double array

s_pqaf              6500x1          52000  double array

s_pqaf_orig         6500x1          52000  double array

s_pqf1              6500x1          52000  double array

s_pqf1_orig         6500x1          52000  double array

s_pqf1c             6500x1          52000  double array

s_pqf2              6500x1          52000  double array

s_pqf2_orig         6500x1          52000  double array

s_pqr               6500x1          52000  double array

s_pqr_orig          6500x1          52000  double array

s_pqsf              6500x1          52000  double array

s_pqsf_orig         6500x1          52000  double array

s_pqw               6500x1          52000  double array

s_pqw_orig          6500x1          52000  double array

s_psf               6500x1          52000  double array

s_psfc              6500x1          52000  double array

s_psw               6500x1          52000  double array

s_ptr               6500x1          52000  double array

s_rh_aocf           6500x1          52000  double array

s_rolli1            6500x1          52000  double array

s_rolli2            6500x1          52000  double array

s_sfb3V             6500x1          52000  double array

s_sfb4V             6500x1          52000  double array

s_sfb5V             6500x1          52000  double array

s_sfb6V             6500x1          52000  double array

s_sfb7V             6500x1          52000  double array

s_sfb8V             6500x1          52000  double array

s_sft5V             6500x1          52000  double array

s_sft6V             6500x1          52000  double array

s_sft7V             6500x1          52000  double array

s_sft8V             6500x1          52000  double array

s_sh_aocf           6500x1          52000  double array

s_ssaf              6500x1          52000  double array

s_sshp              6500x1          52000  double array

s_tad               6500x1          52000  double array

s_tad_f1            6500x1          52000  double array

s_tad_f2            6500x1          52000  double array

s_tad_r             6500x1          52000  double array

s_tasdf             6500x1          52000  double array

s_tashf             6500x1          52000  double array

s_theta             6500x1          52000  double array

s_thetae            6500x1          52000  double array

s_thetav            6500x1          52000  double array

s_timehp_run        6500x1          52000  double array

s_timehp_ymdhms     6500x6         312000  double array

s_timetc_01         6500x1          52000  double array

s_timetp            6500x1          52000  double array

s_tl                6500x1          52000  double array

s_trdprt5           6500x1          52000  double array

s_trdprt5V          6500x1          52000  double array

s_trdprt5_orig      6500x1          52000  double array

s_trki1c            6500x1          52000  double array

s_trki2c            6500x1          52000  double array

s_tsrdco2           6500x1          52000  double array

s_tsrdco2V          6500x1          52000  double array

s_ttf1              6500x1          52000  double array

s_ttf1_orig         6500x1          52000  double array

s_ttf2              6500x1          52000  double array

s_ttr               6500x1          52000  double array

s_tvir              6500x1          52000  double array

s_vxg               6500x1          52000  double array

s_vxg_orig          6500x1          52000  double array

s_vxi1              6500x1          52000  double array

s_vxi1c             6500x1          52000  double array

s_vxi2              6500x1          52000  double array

s_vxi2c             6500x1          52000  double array

s_vyg               6500x1          52000  double array

s_vyg_orig          6500x1          52000  double array

s_vyi1              6500x1          52000  double array

s_vyi1c             6500x1          52000  double array

s_vyi2              6500x1          52000  double array

s_vyi2c             6500x1          52000  double array

s_vzg               6500x1          52000  double array

s_vzi1              6500x1          52000  double array

s_vzi1_p3           6500x1          52000  double array

s_vzi1c             6500x1          52000  double array

s_vzi2              6500x1          52000  double array

s_vzi2_p3           6500x1          52000  double array

s_vzi2c             6500x1          52000  double array

s_wdff1             6500x1          52000  double array

s_wlgff1            6500x1          52000  double array

s_wltff1            6500x1          52000  double array

s_wsff1             6500x1          52000  double array

s_wxff1             6500x1          52000  double array

s_wyff1             6500x1          52000  double array

s_wzff1             6500x1          52000  double array

s_yrhp              6500x1          52000  double array

z_acnum                1x1              8  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_min_size             1x1              8  double array

z_offset_dpaocf        1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            73x8           1168  char array

Grand total is 956479 elements using 7646072 bytes

Pre-processing is complete...have a nice day.

(total processing time of 1.84 minutes)

WATCH OUT!

If you do not type <CTRL C> the data file:

/acdata/hur00/data_mat/000914Is_P.mat

Will be written over.

Type ANY Key to Continue (and write over this file).

Saving: /acdata/hur00/data_mat/000914Is_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 000914I in netCDF Format? [yN]: y