*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  25-Oct-2001

Data Processor :  barryd

Diary File     :  /acdata/hur01/docs_proc/010927Is_P.doc

Total Number of Records: 17110

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500 11000 11500 12000 12500 13000 13500 14000 14500 15000 15500 16000 16500 17000 17500

==============================================================================

N43RF ADC Channel Assignments for 010927

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N43RF abd 010815 Hurricane 2001

01      ttf1    	Rosemount Total Temp #1 FWD     SN 31416/amp #11 CAL DATE 060701

02      ttf2    	Rosemount Total Temp #2 AFT     SN a7665/amp #151 cal date 060701

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52723/0811095-RG cal date 081301

04      pdaf    	Attack Pressure Fuselage	  SN 877 CAL DATE 060701

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 842 CAL DATE 060701

06      pdsf    	Sideslip Pressure Fuselage   	  SN 878 CAL DATE 060701

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 861 CAL DATE 060701

08      psw    	Static Pressure Wingtip           SN 163 CAL DATE 060701

09      pqw    	Dynamic Pressure Wingtip          SN 163 CAL DATE 060701

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 588 CAL DATE 060701

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 642 CAL DATE 012000

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2317 CAL DATE 060701

17      pdsr    	Sideslip Pressure Radome 	  SN 879 CAL DATE 060701

18      pqr    	Dynamic Pressure Radome  	  SN 286 CAL DATE 060701

19      ptr    	Total Pressure Radome 		  SN 260 CAL DATE 060701

20      ttr    	Total Temperature Radome          SN 3129/amp #125 cal date 012201

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  18267 w/1684 CAL DATE  081301

25

26

27      dpbuck    	BK Dewpoint Fuselage Buck Research 1011C w/ 1011B 313-P w/ 93002 cal date 071801

28      dw3bal    	DW3 Balance

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 161 CAL DATE 060701

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 161 CAL DATE 060701

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 862 CAL DATE 060701

35      tt1hc    	TT1 heater current

36      tt2hc    	TT2 heater current

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Rmnt 1201F   sn 190 cal date 060701

48      axbt1    	AXBT Channel 1

49      axbt2    	AXBT Channel 2

50      axbt3    	AXBT Channel 3

51

52

53

54

55

56

57

58

59

60

61

62

63      truprt5    	Up PRT-5 Radiometer           Barnes Up-Looking Radiometer 648 cal date 010401

64      sfmrb3    	sfmr brightness B3 4.55GHz

65      sfmrb5    	sfmr brightness B5 5.64GHz

66      sfmrb7    	sfmr brightness B7 6.96GHz

67      sfmrb8    	sfmr brightness B8 7.22GHz

68      sfmrb6    	sfmr brightness B6 6.34GHz

69      sfmrb4    	sfmr brightness B4 5.06GHz

70      sfmrt8    	sfmr temp T8 rcvr noise

71      sfmrt7    	sfmr temp T7 rcvr ref load

72      sfmrt6    	sfmr temp T6 antenna left

73      sfmrt5    	sfmr temp T5 antenna right

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  1.38 minutes

No problems detected on yrhp or mohp or ddhp for 010927I_s

There are time DROPS at these sample numbers:

3307

3309

THE TIME DECREASES, IT NEEDS TO BE CORRECTED AT SAMPLE 3307

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03304	061678   27   17   07   58	 506.56	 2.09	65.49

03305	061679   27   17   07   59	 506.51	 2.08	65.70

03306	061680   27   17   08   00	 506.54	 2.08	65.83

03307	061667   27   17   07   47	 506.61	 2.21	64.90

03308	061668   27   17   07   48	 506.61	 2.20	65.06

03309	061659   27   17   07   39	 506.58	 2.19	63.83

03310	061660   27   17   07   40	 506.58	 2.18	63.91

These are the default corrections:

ddhp(3307)=ddhp(3306);

hhhp(3307)=hhhp(3306);

mmhp(3307)=mmhp(3306);

sshp(3307)=sshp(3306)+1;

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03304	061678   27   17   07   58	 506.56	 2.09	65.49

03305	061679   27   17   07   59	 506.51	 2.08	65.70

03306	061680   27   17   08   00	 506.54	 2.08	65.83

03307	061681   27   17   08   01	 506.61	 2.21	64.90

03308	061668   27   17   07   48	 506.61	 2.20	65.06

03309	061659   27   17   07   39	 506.58	 2.19	63.83

03310	061660   27   17   07   40	 506.58	 2.18	63.91

Acceptable? y/n [n]:   n

FYI: the original time vectors are: ddhp_orig hhhp_orig mmhp_orig sshp_orig

The current time vectors are: ddhp_o hhhp_o mmhp_o sshp_o

Please CORRECT any or all of ddhp, hhhp, mmhp, sshp

around ALL of these sample numbers:

3307

3309

When done, type RETURN (WHOLE WORD in lower-case) and HIT return key

If bad samples need to be removed from ALL variables use crmvbadata.m

K>> disp(sprintf('%d',feature('SessionTool')))

0

;

dbstatus

dbstack

> In /opt/uci.src/uci/mfiles/timedrop.m at line 279

In /opt/uci.src/uci/mfiles/aocproc.m at line 110

crmvbadata

****Warning there no specified badrng variable

The bad ranges sample numbers must be a nx2 matrix as in:

[4556 4556

4560 4565

8001 8001]Enter badrng now or hit return for none:      [3307 3316]

Data in this sample numbers  range are being

removed from all variables listed in z_varnames

3307        3316

K>> return

Good job! You fixed ALL time DROPOUTS in  010927I_s

There are TIME GAPS at these sample numbers:

3301

3307

Here are the contiguous blocks:

BLOCKS 	      SAMPLES		       UTC

01	    00001-03300		16:12:41-17:07:40

02	    03301-03306		17:07:55-17:08:00

03	    03307-17100		17:08:07-20:58:00

Checking data CONTNUITY around time gap at 3301

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03298	061658   27   17   07   38	 506.58	 2.19	63.71

03299	061659   27   17   07   39	 506.58	 2.19	63.83

03300	061660   27   17   07   40	 506.58	 2.18	63.91

03301	061675   27   17   07   55	 504.19	 2.07	64.86

03302	061676   27   17   07   56	 506.54	 2.06	65.66

03303	061677   27   17   07   57	 506.56	 2.08	65.47

03304	061678   27   17   07   58	 506.56	 2.09	65.49

Do you want to correct data affected by gap? y/n [y]:   y

Checking data CONTINUITY again after CORRECTION around time gap at 3301

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03298	061658   27   17   07   38	 506.58	 2.19	63.71

03299	061659   27   17   07   39	 506.58	 2.19	63.83

03300	061660   27   17   07   40	 506.58	 2.19	64.07

03301	061675   27   17   07   55	 506.53	 2.05	65.71

03302	061676   27   17   07   56	 506.54	 2.06	65.66

03303	061677   27   17   07   57	 506.56	 2.08	65.47

03304	061678   27   17   07   58	 506.56	 2.09	65.49

Checking data CONTNUITY around time gap at 3307

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03304	061678   27   17   07   58	 506.56	 2.09	65.49

03305	061679   27   17   07   59	 506.51	 2.08	65.70

03306	061680   27   17   08   00	 506.54	 2.08	65.83

03307	061687   27   17   08   07	 506.58	 2.17	66.55

03308	061688   27   17   08   08	 506.61	 2.19	66.88

03309	061689   27   17   08   09	 506.58	 2.27	66.94

03310	061690   27   17   08   10	 506.58	 2.35	66.93

Do you want to correct data affected by gap? y/n [y]:   n

Final contiguous blocks saved in ----> z_blksndx & z_blksutc:

BLOCKS 	      SAMPLES		       UTC

01	    00001-03300		16:12:41-17:07:40

02	    03301-03306		17:07:55-17:08:00

03	    03307-17100		17:08:07-20:58:00

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  [16 26 00 20 50 00]

There is no: dpegg

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 818

Dynamic pressure values set to 35.0 mb for sample numbers above: 16341

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 818

Dynamic pressure values set to 35.0 mb for sample numbers above: 16341

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 818

Dynamic pressure values set to 35.0 mb for sample numbers above: 16341

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 810

Dynamic pressure values set to 35.0 mb for sample numbers above: 16349

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 815

Dynamic pressure values set to 35.0 mb for sample numbers above: 16344

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 815

Dynamic pressure values set to 35.0 mb for sample numbers above: 16344

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:   818

z_pqnd: 16341

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dpbuck  	dw3balV

hhhp    	hr159p  	klwcV

lwcjw   	mmhp    	mohp

pcab    	sfmrb3V 	sfmrb4V

sfmrb5V 	sfmrb6V 	sfmrb7V

sfmrb8V 	sfmrt5V 	sfmrt6V

sfmrt7V 	sfmrt8V 	sshp

trdprt5V	truprt5 	truprt5V

tsrdco2 	tsrdco2V	tt1hcV

tt2hcV  		tt2hcV

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 010927Is		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                | > 10 mb/s         |  NO   |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                | > 20 mb        |                   |  NO   |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                | > 10 mb/s         |  NO   |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     | < 0 m          |                |                   |  NO   |

|hi2     | < 0 m          |                |                   |  NO   |

|hg      | < 0 m          |                | > 50 m/s          |  NO   |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                | > 0.005 deg/s     |  NO   |

|lati2   |                |                | > 0.005 deg/s     |  NO   |

|latg    |                |                | > 0.005 deg/s     |  NO   |

|longi1  |                |                | > 0.005 deg/s     |  NO   |

|longi2  |                |                | > 0.005 deg/s     |  NO   |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                |                   |  YES  |

|vxi2    |                |                |                   |  YES  |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                |                   |  YES  |

|vyi2    |                |                |                   |  YES  |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                | > 5 C/s           |  NO   |

|ttf2    |                |                | > 5 C/s           |  NO   |

|ttr     |                |                |                   |  YES  |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                | > 5 C/s           |  NO   |

|dpaocf  |                | > 50 C         | > 5 C/s           |  NO   |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                | > 10 mb/s         |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqr

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqr

- Enter q to quit this routine (qcheckall.m)

What is your choice:   q

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur01 Data File:  010927I

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

010927I - HP Time Period of Slow Tape Operation:

Starting Time --> 16:12:41 UTC

Ending Time   --> 20:58:00 UTC

Total time in seconds: 17120.0

Total time in minutes: 285.33

Total time in hours  : 4.76

OR, 4 hour(s), 45 minute(s), and 20 second(s)

-----------------------------------------------------

010927I - Contiguous Time Check on HP Time.

There are 3 contiguous time blocks on the slow tape.

Please confirm these numbers,

Record      1 - HP Time: 16:12:41 UTC

Record   3300 - HP Time: 17:07:40 UTC

Record   3301 - HP Time: 17:07:55 UTC

Record   3306 - HP Time: 17:08:00 UTC

Record   3307 - HP Time: 17:08:07 UTC

Record  17100 - HP Time: 20:58:00 UTC

HP Time Gap 1 : 15 Seconds

HP Time Gap 2 : 7 Seconds

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpbuck

3. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-3 [1]:  3

Reference Dewpoint Sensor -----------> dpgef

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N43RF AOC Empirical Adjustments  25-Oct-2001

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpgef	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.26 mbar)	XXXXXX

Pressure      pqr     	(0.79 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.17701

(from N43RF)   	A2 = -0.0129067

A3 =  0.00190547

A4 = -0.000078284

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 12 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

s_dpgef_orig      s_ttf1_orig       s_trdprt5_orig    s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.26 m/s

There are 15 newly-calculated variables:

s_ah_gef  s_mr_gef   s_tad   s_theta     s_machd

s_rh_gef  s_tasdf    s_tvir  s_thetav    s_machh

s_sh_gef  s_tashf    s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:  two

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE2: ---->	s_wndff2

PQF1 offset: z_offset_pqf1=1.26 mb for N43RF

No offset to heading on P343RF

No offset to ssaf on P343RF

Used s_ttf1

There are 10 newly-calculated variables 17100 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff2   s_wdff2   s_wlgff2   s_aaf     s_ssaf    a_aaf

s_wyff2   s_wsff2   s_wltff2   c_kaaf    c_kssaf   a_ssaf

s_wzff2   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_lwcjw             s_trdprt5V

a_dpref             s_machd             s_trdprt5_orig

a_fldate            s_machh             s_trki1c

a_person            s_mmhp              s_trki2c

a_project           s_mohp              s_truprt5

a_ssaf              s_mr_gef            s_truprt5V

a_timeEND           s_pcab              s_tsrdco2

a_timeSTART         s_pdaf              s_tsrdco2V

a_ttref             s_pdar              s_tt1hcV

c_baaf              s_pdsf              s_tt2hcV

c_bssaf             s_pdsr              s_ttf1

c_kaaf              s_pitchi1           s_ttf1_orig

c_kssaf             s_pitchi2           s_ttf2

do_fastdata         s_pqaf              s_ttr

s_aaf               s_pqaf_orig         s_tvir

s_ah_gef            s_pqf1              s_vxg

s_axbt1             s_pqf1_orig         s_vxg_orig

s_axbt2             s_pqf1c             s_vxi1

s_axbt3             s_pqf2              s_vxi1c

s_azi1              s_pqf2_orig         s_vxi2

s_azi2              s_pqr               s_vxi2c

s_dai1              s_pqr_orig          s_vyg

s_dai1c             s_pqsf              s_vyg_orig

s_dai2              s_pqsf_orig         s_vyi1

s_dai2c             s_pqw               s_vyi1c

s_ddhp              s_pqw_orig          s_vyi2

s_dpaocf            s_psf               s_vyi2c

s_dpbuck            s_psfc              s_vzg

s_dpgef             s_psw               s_vzi1

s_dpgef_orig        s_ptr               s_vzi1_p3

s_dw3balV           s_rh_gef            s_vzi1c

s_fstape            s_rolli1            s_vzi2

s_hdgi1             s_rolli2            s_vzi2_p3

s_hdgi1_orig        s_sfmrb3V           s_vzi2c

s_hdgi2             s_sfmrb4V           s_wdff2

s_hdgi2_orig        s_sfmrb5V           s_wlgff2

s_hg                s_sfmrb6V           s_wltff2

s_hhhp              s_sfmrb7V           s_wsff2

s_hi1               s_sfmrb8V           s_wxff2

s_hi1_p3            s_sfmrt5V           s_wyff2

s_hi1c              s_sfmrt6V           s_wzff2

s_hi2               s_sfmrt7V           s_yrhp

s_hi2_p3            s_sfmrt8V           z_acnum

s_hi2c              s_sh_gef            z_blksndx

s_hpalt_psfc        s_ssaf              z_blksutc

s_hr159p            s_sshp              z_fstindx

s_hr159s            s_tad               z_fstutc

s_hr232             s_tad_f1            z_gapsndx

s_klwcV             s_tad_f2            z_min_size

s_latg              s_tad_r             z_offset_dpgef

s_latg_orig         s_tasdf             z_offset_hdg

s_lati1             s_tashf             z_offset_pqf1

s_lati1c            s_theta             z_offset_pqr

s_lati2             s_thetae            z_offset_trdprt5

s_lati2c            s_thetav            z_offset_ttf1

s_longg             s_timehp_run        z_offset_ttf2

s_longg_orig        s_timehp_ymdhms     z_pqnd

s_longi1            s_timetc_01         z_pqst

s_longi1c           s_timetp            z_srate

s_longi2            s_tl                z_varnames

s_longi2c           s_trdprt5

Name                   Size         Bytes  Class

a_aaf                  1x152          304  char array

a_dpref                1x5             10  char array

a_fldate               1x10            20  char array

a_person               1x6             12  char array

a_project              1x5             10  char array

a_ssaf                 1x150          300  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              17100x1         136800  double array

s_ah_gef           17100x1         136800  double array

s_axbt1            17100x1         136800  double array

s_axbt2            17100x1         136800  double array

s_axbt3            17100x1         136800  double array

s_azi1             17100x1         136800  double array

s_azi2             17100x1         136800  double array

s_dai1             17100x1         136800  double array

s_dai1c            17100x1         136800  double array

s_dai2             17100x1         136800  double array

s_dai2c            17100x1         136800  double array

s_ddhp             17100x1         136800  double array

s_dpaocf           17100x1         136800  double array

s_dpbuck           17100x1         136800  double array

s_dpgef            17100x1         136800  double array

s_dpgef_orig       17100x1         136800  double array

s_dw3balV          17100x1         136800  double array

s_fstape           17100x1         136800  double array

s_hdgi1            17100x1         136800  double array

s_hdgi1_orig       17100x1         136800  double array

s_hdgi2            17100x1         136800  double array

s_hdgi2_orig       17100x1         136800  double array

s_hg               17100x1         136800  double array

s_hhhp             17100x1         136800  double array

s_hi1              17100x1         136800  double array

s_hi1_p3           17100x1         136800  double array

s_hi1c             17100x1         136800  double array

s_hi2              17100x1         136800  double array

s_hi2_p3           17100x1         136800  double array

s_hi2c             17100x1         136800  double array

s_hpalt_psfc       17100x1         136800  double array

s_hr159p           17100x1         136800  double array

s_hr159s           17100x1         136800  double array

s_hr232            17100x1         136800  double array

s_klwcV            17100x1         136800  double array

s_latg             17100x1         136800  double array

s_latg_orig        17100x1         136800  double array

s_lati1            17100x1         136800  double array

s_lati1c           17100x1         136800  double array

s_lati2            17100x1         136800  double array

s_lati2c           17100x1         136800  double array

s_longg            17100x1         136800  double array

s_longg_orig       17100x1         136800  double array

s_longi1           17100x1         136800  double array

s_longi1c          17100x1         136800  double array

s_longi2           17100x1         136800  double array

s_longi2c          17100x1         136800  double array

s_lwcjw            17100x1         136800  double array

s_machd            17100x1         136800  double array

s_machh            17100x1         136800  double array

s_mmhp             17100x1         136800  double array

s_mohp             17100x1         136800  double array

s_mr_gef           17100x1         136800  double array

s_pcab             17100x1         136800  double array

s_pdaf             17100x1         136800  double array

s_pdar             17100x1         136800  double array

s_pdsf             17100x1         136800  double array

s_pdsr             17100x1         136800  double array

s_pitchi1          17100x1         136800  double array

s_pitchi2          17100x1         136800  double array

s_pqaf             17100x1         136800  double array

s_pqaf_orig        17100x1         136800  double array

s_pqf1             17100x1         136800  double array

s_pqf1_orig        17100x1         136800  double array

s_pqf1c            17100x1         136800  double array

s_pqf2             17100x1         136800  double array

s_pqf2_orig        17100x1         136800  double array

s_pqr              17100x1         136800  double array

s_pqr_orig         17100x1         136800  double array

s_pqsf             17100x1         136800  double array

s_pqsf_orig        17100x1         136800  double array

s_pqw              17100x1         136800  double array

s_pqw_orig         17100x1         136800  double array

s_psf              17100x1         136800  double array

s_psfc             17100x1         136800  double array

s_psw              17100x1         136800  double array

s_ptr              17100x1         136800  double array

s_rh_gef           17100x1         136800  double array

s_rolli1           17100x1         136800  double array

s_rolli2           17100x1         136800  double array

s_sfmrb3V          17100x1         136800  double array

s_sfmrb4V          17100x1         136800  double array

s_sfmrb5V          17100x1         136800  double array

s_sfmrb6V          17100x1         136800  double array

s_sfmrb7V          17100x1         136800  double array

s_sfmrb8V          17100x1         136800  double array

s_sfmrt5V          17100x1         136800  double array

s_sfmrt6V          17100x1         136800  double array

s_sfmrt7V          17100x1         136800  double array

s_sfmrt8V          17100x1         136800  double array

s_sh_gef           17100x1         136800  double array

s_ssaf             17100x1         136800  double array

s_sshp             17100x1         136800  double array

s_tad              17100x1         136800  double array

s_tad_f1           17100x1         136800  double array

s_tad_f2           17100x1         136800  double array

s_tad_r            17100x1         136800  double array

s_tasdf            17100x1         136800  double array

s_tashf            17100x1         136800  double array

s_theta            17100x1         136800  double array

s_thetae           17100x1         136800  double array

s_thetav           17100x1         136800  double array

s_timehp_run       17100x1         136800  double array

s_timehp_ymdhms    17100x6         820800  double array

s_timetc_01        17100x1         136800  double array

s_timetp           17100x1         136800  double array

s_tl               17100x1         136800  double array

s_trdprt5          17100x1         136800  double array

s_trdprt5V         17100x1         136800  double array

s_trdprt5_orig     17100x1         136800  double array

s_trki1c           17100x1         136800  double array

s_trki2c           17100x1         136800  double array

s_truprt5          17100x1         136800  double array

s_truprt5V         17100x1         136800  double array

s_tsrdco2          17100x1         136800  double array

s_tsrdco2V         17100x1         136800  double array

s_tt1hcV           17100x1         136800  double array

s_tt2hcV           17100x1         136800  double array

s_ttf1             17100x1         136800  double array

s_ttf1_orig        17100x1         136800  double array

s_ttf2             17100x1         136800  double array

s_ttr              17100x1         136800  double array

s_tvir             17100x1         136800  double array

s_vxg              17100x1         136800  double array

s_vxg_orig         17100x1         136800  double array

s_vxi1             17100x1         136800  double array

s_vxi1c            17100x1         136800  double array

s_vxi2             17100x1         136800  double array

s_vxi2c            17100x1         136800  double array

s_vyg              17100x1         136800  double array

s_vyg_orig         17100x1         136800  double array

s_vyi1             17100x1         136800  double array

s_vyi1c            17100x1         136800  double array

s_vyi2             17100x1         136800  double array

s_vyi2c            17100x1         136800  double array

s_vzg              17100x1         136800  double array

s_vzi1             17100x1         136800  double array

s_vzi1_p3          17100x1         136800  double array

s_vzi1c            17100x1         136800  double array

s_vzi2             17100x1         136800  double array

s_vzi2_p3          17100x1         136800  double array

s_vzi2c            17100x1         136800  double array

s_wdff2            17100x1         136800  double array

s_wlgff2           17100x1         136800  double array

s_wltff2           17100x1         136800  double array

s_wsff2            17100x1         136800  double array

s_wxff2            17100x1         136800  double array

s_wyff2            17100x1         136800  double array

s_wzff2            17100x1         136800  double array

s_yrhp             17100x1         136800  double array

z_acnum                1x1              8  double array

z_blksndx              3x2             48  double array

z_blksutc              3x6            144  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_gapsndx              2x1             16  double array

z_min_size             1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            81x8           1296  char array

Grand total is 2651568 elements using 21206400 bytes

Pre-processing is complete...have a nice day.

(total processing time of 2.45 minutes)

Saving: /acdata/hur01/data_mat/010927Is_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 010927I in netCDF Format? [yN]: y