*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  08-Nov-2001

Data Processor :  barryd

Diary File     :  /acdata/hur01/docs_proc/011103Hs_P.doc

Total Number of Records: 34419

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500 11000 11500 12000 12500 13000 13500 14000 14500 15000 15500 16000 16500 17000 17500 18000 18500 19000 19500 20000 20500 21000 21500 22000 22500 23000 23500 24000 24500 25000 25500 26000 26500 27000 27500 28000 28500 29000 29500 30000 30500 31000 31500 32000 32500 33000 33500 34000 34500

==============================================================================

N42RF ADC Channel Assignments for 011103

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N42RF ABD 010809 Hurricane 2001

01      ttf1    	Rosemount Total Temp #1 FWD     SN 58173/amp #1 cal date 060701

02      ttf2    	Rosemount Total Temp #2 AFT     SN A7868/amp #137 cal date 060701

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52724/92616 cal date 060701

04      pdaf    	Attack Pressure Fuselage	  SN 823 CAL DATE 060701

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 832 CAL DATE 060701

06      pdsf    	Sideslip Pressure Fuselage   	  SN 844 CAL DATE 060701

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 833 CAL DATE 060701

08      psw    	Static Pressure Wingtip           SN 162 CAL DATE 060701

09      pqw    	Dynamic Pressure Wingtip          SN 162 CAL DATE 060701

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 648 CAL DATE 060701

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 650 CAL DATE 021000

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2671 CAL DATE 060701

17      pdsr    	Sideslip Pressure Radome 	  SN 284 CAL DATE 060701

18      pqr    	Dynamic Pressure Radome  	  SN 658 CAL DATE 060701

19      ptr    	Total Pressure Radome 		  SN 227 CAL DATE 060701

20      ttr    	Total Temperature Radome          SN 3081/amp #124 cal date 072099

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  392 w/1705 CAL DATE  060701

25

26

27      dpbuck    	BK Dewpoint Fuselage Buck Research 1011C w/ 1011B 312-P w/ 52721 cal date 071801

28      dw3bal    	DW3 Balance

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 165 CAL DATE 060701

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 165 CAL DATE 060701

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 860 CAL DATE 060701

35      affmsen    	AFT fieldmill sensitive

36      affmise    	AFT fieldmill insensitive

37      affmsis    	AFT fieldmill super insensitive

38      hvpscur    	Fieldmill HVPS current

39      hvpsvlt    	Fieldmill HVPS voltage

40      rtfmsen    	Right fieldmill sensitive

41      rtfmise    	Right fieldmill insensitive

42      rtfmsis    	Right fieldmill super insensitive

43      upfmse    	Up fieldmill sensitive

44      upfmise    	Up fieldmill insensitive

45      upfmsis    	Up fieldmill super insensitive

46

47      pcab    	Cabin Pressure Rmnt 1201F   sn 177 cal date 060701

48      axbt1    	AXBT Channel 1

49      axbt2    	AXBT Channel 2

50      axbt3    	AXBT Channel 3

51      ozone1    	Ozone channel 1

52

53

54

55

56

57

58

59

60

61

62

63      truprt5    	Up PRT-5 Radiometer           Barnes Up-Looking Radiometer 648 cal date 010401

64

65

66

67

68

69

70

71

72

73      dnfmse    	Down fieldmill sensitive

74      dnfmise    	Down fieldmill insensitive

75      dnfmsis    	Down fieldmill super insensitive

76      ltfmse    	Left fieldmill sensitive

77      ltfmise    	Left fieldmill insensitive

78      ltfmsis    	Left fieldmill super insensitive

79

==============================================================================

Time for reading, saving data:  2.85 minutes

No problems detected on yrhp or mohp or ddhp for 011103H_s

NO time DROPOUT (i.e., No dt<0) found in  011103H_s

NO REDUNDANT time (i.e., No dt==0) found in  011103H_s

There is a TIME GAP at this sample number:

841

Here are the contiguous blocks:

BLOCKS 	      SAMPLES		       UTC

01	    00001-00840		21:49:11-22:03:10

02	    00841-34419		22:03:22-07:23:00

Checking data CONTNUITY around time gap at 841

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

00838	079388   03   22   03   08	1016.25	27.99	 9.52

00839	079389   03   22   03   09	1016.30	28.02	10.29

00840	079390   03   22   03   10	1016.37	28.06	10.99

00841	079402   03   22   03   22	1016.69	29.10	23.27

00842	079403   03   22   03   23	1016.71	29.15	25.10

00843	079404   03   22   03   24	1016.74	29.24	25.87

00844	079405   03   22   03   25	1016.79	29.28	26.79

Do you want to correct data affected by gap? y/n [y]:   n

Final contiguous blocks saved in ----> z_blksndx & z_blksutc:

BLOCKS 	      SAMPLES		       UTC

01	    00001-00840		21:49:11-22:03:10

02	    00841-34419		22:03:22-07:23:00

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  22 04 00 07 12 00]

#??? 22 04

|

Unrecognized operand or partial expression.

Format (include [ ]): [hh mm ss hh mm ss] ------>  [22 04 00 07 12 00]

There is no: dpegg

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 854

Dynamic pressure values set to 35.0 mb for sample numbers above: 33528

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 854

Dynamic pressure values set to 35.0 mb for sample numbers above: 33529

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 854

Dynamic pressure values set to 35.0 mb for sample numbers above: 33535

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 847

Dynamic pressure values set to 35.0 mb for sample numbers above: 33684

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 852

Dynamic pressure values set to 35.0 mb for sample numbers above: 33529

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 850

Dynamic pressure values set to 35.0 mb for sample numbers above: 33554

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:   854

z_pqnd: 33528

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

affmiseV	affmsenV	affmsisV

axbt1   	axbt2   	axbt3

ddhp    	dnfmiseV	dnfmseV

dnfmsisV	dpbuck  	dw3bal

hhhp    	hr159p  	hvpscurV

hvpsvltV	klwcV   	ltfmiseV

ltfmseV 	ltfmsisV	lwcjw

mmhp    	mohp    	ozone1V

pcab    	rtfmiseV	rtfmsenV

rtfmsisV	sshp    	trdprt5V

truprt5 	truprt5V	tsrdco2

tsrdco2V	upfmiseV	upfmseV

upfmsisV		upfmsisV

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 011103Hs		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     |                |                |                   |  YES  |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                |                |                   |  YES  |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                |                   |  YES  |

|hi1     | < 0 m          |                |                   |  NO   |

|hi2     | < 0 m          |                |                   |  NO   |

|hg      | < 0 m          |                | > 50 m/s          |  NO   |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                | > 0.005 deg/s     |  NO   |

|lati2   |                |                | > 0.005 deg/s     |  NO   |

|latg    |                |                |                   |  YES  |

|longi1  |                |                | > 0.005 deg/s     |  NO   |

|longi2  |                |                | > 0.005 deg/s     |  NO   |

|longg   |                |                |                   |  YES  |

|vxi1    |                |                | > 8 m/s/s         |  NO   |

|vxi2    |                |                | > 8 m/s/s         |  NO   |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                | > 8 m/s/s         |  NO   |

|vyi2    |                |                | > 8 m/s/s         |  NO   |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                |                   |  YES  |

|ttf2    |                |                |                   |  YES  |

|ttr     |                |                |                   |  YES  |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                |                   |  YES  |

|dpaocf  |                |                | > 5 C/s           |  NO   |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|psf     |                |                | > 0.5 mb/s        |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	psf

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of psf

- Enter q to quit this routine (qcheckall.m)

What is your choice:   q

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur01 Data File:  011103H

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

011103H - HP Time Period of Slow Tape Operation:

Starting Time --> 21:49:11 UTC

Ending Time   --> 07:23:00 UTC

Total time in seconds: 34430.0

Total time in minutes: 573.83

Total time in hours  : 9.56

OR, 9 hour(s), 33 minute(s), and 50 second(s)

-----------------------------------------------------

011103H - Contiguous Time Check on HP Time.

There are 2 contiguous time blocks on the slow tape.

Please confirm these numbers,

Record      1 - HP Time: 21:49:11 UTC

Record    840 - HP Time: 22:03:10 UTC

Record    841 - HP Time: 22:03:22 UTC

Record  34419 - HP Time: 07:23:00 UTC

HP Time Gap 1 : 12 Seconds

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpbuck

3. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-3 [1]:  2

Reference Dewpoint Sensor -----------> dpbuck

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N42RF AOC Empirical Adjustments  08-Nov-2001

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpbuck	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.31 mbar)	XXXXXX

Pressure      pqr     	(0.87 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.15211

(from N42RF)   	A2 = -0.0122277

A3 =  0.00185083

A4 = -0.000077304

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 13 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

z_offset_dpbuck   s_dpbuck_orig     s_ttf1_orig       s_trdprt5_orig

s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.36 m/s

There are 15 newly-calculated variables:

s_ah_buck  s_mr_buck   s_tad   s_theta     s_machd

s_rh_buck  s_tasdf     s_tvir  s_thetav    s_machh

s_sh_buck  s_tashf     s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:  two

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE2: ---->	s_wndff2

***FYI: The Angle of Attack Coefficients are for TOGA COARE

obtained from 921128H1_m1sp and 921128H4_m4sp

PQF1 offset: z_offset_pqf1=1.31 mb for N42RF

No offset to heading on P342RF

No offset to ssaf on P342RF

Used s_ttf1

There are 10 newly-calculated variables 34419 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff2   s_wdff2   s_wlgff2   s_aaf     s_ssaf    a_aaf

s_wyff2   s_wsff2   s_wltff2   c_kaaf    c_kssaf   a_ssaf

s_wzff2   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_longg_orig        s_trdprt5_orig

a_dpref             s_longi1            s_trki1c

a_fldate            s_longi1c           s_trki2c

a_person            s_longi2            s_truprt5

a_project           s_longi2c           s_truprt5V

a_ssaf              s_ltfmiseV          s_tsrdco2

a_timeEND           s_ltfmseV           s_tsrdco2V

a_timeSTART         s_ltfmsisV          s_ttf1

a_ttref             s_lwcjw             s_ttf1_orig

c_baaf              s_machd             s_ttf2

c_bssaf             s_machh             s_ttr

c_kaaf              s_mmhp              s_tvir

c_kssaf             s_mohp              s_upfmiseV

do_fastdata         s_mr_buck           s_upfmseV

s_aaf               s_ozone1V           s_upfmsisV

s_affmiseV          s_pcab              s_vxg

s_affmsenV          s_pdaf              s_vxg_orig

s_affmsisV          s_pdar              s_vxi1

s_ah_buck           s_pdsf              s_vxi1c

s_axbt1             s_pdsr              s_vxi2

s_axbt2             s_pitchi1           s_vxi2c

s_axbt3             s_pitchi2           s_vyg

s_azi1              s_pqaf              s_vyg_orig

s_azi2              s_pqaf_orig         s_vyi1

s_dai1              s_pqf1              s_vyi1c

s_dai1c             s_pqf1_orig         s_vyi2

s_dai2              s_pqf1c             s_vyi2c

s_dai2c             s_pqf2              s_vzg

s_ddhp              s_pqf2_orig         s_vzi1

s_dnfmiseV          s_pqr               s_vzi1_p3

s_dnfmseV           s_pqr_orig          s_vzi1c

s_dnfmsisV          s_pqsf              s_vzi2

s_dpaocf            s_pqsf_orig         s_vzi2_p3

s_dpbuck            s_pqw               s_vzi2c

s_dpbuck_orig       s_pqw_orig          s_wdff2

s_dpgef             s_psf               s_wlgff2

s_dw3bal            s_psfc              s_wltff2

s_fstape            s_psw               s_wsff2

s_hdgi1             s_ptr               s_wxff2

s_hdgi1_orig        s_rh_buck           s_wyff2

s_hdgi2             s_rolli1            s_wzff2

s_hdgi2_orig        s_rolli2            s_yrhp

s_hg                s_rtfmiseV          z_acnum

s_hhhp              s_rtfmsenV          z_blksndx

s_hi1               s_rtfmsisV          z_blksutc

s_hi1_p3            s_sh_buck           z_fstindx

s_hi1c              s_ssaf              z_fstutc

s_hi2               s_sshp              z_gapsndx

s_hi2_p3            s_tad               z_min_size

s_hi2c              s_tad_f1            z_offset_dpbuck

s_hpalt_psfc        s_tad_f2            z_offset_dpgef

s_hr159p            s_tad_r             z_offset_hdg

s_hr159s            s_tasdf             z_offset_pqf1

s_hr232             s_tashf             z_offset_pqr

s_hvpscurV          s_theta             z_offset_trdprt5

s_hvpsvltV          s_thetae            z_offset_ttf1

s_klwcV             s_thetav            z_offset_ttf2

s_latg              s_timehp_run        z_pqnd

s_latg_orig         s_timehp_ymdhms     z_pqst

s_lati1             s_timetc_01         z_srate

s_lati1c            s_timetp            z_varnames

s_lati2             s_tl

s_lati2c            s_trdprt5

s_longg             s_trdprt5V

Name                   Size         Bytes  Class

a_aaf                  1x150          300  char array

a_dpref                1x6             12  char array

a_fldate               1x10            20  char array

a_person               1x6             12  char array

a_project              1x5             10  char array

a_ssaf                 1x149          298  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              34419x1         275352  double array

s_affmiseV         34419x1         275352  double array

s_affmsenV         34419x1         275352  double array

s_affmsisV         34419x1         275352  double array

s_ah_buck          34419x1         275352  double array

s_axbt1            34419x1         275352  double array

s_axbt2            34419x1         275352  double array

s_axbt3            34419x1         275352  double array

s_azi1             34419x1         275352  double array

s_azi2             34419x1         275352  double array

s_dai1             34419x1         275352  double array

s_dai1c            34419x1         275352  double array

s_dai2             34419x1         275352  double array

s_dai2c            34419x1         275352  double array

s_ddhp             34419x1         275352  double array

s_dnfmiseV         34419x1         275352  double array

s_dnfmseV          34419x1         275352  double array

s_dnfmsisV         34419x1         275352  double array

s_dpaocf           34419x1         275352  double array

s_dpbuck           34419x1         275352  double array

s_dpbuck_orig      34419x1         275352  double array

s_dpgef            34419x1         275352  double array

s_dw3bal           34419x1         275352  double array

s_fstape           34419x1         275352  double array

s_hdgi1            34419x1         275352  double array

s_hdgi1_orig       34419x1         275352  double array

s_hdgi2            34419x1         275352  double array

s_hdgi2_orig       34419x1         275352  double array

s_hg               34419x1         275352  double array

s_hhhp             34419x1         275352  double array

s_hi1              34419x1         275352  double array

s_hi1_p3           34419x1         275352  double array

s_hi1c             34419x1         275352  double array

s_hi2              34419x1         275352  double array

s_hi2_p3           34419x1         275352  double array

s_hi2c             34419x1         275352  double array

s_hpalt_psfc       34419x1         275352  double array

s_hr159p           34419x1         275352  double array

s_hr159s           34419x1         275352  double array

s_hr232            34419x1         275352  double array

s_hvpscurV         34419x1         275352  double array

s_hvpsvltV         34419x1         275352  double array

s_klwcV            34419x1         275352  double array

s_latg             34419x1         275352  double array

s_latg_orig        34419x1         275352  double array

s_lati1            34419x1         275352  double array

s_lati1c           34419x1         275352  double array

s_lati2            34419x1         275352  double array

s_lati2c           34419x1         275352  double array

s_longg            34419x1         275352  double array

s_longg_orig       34419x1         275352  double array

s_longi1           34419x1         275352  double array

s_longi1c          34419x1         275352  double array

s_longi2           34419x1         275352  double array

s_longi2c          34419x1         275352  double array

s_ltfmiseV         34419x1         275352  double array

s_ltfmseV          34419x1         275352  double array

s_ltfmsisV         34419x1         275352  double array

s_lwcjw            34419x1         275352  double array

s_machd            34419x1         275352  double array

s_machh            34419x1         275352  double array

s_mmhp             34419x1         275352  double array

s_mohp             34419x1         275352  double array

s_mr_buck          34419x1         275352  double array

s_ozone1V          34419x1         275352  double array

s_pcab             34419x1         275352  double array

s_pdaf             34419x1         275352  double array

s_pdar             34419x1         275352  double array

s_pdsf             34419x1         275352  double array

s_pdsr             34419x1         275352  double array

s_pitchi1          34419x1         275352  double array

s_pitchi2          34419x1         275352  double array

s_pqaf             34419x1         275352  double array

s_pqaf_orig        34419x1         275352  double array

s_pqf1             34419x1         275352  double array

s_pqf1_orig        34419x1         275352  double array

s_pqf1c            34419x1         275352  double array

s_pqf2             34419x1         275352  double array

s_pqf2_orig        34419x1         275352  double array

s_pqr              34419x1         275352  double array

s_pqr_orig         34419x1         275352  double array

s_pqsf             34419x1         275352  double array

s_pqsf_orig        34419x1         275352  double array

s_pqw              34419x1         275352  double array

s_pqw_orig         34419x1         275352  double array

s_psf              34419x1         275352  double array

s_psfc             34419x1         275352  double array

s_psw              34419x1         275352  double array

s_ptr              34419x1         275352  double array

s_rh_buck          34419x1         275352  double array

s_rolli1           34419x1         275352  double array

s_rolli2           34419x1         275352  double array

s_rtfmiseV         34419x1         275352  double array

s_rtfmsenV         34419x1         275352  double array

s_rtfmsisV         34419x1         275352  double array

s_sh_buck          34419x1         275352  double array

s_ssaf             34419x1         275352  double array

s_sshp             34419x1         275352  double array

s_tad              34419x1         275352  double array

s_tad_f1           34419x1         275352  double array

s_tad_f2           34419x1         275352  double array

s_tad_r            34419x1         275352  double array

s_tasdf            34419x1         275352  double array

s_tashf            34419x1         275352  double array

s_theta            34419x1         275352  double array

s_thetae           34419x1         275352  double array

s_thetav           34419x1         275352  double array

s_timehp_run       34419x1         275352  double array

s_timehp_ymdhms    34419x6        1652112  double array

s_timetc_01        34419x1         275352  double array

s_timetp           34419x1         275352  double array

s_tl               34419x1         275352  double array

s_trdprt5          34419x1         275352  double array

s_trdprt5V         34419x1         275352  double array

s_trdprt5_orig     34419x1         275352  double array

s_trki1c           34419x1         275352  double array

s_trki2c           34419x1         275352  double array

s_truprt5          34419x1         275352  double array

s_truprt5V         34419x1         275352  double array

s_tsrdco2          34419x1         275352  double array

s_tsrdco2V         34419x1         275352  double array

s_ttf1             34419x1         275352  double array

s_ttf1_orig        34419x1         275352  double array

s_ttf2             34419x1         275352  double array

s_ttr              34419x1         275352  double array

s_tvir             34419x1         275352  double array

s_upfmiseV         34419x1         275352  double array

s_upfmseV          34419x1         275352  double array

s_upfmsisV         34419x1         275352  double array

s_vxg              34419x1         275352  double array

s_vxg_orig         34419x1         275352  double array

s_vxi1             34419x1         275352  double array

s_vxi1c            34419x1         275352  double array

s_vxi2             34419x1         275352  double array

s_vxi2c            34419x1         275352  double array

s_vyg              34419x1         275352  double array

s_vyg_orig         34419x1         275352  double array

s_vyi1             34419x1         275352  double array

s_vyi1c            34419x1         275352  double array

s_vyi2             34419x1         275352  double array

s_vyi2c            34419x1         275352  double array

s_vzg              34419x1         275352  double array

s_vzi1             34419x1         275352  double array

s_vzi1_p3          34419x1         275352  double array

s_vzi1c            34419x1         275352  double array

s_vzi2             34419x1         275352  double array

s_vzi2_p3          34419x1         275352  double array

s_vzi2c            34419x1         275352  double array

s_wdff2            34419x1         275352  double array

s_wlgff2           34419x1         275352  double array

s_wltff2           34419x1         275352  double array

s_wsff2            34419x1         275352  double array

s_wxff2            34419x1         275352  double array

s_wyff2            34419x1         275352  double array

s_wzff2            34419x1         275352  double array

s_yrhp             34419x1         275352  double array

z_acnum                1x1              8  double array

z_blksndx              2x2             32  double array

z_blksutc              2x6             96  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_gapsndx              1x1              8  double array

z_min_size             1x1              8  double array

z_offset_dpbuck        1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            87x8           1392  char array

Grand total is 5542565 elements using 44334100 bytes

Pre-processing is complete...have a nice day.

(total processing time of 3.45 minutes)

Saving: /acdata/hur01/data_mat/011103Hs_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 011103H in netCDF Format? [yN]: y