*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  28-Aug-2002

Data Processor :  barryd

Diary File     :  /acdata/hur02/docs_proc/020814Is_P.doc

Total Number of Records: 10038

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500

==============================================================================

N43RF ADC Channel Assignments for 020814

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N43RF Hur02 7/30/02

01      ttf1    	Rosemount Total Temp #1 FWD     SN 31416/amp #11 cal date 0711002

02      ttf2    	Rosemount Total Temp #2 AFT     SN A7775/amp #152 cal date 071102

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52723/93602 cal date 071102

04      pdaf    	Attack Pressure Fuselage	  SN 877 CAL DATE 071102

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 842 CAL DATE 071102

06      pdsf    	Sideslip Pressure Fuselage   	  SN 878 CAL DATE 071102

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 861 CAL DATE 071102

08      psw    	Static Pressure Wingtip           SN 163 CAL DATE 071102

09      pqw    	Dynamic Pressure Wingtip          SN 163 CAL DATE 071102

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 588 CAL DATE 071102

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 642 CAL DATE 111901

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2317 CAL DATE 071102

17      pdsr    	Sideslip Pressure Radome 	  SN 879 CAL DATE 071102

18      pqr    	Dynamic Pressure Radome  	  SN 286 CAL DATE 071102

19      ptr    	Total Pressure Radome 		  SN 260 CAL DATE 071102

20      ttr    	Total temp #3 Rosemount A29935 / amp #155  cal data 082102

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  484 w/1705 CAL DATE  071102

25

26

27      dpbuck    	BK Dewpoint Fuselage Buck Research 1011C w/ 1011B 316-P w/ 93002 cal date 071102

28      dw3bal    	DW3 Balance

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 161 CAL DATE 071102

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 161 CAL DATE 071102

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 862 CAL DATE 071102

35      tth1    	total temp #1 heater current

36      tth2    	total temp #2 heater current

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Vaisala  PTB 220 sn W3120002 cal date 083001

48      axbt1    	AXBT Channel 1

49      axbt2    	AXBT Channel 2

50      axbt3    	AXBT Channel 3

51

52

53

54

55

56

57

58

59

60

61

62

63      truprt5    	Up PRT-5 Radiometer           Barnes Up-Looking Radiometer 588 cal date 111901

64      sfmrb3    	sfmr brightness B3 4.55GHz

65      sfmrb5    	sfmr brightness B5 5.64GHz

66      sfmrb7    	sfmr brightness B7 6.96GHz

67      sfmrb8    	sfmr brightness B8 7.22GHz

68      sfmrb6    	sfmr brightness B6 6.34GHz

69      sfmrb4    	sfmr brightness B4 5.06GHz

70      sfmrt8    	sfmr temp T8 rcvr noise

71      sfmrt7    	sfmr temp T7 rcvr ref load

72      sfmrt6    	sfmr temp T6 antenna left

73      sfmrt5    	sfmr temp T5 antenna right

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  0.82 minutes

No problems detected on yrhp or mohp or ddhp for 020814I_s

NO time DROPOUT (i.e., No dt<0) found in  020814I_s

NO REDUNDANT time (i.e., No dt==0) found in  020814I_s

There are TIME GAPS at these sample numbers:

3061

3583

4129

4675

4736

4940

5052

7414

7724

Here are the contiguous blocks:

BLOCKS 	      SAMPLES		       UTC

01	    00001-03060		17:37:31-18:28:30

02	    03061-03582		18:28:39-18:37:20

03	    03583-04128		18:37:35-18:46:40

04	    04129-04674		18:46:55-18:56:00

05	    04675-04735		18:56:10-18:57:10

06	    04736-04939		18:57:17-19:00:40

07	    04940-05051		19:00:59-19:02:50

08	    05052-07413		19:02:59-19:42:20

09	    07414-07723		19:42:31-19:47:40

10	    07724-10038		19:47:46-20:26:20

Checking data CONTNUITY around time gap at 3061

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03058	066508   14   18   28   28	 856.28	23.57	60.49

03059	066509   14   18   28   29	 856.30	23.57	60.42

03060	066510   14   18   28   30	 856.33	23.56	60.39

03061	066519   14   18   28   39	 850.84	23.51	59.84

03062	066520   14   18   28   40	 856.35	23.71	60.39

03063	066521   14   18   28   41	 856.35	23.69	60.38

03064	066522   14   18   28   42	 856.38	23.70	60.37

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 3061

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03058	066508   14   18   28   28	 856.28	23.57	60.49

03059	066509   14   18   28   29	 856.30	23.57	60.42

03060	066510   14   18   28   30	 856.33	23.56	60.37

03061	066519   14   18   28   39	 856.34	23.70	60.40

03062	066520   14   18   28   40	 856.35	23.71	60.39

03063	066521   14   18   28   41	 856.35	23.69	60.38

03064	066522   14   18   28   42	 856.38	23.70	60.37

Checking data CONTNUITY around time gap at 3583

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03580	067038   14   18   37   18	 856.45	23.52	58.91

03581	067039   14   18   37   19	 856.45	23.55	58.87

03582	067040   14   18   37   20	 856.43	23.57	58.92

03583	067055   14   18   37   35	 823.38	22.32	55.64

03584	067056   14   18   37   36	 856.52	23.63	58.83

03585	067057   14   18   37   37	 856.52	23.64	58.87

03586	067058   14   18   37   38	 856.50	23.63	58.85

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 3583

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

03580	067038   14   18   37   18	 856.45	23.52	58.91

03581	067039   14   18   37   19	 856.45	23.55	58.87

03582	067040   14   18   37   20	 856.47	23.57	58.87

03583	067055   14   18   37   35	 856.54	23.64	58.83

03584	067056   14   18   37   36	 856.52	23.63	58.83

03585	067057   14   18   37   37	 856.52	23.64	58.87

03586	067058   14   18   37   38	 856.50	23.63	58.85

Checking data CONTNUITY around time gap at 4129

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04126	067598   14   18   46   38	 856.55	23.74	59.53

04127	067599   14   18   46   39	 856.52	23.73	59.53

04128	067600   14   18   46   40	 856.52	23.70	59.51

04129	067615   14   18   46   55	 840.03	23.09	57.90

04130	067616   14   18   46   56	 856.57	23.75	59.52

04131	067617   14   18   46   57	 856.60	23.76	59.45

04132	067618   14   18   46   58	 856.60	23.77	59.43

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 4129

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04126	067598   14   18   46   38	 856.55	23.74	59.53

04127	067599   14   18   46   39	 856.52	23.73	59.53

04128	067600   14   18   46   40	 856.53	23.72	59.52

04129	067615   14   18   46   55	 856.56	23.75	59.55

04130	067616   14   18   46   56	 856.57	23.75	59.52

04131	067617   14   18   46   57	 856.60	23.76	59.45

04132	067618   14   18   46   58	 856.60	23.77	59.43

Checking data CONTNUITY around time gap at 4675

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04672	068158   14   18   55   58	 918.78	27.95	65.52

04673	068159   14   18   55   59	 918.76	27.94	65.35

04674	068160   14   18   56   00	 918.76	27.93	64.97

04675	068170   14   18   56   10	 912.95	27.64	63.23

04676	068171   14   18   56   11	 919.07	27.90	63.65

04677	068172   14   18   56   12	 919.12	27.89	63.51

04678	068173   14   18   56   13	 919.17	27.86	63.36

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 4675

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04672	068158   14   18   55   58	 918.78	27.95	65.52

04673	068159   14   18   55   59	 918.76	27.94	65.35

04674	068160   14   18   56   00	 918.76	27.93	65.19

04675	068170   14   18   56   10	 919.02	27.93	63.79

04676	068171   14   18   56   11	 919.07	27.90	63.65

04677	068172   14   18   56   12	 919.12	27.89	63.51

04678	068173   14   18   56   13	 919.17	27.86	63.36

Checking data CONTNUITY around time gap at 4736

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04733	068228   14   18   57   08	 918.49	28.41	68.20

04734	068229   14   18   57   09	 918.44	28.42	68.39

04735	068230   14   18   57   10	 918.41	28.42	68.67

04736	068237   14   18   57   17	 857.57	25.84	63.34

04737	068238   14   18   57   18	 918.34	28.47	69.93

04738	068239   14   18   57   19	 918.41	28.45	70.17

04739	068240   14   18   57   20	 918.54	28.45	70.38

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 4736

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04733	068228   14   18   57   08	 918.49	28.41	68.20

04734	068229   14   18   57   09	 918.44	28.42	68.39

04735	068230   14   18   57   10	 918.41	28.45	68.53

04736	068237   14   18   57   17	 918.23	28.48	69.70

04737	068238   14   18   57   18	 918.34	28.47	69.93

04738	068239   14   18   57   19	 918.41	28.45	70.17

04739	068240   14   18   57   20	 918.54	28.45	70.38

Checking data CONTNUITY around time gap at 4940

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

04937	068438   14   19   00   38	 919.17	28.22	70.80

04938	068439   14   19   00   39	 919.17	28.22	71.04

04939	068440   14   19   00   40	 919.17	28.17	71.18

04940	068459   14   19   00   59	 919.24	28.10	69.12

04941	068460   14   19   01   00	 919.29	28.11	69.09

04942	068461   14   19   01   01	 919.32	28.14	69.08

04943	068462   14   19   01   02	 919.34	28.18	69.06

Do you want to correct data affected by gap? y/n [y]:   n

Checking data CONTNUITY around time gap at 5052

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

05049	068568   14   19   02   48	 919.00	28.12	68.33

05050	068569   14   19   02   49	 919.02	28.14	68.19

05051	068570   14   19   02   50	 919.05	28.17	68.22

05052	068579   14   19   02   59	 900.79	27.27	66.74

05053	068580   14   19   03   00	 919.05	28.03	68.57

05054	068581   14   19   03   01	 919.00	28.03	68.45

05055	068582   14   19   03   02	 919.02	28.05	68.33

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 5052

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

05049	068568   14   19   02   48	 919.00	28.12	68.33

05050	068569   14   19   02   49	 919.02	28.14	68.19

05051	068570   14   19   02   50	 919.05	28.17	68.18

05052	068579   14   19   02   59	 919.05	28.02	68.69

05053	068580   14   19   03   00	 919.05	28.03	68.57

05054	068581   14   19   03   01	 919.00	28.03	68.45

05055	068582   14   19   03   02	 919.02	28.05	68.33

Checking data CONTNUITY around time gap at 7414

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

07411	070938   14   19   42   18	 919.34	29.23	75.39

07412	070939   14   19   42   19	 919.32	29.25	75.43

07413	070940   14   19   42   20	 919.34	29.24	75.47

07414	070951   14   19   42   31	 858.40	26.54	68.62

07415	070952   14   19   42   32	 919.29	29.24	75.55

07416	070953   14   19   42   33	 919.29	29.24	75.59

07417	070954   14   19   42   34	 919.29	29.25	75.65

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 7414

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

07411	070938   14   19   42   18	 919.34	29.23	75.39

07412	070939   14   19   42   19	 919.32	29.25	75.43

07413	070940   14   19   42   20	 919.29	29.26	75.42

07414	070951   14   19   42   31	 919.29	29.24	75.51

07415	070952   14   19   42   32	 919.29	29.24	75.55

07416	070953   14   19   42   33	 919.29	29.24	75.59

07417	070954   14   19   42   34	 919.29	29.25	75.65

Checking data CONTNUITY around time gap at 7724

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

07721	071258   14   19   47   38	 919.41	29.10	74.56

07722	071259   14   19   47   39	 919.44	29.11	74.63

07723	071260   14   19   47   40	 919.44	29.11	74.72

07724	071266   14   19   47   46	 858.48	26.41	67.91

07725	071267   14   19   47   47	 919.34	29.10	74.73

07726	071268   14   19   47   48	 919.34	29.10	74.72

07727	071269   14   19   47   49	 919.37	29.10	74.77

Do you want to correct data affected by gap? y/n [y]:

Checking data CONTINUITY again after CORRECTION around time gap at 7724

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

07721	071258   14   19   47   38	 919.41	29.10	74.56

07722	071259   14   19   47   39	 919.44	29.11	74.63

07723	071260   14   19   47   40	 919.45	29.11	74.66

07724	071266   14   19   47   46	 919.32	29.10	74.70

07725	071267   14   19   47   47	 919.34	29.10	74.73

07726	071268   14   19   47   48	 919.34	29.10	74.72

07727	071269   14   19   47   49	 919.37	29.10	74.77

Final contiguous blocks saved in ----> z_blksndx & z_blksutc:

BLOCKS 	      SAMPLES		       UTC

01	    00001-03060		17:37:31-18:28:30

02	    03061-03582		18:28:39-18:37:20

03	    03583-04128		18:37:35-18:46:40

04	    04129-04674		18:46:55-18:56:00

05	    04675-04735		18:56:10-18:57:10

06	    04736-04939		18:57:17-19:00:40

07	    04940-05051		19:00:59-19:02:50

08	    05052-07413		19:02:59-19:42:20

09	    07414-07723		19:42:31-19:47:40

10	    07724-10038		19:47:46-20:26:20

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  [17 50 00 20 25 00]

There is no: dpegg

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 789

Dynamic pressure values set to 35.0 mb for sample numbers above: 9445

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 789

Dynamic pressure values set to 35.0 mb for sample numbers above: 9445

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 789

Dynamic pressure values set to 35.0 mb for sample numbers above: 9445

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 777

Dynamic pressure values set to 35.0 mb for sample numbers above: 9465

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 786

Dynamic pressure values set to 35.0 mb for sample numbers above: 9447

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 789

Dynamic pressure values set to 35.0 mb for sample numbers above: 9449

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:   789

z_pqnd:  9445

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dpbuck  	dw3bal

hhhp    	hr159p  	klwcV

lwcjw   	mmhp    	mohp

pcab    	sfmrb3V 	sfmrb4V

sfmrb5V 	sfmrb6V 	sfmrb7V

sfmrb8V 	sfmrt5V 	sfmrt6V

sfmrt7V 	sfmrt8V 	sshp

trdprt5V	truprt5 	truprt5V

tsrdco2 	tsrdco2V	tth1V

tth2V   		tth2V

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 020814Is		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     |                |                |                   |  YES  |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                |                |                   |  YES  |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    | < -65 mb       |                |                   |  NO   |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     | < 0 m          |                | > 50 m/s          |  NO   |

|hi2     | < 0 m          |                | > 50 m/s          |  NO   |

|hg      | < 0 m          |                |                   |  NO   |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                | > 0.005 deg/s     |  NO   |

|lati2   |                |                | > 0.005 deg/s     |  NO   |

|latg    |                |                | > 0.005 deg/s     |  NO   |

|longi1  |                |                | > 0.005 deg/s     |  NO   |

|longi2  |                |                | > 0.005 deg/s     |  NO   |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                | > 8 m/s/s         |  NO   |

|vxi2    |                |                | > 8 m/s/s         |  NO   |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                | > 8 m/s/s         |  NO   |

|vyi2    |                |                | > 8 m/s/s         |  NO   |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                |                   |  YES  |

|ttf2    |                |                |                   |  YES  |

|ttr     |                | > 55 C         |                   |  NO   |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                | > 5 C/s           |  NO   |

|dpaocf  | < -80 C        | > 50 C         | > 5 C/s           |  NO   |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pdsf    | < -65 mb       |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pdsf

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pdsf

- Enter q to quit this routine (qcheckall.m)

What is your choice:   q

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur02 Data File:  020814I

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

020814I - HP Time Period of Slow Tape Operation:

Starting Time --> 17:37:31 UTC

Ending Time   --> 20:26:20 UTC

Total time in seconds: 10130.0

Total time in minutes: 168.83

Total time in hours  : 2.81

OR, 2 hour(s), 48 minute(s), and 50 second(s)

-----------------------------------------------------

020814I - Contiguous Time Check on HP Time.

There are 10 contiguous time blocks on the slow tape.

Please confirm these numbers,

Record      1 - HP Time: 17:37:31 UTC

Record   3060 - HP Time: 18:28:30 UTC

Record   3061 - HP Time: 18:28:39 UTC

Record   3582 - HP Time: 18:37:20 UTC

Record   3583 - HP Time: 18:37:35 UTC

Record   4128 - HP Time: 18:46:40 UTC

Record   4129 - HP Time: 18:46:55 UTC

Record   4674 - HP Time: 18:56:00 UTC

Record   4675 - HP Time: 18:56:10 UTC

Record   4735 - HP Time: 18:57:10 UTC

Record   4736 - HP Time: 18:57:17 UTC

Record   4939 - HP Time: 19:00:40 UTC

Record   4940 - HP Time: 19:00:59 UTC

Record   5051 - HP Time: 19:02:50 UTC

Record   5052 - HP Time: 19:02:59 UTC

Record   7413 - HP Time: 19:42:20 UTC

Record   7414 - HP Time: 19:42:31 UTC

Record   7723 - HP Time: 19:47:40 UTC

Record   7724 - HP Time: 19:47:46 UTC

Record  10038 - HP Time: 20:26:20 UTC

HP Time Gap 1 : 9 Seconds

HP Time Gap 2 : 15 Seconds

HP Time Gap 3 : 15 Seconds

HP Time Gap 4 : 10 Seconds

HP Time Gap 5 : 7 Seconds

HP Time Gap 6 : 19 Seconds

HP Time Gap 7 : 9 Seconds

HP Time Gap 8 : 11 Seconds

HP Time Gap 9 : 6 Seconds

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpbuck

3. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-3 [1]:  2

Reference Dewpoint Sensor -----------> dpbuck

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N43RF AOC Empirical Adjustments  28-Aug-2002

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpbuck	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.26 mbar)	XXXXXX

Pressure      pqr     	(0.79 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.17701

(from N43RF)   	A2 = -0.0129067

A3 =  0.00190547

A4 = -0.000078284

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 13 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

z_offset_dpbuck   s_dpbuck_orig     s_ttf1_orig       s_trdprt5_orig

s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.39 m/s

There are 15 newly-calculated variables:

s_ah_buck  s_mr_buck   s_tad   s_theta     s_machd

s_rh_buck  s_tasdf     s_tvir  s_thetav    s_machh

s_sh_buck  s_tashf     s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE1: ---->	s_wndff1

PQF1 offset: z_offset_pqf1=1.26 mb for N43RF

No offset to heading on P343RF

No offset to ssaf on P343RF

Used s_ttf1

There are 10 newly-calculated variables 10038 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff1   s_wdff1   s_wlgff1   s_aaf     s_ssaf    a_aaf

s_wyff1   s_wsff1   s_wltff1   c_kaaf    c_kssaf   a_ssaf

s_wzff1   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_machd             s_trki1c

a_dpref             s_machh             s_trki2c

a_fldate            s_mmhp              s_truprt5

a_person            s_mohp              s_truprt5V

a_project           s_mr_buck           s_tsrdco2

a_ssaf              s_pcab              s_tsrdco2V

a_timeEND           s_pdaf              s_ttf1

a_timeSTART         s_pdar              s_ttf1_orig

a_ttref             s_pdsf              s_ttf2

c_baaf              s_pdsr              s_tth1V

c_bssaf             s_pitchi1           s_tth2V

c_kaaf              s_pitchi2           s_ttr

c_kssaf             s_pqaf              s_tvir

do_fastdata         s_pqaf_orig         s_vxg

s_aaf               s_pqf1              s_vxg_orig

s_ah_buck           s_pqf1_orig         s_vxi1

s_axbt1             s_pqf1c             s_vxi1c

s_axbt2             s_pqf2              s_vxi2

s_axbt3             s_pqf2_orig         s_vxi2c

s_azi1              s_pqr               s_vyg

s_azi2              s_pqr_orig          s_vyg_orig

s_dai1              s_pqsf              s_vyi1

s_dai1c             s_pqsf_orig         s_vyi1c

s_dai2              s_pqw               s_vyi2

s_dai2c             s_pqw_orig          s_vyi2c

s_ddhp              s_psf               s_vzg

s_dpaocf            s_psfc              s_vzi1

s_dpbuck            s_psw               s_vzi1_p3

s_dpbuck_orig       s_ptr               s_vzi1c

s_dpgef             s_rh_buck           s_vzi2

s_dw3bal            s_rolli1            s_vzi2_p3

s_fstape            s_rolli2            s_vzi2c

s_hdgi1             s_sfmrb3V           s_wdff1

s_hdgi1_orig        s_sfmrb4V           s_wlgff1

s_hdgi2             s_sfmrb5V           s_wltff1

s_hdgi2_orig        s_sfmrb6V           s_wsff1

s_hg                s_sfmrb7V           s_wxff1

s_hhhp              s_sfmrb8V           s_wyff1

s_hi1               s_sfmrt5V           s_wzff1

s_hi1_p3            s_sfmrt6V           s_yrhp

s_hi1c              s_sfmrt7V           z_acnum

s_hi2               s_sfmrt8V           z_blksndx

s_hi2_p3            s_sh_buck           z_blksutc

s_hi2c              s_ssaf              z_fstindx

s_hpalt_psfc        s_sshp              z_fstutc

s_hr159p            s_tad               z_gapsndx

s_hr159s            s_tad_f1            z_min_size

s_hr232             s_tad_f2            z_offset_dpbuck

s_klwcV             s_tad_r             z_offset_dpgef

s_latg              s_tasdf             z_offset_hdg

s_latg_orig         s_tashf             z_offset_pqf1

s_lati1             s_theta             z_offset_pqr

s_lati1c            s_thetae            z_offset_trdprt5

s_lati2             s_thetav            z_offset_ttf1

s_lati2c            s_timehp_run        z_offset_ttf2

s_longg             s_timehp_ymdhms     z_pqnd

s_longg_orig        s_timetc_01         z_pqst

s_longi1            s_timetp            z_srate

s_longi1c           s_tl                z_varnames

s_longi2            s_trdprt5

s_longi2c           s_trdprt5V

s_lwcjw             s_trdprt5_orig

Name                   Size         Bytes  Class

a_aaf                  1x152          304  char array

a_dpref                1x6             12  char array

a_fldate               1x10            20  char array

a_person               1x6             12  char array

a_project              1x5             10  char array

a_ssaf                 1x150          300  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              10038x1          80304  double array

s_ah_buck          10038x1          80304  double array

s_axbt1            10038x1          80304  double array

s_axbt2            10038x1          80304  double array

s_axbt3            10038x1          80304  double array

s_azi1             10038x1          80304  double array

s_azi2             10038x1          80304  double array

s_dai1             10038x1          80304  double array

s_dai1c            10038x1          80304  double array

s_dai2             10038x1          80304  double array

s_dai2c            10038x1          80304  double array

s_ddhp             10038x1          80304  double array

s_dpaocf           10038x1          80304  double array

s_dpbuck           10038x1          80304  double array

s_dpbuck_orig      10038x1          80304  double array

s_dpgef            10038x1          80304  double array

s_dw3bal           10038x1          80304  double array

s_fstape           10038x1          80304  double array

s_hdgi1            10038x1          80304  double array

s_hdgi1_orig       10038x1          80304  double array

s_hdgi2            10038x1          80304  double array

s_hdgi2_orig       10038x1          80304  double array

s_hg               10038x1          80304  double array

s_hhhp             10038x1          80304  double array

s_hi1              10038x1          80304  double array

s_hi1_p3           10038x1          80304  double array

s_hi1c             10038x1          80304  double array

s_hi2              10038x1          80304  double array

s_hi2_p3           10038x1          80304  double array

s_hi2c             10038x1          80304  double array

s_hpalt_psfc       10038x1          80304  double array

s_hr159p           10038x1          80304  double array

s_hr159s           10038x1          80304  double array

s_hr232            10038x1          80304  double array

s_klwcV            10038x1          80304  double array

s_latg             10038x1          80304  double array

s_latg_orig        10038x1          80304  double array

s_lati1            10038x1          80304  double array

s_lati1c           10038x1          80304  double array

s_lati2            10038x1          80304  double array

s_lati2c           10038x1          80304  double array

s_longg            10038x1          80304  double array

s_longg_orig       10038x1          80304  double array

s_longi1           10038x1          80304  double array

s_longi1c          10038x1          80304  double array

s_longi2           10038x1          80304  double array

s_longi2c          10038x1          80304  double array

s_lwcjw            10038x1          80304  double array

s_machd            10038x1          80304  double array

s_machh            10038x1          80304  double array

s_mmhp             10038x1          80304  double array

s_mohp             10038x1          80304  double array

s_mr_buck          10038x1          80304  double array

s_pcab             10038x1          80304  double array

s_pdaf             10038x1          80304  double array

s_pdar             10038x1          80304  double array

s_pdsf             10038x1          80304  double array

s_pdsr             10038x1          80304  double array

s_pitchi1          10038x1          80304  double array

s_pitchi2          10038x1          80304  double array

s_pqaf             10038x1          80304  double array

s_pqaf_orig        10038x1          80304  double array

s_pqf1             10038x1          80304  double array

s_pqf1_orig        10038x1          80304  double array

s_pqf1c            10038x1          80304  double array

s_pqf2             10038x1          80304  double array

s_pqf2_orig        10038x1          80304  double array

s_pqr              10038x1          80304  double array

s_pqr_orig         10038x1          80304  double array

s_pqsf             10038x1          80304  double array

s_pqsf_orig        10038x1          80304  double array

s_pqw              10038x1          80304  double array

s_pqw_orig         10038x1          80304  double array

s_psf              10038x1          80304  double array

s_psfc             10038x1          80304  double array

s_psw              10038x1          80304  double array

s_ptr              10038x1          80304  double array

s_rh_buck          10038x1          80304  double array

s_rolli1           10038x1          80304  double array

s_rolli2           10038x1          80304  double array

s_sfmrb3V          10038x1          80304  double array

s_sfmrb4V          10038x1          80304  double array

s_sfmrb5V          10038x1          80304  double array

s_sfmrb6V          10038x1          80304  double array

s_sfmrb7V          10038x1          80304  double array

s_sfmrb8V          10038x1          80304  double array

s_sfmrt5V          10038x1          80304  double array

s_sfmrt6V          10038x1          80304  double array

s_sfmrt7V          10038x1          80304  double array

s_sfmrt8V          10038x1          80304  double array

s_sh_buck          10038x1          80304  double array

s_ssaf             10038x1          80304  double array

s_sshp             10038x1          80304  double array

s_tad              10038x1          80304  double array

s_tad_f1           10038x1          80304  double array

s_tad_f2           10038x1          80304  double array

s_tad_r            10038x1          80304  double array

s_tasdf            10038x1          80304  double array

s_tashf            10038x1          80304  double array

s_theta            10038x1          80304  double array

s_thetae           10038x1          80304  double array

s_thetav           10038x1          80304  double array

s_timehp_run       10038x1          80304  double array

s_timehp_ymdhms    10038x6         481824  double array

s_timetc_01        10038x1          80304  double array

s_timetp           10038x1          80304  double array

s_tl               10038x1          80304  double array

s_trdprt5          10038x1          80304  double array

s_trdprt5V         10038x1          80304  double array

s_trdprt5_orig     10038x1          80304  double array

s_trki1c           10038x1          80304  double array

s_trki2c           10038x1          80304  double array

s_truprt5          10038x1          80304  double array

s_truprt5V         10038x1          80304  double array

s_tsrdco2          10038x1          80304  double array

s_tsrdco2V         10038x1          80304  double array

s_ttf1             10038x1          80304  double array

s_ttf1_orig        10038x1          80304  double array

s_ttf2             10038x1          80304  double array

s_tth1V            10038x1          80304  double array

s_tth2V            10038x1          80304  double array

s_ttr              10038x1          80304  double array

s_tvir             10038x1          80304  double array

s_vxg              10038x1          80304  double array

s_vxg_orig         10038x1          80304  double array

s_vxi1             10038x1          80304  double array

s_vxi1c            10038x1          80304  double array

s_vxi2             10038x1          80304  double array

s_vxi2c            10038x1          80304  double array

s_vyg              10038x1          80304  double array

s_vyg_orig         10038x1          80304  double array

s_vyi1             10038x1          80304  double array

s_vyi1c            10038x1          80304  double array

s_vyi2             10038x1          80304  double array

s_vyi2c            10038x1          80304  double array

s_vzg              10038x1          80304  double array

s_vzi1             10038x1          80304  double array

s_vzi1_p3          10038x1          80304  double array

s_vzi1c            10038x1          80304  double array

s_vzi2             10038x1          80304  double array

s_vzi2_p3          10038x1          80304  double array

s_vzi2c            10038x1          80304  double array

s_wdff1            10038x1          80304  double array

s_wlgff1           10038x1          80304  double array

s_wltff1           10038x1          80304  double array

s_wsff1            10038x1          80304  double array

s_wxff1            10038x1          80304  double array

s_wyff1            10038x1          80304  double array

s_wzff1            10038x1          80304  double array

s_yrhp             10038x1          80304  double array

z_acnum                1x1              8  double array

z_blksndx             10x2            160  double array

z_blksutc             10x6            480  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_gapsndx              9x1             72  double array

z_min_size             1x1              8  double array

z_offset_dpbuck        1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            81x8           1296  char array

Grand total is 1557023 elements using 12450034 bytes

Pre-processing is complete...have a nice day.

(total processing time of 1.11 minutes)

Saving: /acdata/hur02/data_mat/020814Is_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 020814I in netCDF Format? [yN]: y