*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  28-Oct-2002

Data Processor :  barryd

Diary File     :  /acdata/hur02/docs_proc/021003Is_P.doc

Total Number of Records: 27380

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500 11000 11500 12000 12500 13000 13500 14000 14500 15000 15500 16000 16500 17000 17500 18000 18500 19000 19500 20000 20500 21000 21500 22000 22500 23000 23500 24000 24500 25000 25500 26000 26500 27000 27500

==============================================================================

N43RF ADC Channel Assignments for 021003

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W          N43RF Hur02 9/12/02

01      ttf1    	Rosemount Total Temp #1 FWD     SN 31416/amp #11 cal date 0711002

02      ttf2    	Rosemount Total Temp #2 AFT     SN A7775/amp #152 cal date 071102

03      dpgef    	General Eastern Dewpoint   SN 1201/ sn 52723/93602 cal date 071102

04      pdaf    	Attack Pressure Fuselage	  SN 877 CAL DATE 071102

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 842 CAL DATE 071102

06      pdsf    	Sideslip Pressure Fuselage   	  SN 878 CAL DATE 071102

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 861 CAL DATE 071102

08      psw    	Static Pressure Wingtip           SN 163 CAL DATE 071102

09      pqw    	Dynamic Pressure Wingtip          SN 163 CAL DATE 071102

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 588 CAL DATE 071102

11

12      tsrdco2    	Radiometric Air Temp (Side)       SN 642 CAL DATE 111901

13

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 2317 CAL DATE 071102

17      pdsr    	Sideslip Pressure Radome 	  SN 879 CAL DATE 071102

18      pqr    	Dynamic Pressure Radome  	  SN 286 CAL DATE 071102

19      ptr    	Total Pressure Radome 		  SN 260 CAL DATE 071102

20      ttr    	Total temp #3 Rosemount A29935 / amp #155  cal data 082102

21

22

23

24      dpaocf    	ET Dewpoint Fuselage 	EdgeTech 137X  018267 w/1604 CAL DATE  091202

25

26      lyman    	Lyman Alpha Hygrometer

27      dpbuck    	BK Dewpoint Fuselage Buck Research 1011C w/ 1011B 316-P w/ 93002 cal date 071102

28      dw3bal    	DW3 Balance

29

30

31      klwc    	King Liquid Water

32      psf    	Static Pressure	Fuselage	  SN 161 CAL DATE 071102

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 161 CAL DATE 071102

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 862 CAL DATE 071102

35      tth1    	total temp #1 heater current

36      tth2    	total temp #2 heater current

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Vaisala  PTB 220 sn W3120002 cal date 083001

48      axbt1    	AXBT Channel 1

49      axbt2    	AXBT Channel 2

50      axbt3    	AXBT Channel 3

51

52

53

54

55

56

57

58

59

60

61

62

63      truprt5    	Up PRT-5 Radiometer           Barnes Up-Looking Radiometer 588 cal date 111901

64      sfmrb3    	sfmr brightness B3 4.55GHz

65      sfmrb5    	sfmr brightness B5 5.64GHz

66      sfmrb7    	sfmr brightness B7 6.96GHz

67      sfmrb8    	sfmr brightness B8 7.22GHz

68      sfmrb6    	sfmr brightness B6 6.34GHz

69      sfmrb4    	sfmr brightness B4 5.06GHz

70      sfmrt8    	sfmr temp T8 rcvr noise

71      sfmrt7    	sfmr temp T7 rcvr ref load

72      sfmrt6    	sfmr temp T6 antenna left

73      sfmrt5    	sfmr temp T5 antenna right

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  2.14 minutes

No problems detected on yrhp or mohp or ddhp for 021003I_s

NO time DROPOUT (i.e., No dt<0) found in  021003I_s

NO REDUNDANT time (i.e., No dt==0) found in  021003I_s

There are TIME GAPS at these sample numbers:

18661

18691

18701

Here are the contiguous blocks:

BLOCKS 	      SAMPLES		       UTC

01	    00001-18660		12:50:11-18:01:10

02	    18661-18690		18:02:01-18:02:30

03	    18691-18700		18:02:41-18:02:50

04	    18701-27380		18:05:11-20:29:50

Checking data CONTNUITY around time gap at 18661

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

18658	064868   03   18   01   08	 581.29	15.75	73.74

18659	064869   03   18   01   09	 581.44	15.66	73.44

18660	064870   03   18   01   10	 581.53	15.62	72.61

18661	064921   03   18   02   01	 581.12	14.42	77.00

18662	064922   03   18   02   02	 581.05	14.31	77.74

18663	064923   03   18   02   03	 580.88	14.13	77.40

18664	064924   03   18   02   04	 580.68	14.00	76.96

Do you want to correct data affected by gap? y/n [y]:   n

Checking data CONTNUITY around time gap at 18691

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

18688	064948   03   18   02   28	 580.53	13.77	78.09

18689	064949   03   18   02   29	 580.58	13.83	78.16

18690	064950   03   18   02   30	 580.58	13.89	77.96

18691	064961   03   18   02   41	 581.19	14.30	79.05

18692	064962   03   18   02   42	 581.27	14.34	79.35

18693	064963   03   18   02   43	 581.31	14.43	79.40

18694	064964   03   18   02   44	 581.36	14.42	79.11

Do you want to correct data affected by gap? y/n [y]:   n

Checking data CONTNUITY around time gap at 18701

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

18698	064968   03   18   02   48	 581.41	14.55	79.76

18699	064969   03   18   02   49	 581.36	14.55	79.97

18700	064970   03   18   02   50	 581.36	14.52	80.35

18701	065111   03   18   05   11	 580.95	15.34	70.97

18702	065112   03   18   05   12	 580.92	15.46	70.90

18703	065113   03   18   05   13	 580.90	15.52	71.16

18704	065114   03   18   05   14	 580.88	15.50	71.45

Do you want to correct data affected by gap? y/n [y]:   n

Final contiguous blocks saved in ----> z_blksndx & z_blksutc:

BLOCKS 	      SAMPLES		       UTC

01	    00001-18660		12:50:11-18:01:10

02	    18661-18690		18:02:01-18:02:30

03	    18691-18700		18:02:41-18:02:50

04	    18701-27380		18:05:11-20:29:50

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  [13 02 00 20 21 00]

There is no: dpegg

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 724

Dynamic pressure values set to 35.0 mb for sample numbers above: 26534

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 724

Dynamic pressure values set to 35.0 mb for sample numbers above: 26535

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 724

Dynamic pressure values set to 35.0 mb for sample numbers above: 26540

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 718

Dynamic pressure values set to 35.0 mb for sample numbers above: 26723

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 719

Dynamic pressure values set to 35.0 mb for sample numbers above: 26653

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 719

Dynamic pressure values set to 35.0 mb for sample numbers above: 26649

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:   724

z_pqnd: 26534

dpegg   :	variable DOES NOT EXIST in workspace.

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dpbuck  	dw3bal

hhhp    	hr159p  	klwcV

lwcjw   	lymanV  	mmhp

mohp    	pcab    	sfmrb3V

sfmrb4V 	sfmrb5V 	sfmrb6V

sfmrb7V 	sfmrb8V 	sfmrt5V

sfmrt6V 	sfmrt7V 	sfmrt8V

sshp    	trdprt5V	truprt5

truprt5V	tsrdco2 	tsrdco2V

tth1V   	tth2V   	yrhp

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 021003Is		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     |                |                |                   |  YES  |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                |                |                   |  YES  |

|pdaf    |                |                |                   |  YES  |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     | < 0 m          |                |                   |  NO   |

|hi2     | < 0 m          |                |                   |  NO   |

|hg      |                |                | > 50 m/s          |  NO   |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                | > 0.005 deg/s     |  NO   |

|lati2   |                |                | > 0.005 deg/s     |  NO   |

|latg    |                |                | > 0.005 deg/s     |  NO   |

|longi1  |                |                | > 0.005 deg/s     |  NO   |

|longi2  |                |                | > 0.005 deg/s     |  NO   |

|longg   |                |                | > 0.005 deg/s     |  NO   |

|vxi1    |                |                | > 8 m/s/s         |  NO   |

|vxi2    |                |                | > 8 m/s/s         |  NO   |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                | > 8 m/s/s         |  NO   |

|vyi2    |                |                | > 8 m/s/s         |  NO   |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    |                |                |                   |  YES  |

|vzi2    |                |                |                   |  YES  |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                |                   |  YES  |

|ttf2    |                |                |                   |  YES  |

|ttr     | < -55 C        |                | > 5 C/s           |  NO   |

|dpegg   | variable       | does           | not               | exist |

|dpgef   |                |                |                   |  YES  |

|dpaocf  |                |                |                   |  YES  |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|psf     |                |                | > 0.5 mb/s        |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	psf

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of psf

- Enter q to quit this routine (qcheckall.m)

What is your choice:   q

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing hur02 Data File:  021003I

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

021003I - HP Time Period of Slow Tape Operation:

Starting Time --> 12:50:11 UTC

Ending Time   --> 20:29:50 UTC

Total time in seconds: 27580.0

Total time in minutes: 459.67

Total time in hours  : 7.66

OR, 7 hour(s), 39 minute(s), and 40 second(s)

-----------------------------------------------------

021003I - Contiguous Time Check on HP Time.

There are 4 contiguous time blocks on the slow tape.

Please confirm these numbers,

Record      1 - HP Time: 12:50:11 UTC

Record  18660 - HP Time: 18:01:10 UTC

Record  18661 - HP Time: 18:02:01 UTC

Record  18690 - HP Time: 18:02:30 UTC

Record  18691 - HP Time: 18:02:41 UTC

Record  18700 - HP Time: 18:02:50 UTC

Record  18701 - HP Time: 18:05:11 UTC

Record  27380 - HP Time: 20:29:50 UTC

HP Time Gap 1 : 51 Seconds

HP Time Gap 2 : 11 Seconds

HP Time Gap 3 : 141 Seconds

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpbuck

3. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-3 [1]:  2

Reference Dewpoint Sensor -----------> dpbuck

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N43RF AOC Empirical Adjustments  28-Oct-2002

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpbuck	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.26 mbar)	XXXXXX

Pressure      pqr     	(0.79 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.17701

(from N43RF)   	A2 = -0.0129067

A3 =  0.00190547

A4 = -0.000078284

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 13 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

z_offset_dpbuck   s_dpbuck_orig     s_ttf1_orig       s_trdprt5_orig

s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.40 m/s

There are 15 newly-calculated variables:

s_ah_buck  s_mr_buck   s_tad   s_theta     s_machd

s_rh_buck  s_tasdf     s_tvir  s_thetav    s_machh

s_sh_buck  s_tashf     s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE1: ---->	s_wndff1

PQF1 offset: z_offset_pqf1=1.26 mb for N43RF

No offset to heading on P343RF

No offset to ssaf on P343RF

Used s_ttf1

There are 10 newly-calculated variables 27380 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff1   s_wdff1   s_wlgff1   s_aaf     s_ssaf    a_aaf

s_wyff1   s_wsff1   s_wltff1   c_kaaf    c_kssaf   a_ssaf

s_wzff1   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_lymanV            s_trdprt5_orig

a_dpref             s_machd             s_trki1c

a_fldate            s_machh             s_trki2c

a_person            s_mmhp              s_truprt5

a_project           s_mohp              s_truprt5V

a_ssaf              s_mr_buck           s_tsrdco2

a_timeEND           s_pcab              s_tsrdco2V

a_timeSTART         s_pdaf              s_ttf1

a_ttref             s_pdar              s_ttf1_orig

c_baaf              s_pdsf              s_ttf2

c_bssaf             s_pdsr              s_tth1V

c_kaaf              s_pitchi1           s_tth2V

c_kssaf             s_pitchi2           s_ttr

do_fastdata         s_pqaf              s_tvir

s_aaf               s_pqaf_orig         s_vxg

s_ah_buck           s_pqf1              s_vxg_orig

s_axbt1             s_pqf1_orig         s_vxi1

s_axbt2             s_pqf1c             s_vxi1c

s_axbt3             s_pqf2              s_vxi2

s_azi1              s_pqf2_orig         s_vxi2c

s_azi2              s_pqr               s_vyg

s_dai1              s_pqr_orig          s_vyg_orig

s_dai1c             s_pqsf              s_vyi1

s_dai2              s_pqsf_orig         s_vyi1c

s_dai2c             s_pqw               s_vyi2

s_ddhp              s_pqw_orig          s_vyi2c

s_dpaocf            s_psf               s_vzg

s_dpbuck            s_psfc              s_vzi1

s_dpbuck_orig       s_psw               s_vzi1_p3

s_dpgef             s_ptr               s_vzi1c

s_dw3bal            s_rh_buck           s_vzi2

s_fstape            s_rolli1            s_vzi2_p3

s_hdgi1             s_rolli2            s_vzi2c

s_hdgi1_orig        s_sfmrb3V           s_wdff1

s_hdgi2             s_sfmrb4V           s_wlgff1

s_hdgi2_orig        s_sfmrb5V           s_wltff1

s_hg                s_sfmrb6V           s_wsff1

s_hhhp              s_sfmrb7V           s_wxff1

s_hi1               s_sfmrb8V           s_wyff1

s_hi1_p3            s_sfmrt5V           s_wzff1

s_hi1c              s_sfmrt6V           s_yrhp

s_hi2               s_sfmrt7V           z_acnum

s_hi2_p3            s_sfmrt8V           z_blksndx

s_hi2c              s_sh_buck           z_blksutc

s_hpalt_psfc        s_ssaf              z_fstindx

s_hr159p            s_sshp              z_fstutc

s_hr159s            s_tad               z_gapsndx

s_hr232             s_tad_f1            z_min_size

s_klwcV             s_tad_f2            z_offset_dpbuck

s_latg              s_tad_r             z_offset_dpgef

s_latg_orig         s_tasdf             z_offset_hdg

s_lati1             s_tashf             z_offset_pqf1

s_lati1c            s_theta             z_offset_pqr

s_lati2             s_thetae            z_offset_trdprt5

s_lati2c            s_thetav            z_offset_ttf1

s_longg             s_timehp_run        z_offset_ttf2

s_longg_orig        s_timehp_ymdhms     z_pqnd

s_longi1            s_timetc_01         z_pqst

s_longi1c           s_timetp            z_srate

s_longi2            s_tl                z_varnames

s_longi2c           s_trdprt5

s_lwcjw             s_trdprt5V

Name                   Size         Bytes  Class

a_aaf                  1x152          304  char array

a_dpref                1x6             12  char array

a_fldate               1x10            20  char array

a_person               1x6             12  char array

a_project              1x5             10  char array

a_ssaf                 1x150          300  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              27380x1         219040  double array

s_ah_buck          27380x1         219040  double array

s_axbt1            27380x1         219040  double array

s_axbt2            27380x1         219040  double array

s_axbt3            27380x1         219040  double array

s_azi1             27380x1         219040  double array

s_azi2             27380x1         219040  double array

s_dai1             27380x1         219040  double array

s_dai1c            27380x1         219040  double array

s_dai2             27380x1         219040  double array

s_dai2c            27380x1         219040  double array

s_ddhp             27380x1         219040  double array

s_dpaocf           27380x1         219040  double array

s_dpbuck           27380x1         219040  double array

s_dpbuck_orig      27380x1         219040  double array

s_dpgef            27380x1         219040  double array

s_dw3bal           27380x1         219040  double array

s_fstape           27380x1         219040  double array

s_hdgi1            27380x1         219040  double array

s_hdgi1_orig       27380x1         219040  double array

s_hdgi2            27380x1         219040  double array

s_hdgi2_orig       27380x1         219040  double array

s_hg               27380x1         219040  double array

s_hhhp             27380x1         219040  double array

s_hi1              27380x1         219040  double array

s_hi1_p3           27380x1         219040  double array

s_hi1c             27380x1         219040  double array

s_hi2              27380x1         219040  double array

s_hi2_p3           27380x1         219040  double array

s_hi2c             27380x1         219040  double array

s_hpalt_psfc       27380x1         219040  double array

s_hr159p           27380x1         219040  double array

s_hr159s           27380x1         219040  double array

s_hr232            27380x1         219040  double array

s_klwcV            27380x1         219040  double array

s_latg             27380x1         219040  double array

s_latg_orig        27380x1         219040  double array

s_lati1            27380x1         219040  double array

s_lati1c           27380x1         219040  double array

s_lati2            27380x1         219040  double array

s_lati2c           27380x1         219040  double array

s_longg            27380x1         219040  double array

s_longg_orig       27380x1         219040  double array

s_longi1           27380x1         219040  double array

s_longi1c          27380x1         219040  double array

s_longi2           27380x1         219040  double array

s_longi2c          27380x1         219040  double array

s_lwcjw            27380x1         219040  double array

s_lymanV           27380x1         219040  double array

s_machd            27380x1         219040  double array

s_machh            27380x1         219040  double array

s_mmhp             27380x1         219040  double array

s_mohp             27380x1         219040  double array

s_mr_buck          27380x1         219040  double array

s_pcab             27380x1         219040  double array

s_pdaf             27380x1         219040  double array

s_pdar             27380x1         219040  double array

s_pdsf             27380x1         219040  double array

s_pdsr             27380x1         219040  double array

s_pitchi1          27380x1         219040  double array

s_pitchi2          27380x1         219040  double array

s_pqaf             27380x1         219040  double array

s_pqaf_orig        27380x1         219040  double array

s_pqf1             27380x1         219040  double array

s_pqf1_orig        27380x1         219040  double array

s_pqf1c            27380x1         219040  double array

s_pqf2             27380x1         219040  double array

s_pqf2_orig        27380x1         219040  double array

s_pqr              27380x1         219040  double array

s_pqr_orig         27380x1         219040  double array

s_pqsf             27380x1         219040  double array

s_pqsf_orig        27380x1         219040  double array

s_pqw              27380x1         219040  double array

s_pqw_orig         27380x1         219040  double array

s_psf              27380x1         219040  double array

s_psfc             27380x1         219040  double array

s_psw              27380x1         219040  double array

s_ptr              27380x1         219040  double array

s_rh_buck          27380x1         219040  double array

s_rolli1           27380x1         219040  double array

s_rolli2           27380x1         219040  double array

s_sfmrb3V          27380x1         219040  double array

s_sfmrb4V          27380x1         219040  double array

s_sfmrb5V          27380x1         219040  double array

s_sfmrb6V          27380x1         219040  double array

s_sfmrb7V          27380x1         219040  double array

s_sfmrb8V          27380x1         219040  double array

s_sfmrt5V          27380x1         219040  double array

s_sfmrt6V          27380x1         219040  double array

s_sfmrt7V          27380x1         219040  double array

s_sfmrt8V          27380x1         219040  double array

s_sh_buck          27380x1         219040  double array

s_ssaf             27380x1         219040  double array

s_sshp             27380x1         219040  double array

s_tad              27380x1         219040  double array

s_tad_f1           27380x1         219040  double array

s_tad_f2           27380x1         219040  double array

s_tad_r            27380x1         219040  double array

s_tasdf            27380x1         219040  double array

s_tashf            27380x1         219040  double array

s_theta            27380x1         219040  double array

s_thetae           27380x1         219040  double array

s_thetav           27380x1         219040  double array

s_timehp_run       27380x1         219040  double array

s_timehp_ymdhms    27380x6        1314240  double array

s_timetc_01        27380x1         219040  double array

s_timetp           27380x1         219040  double array

s_tl               27380x1         219040  double array

s_trdprt5          27380x1         219040  double array

s_trdprt5V         27380x1         219040  double array

s_trdprt5_orig     27380x1         219040  double array

s_trki1c           27380x1         219040  double array

s_trki2c           27380x1         219040  double array

s_truprt5          27380x1         219040  double array

s_truprt5V         27380x1         219040  double array

s_tsrdco2          27380x1         219040  double array

s_tsrdco2V         27380x1         219040  double array

s_ttf1             27380x1         219040  double array

s_ttf1_orig        27380x1         219040  double array

s_ttf2             27380x1         219040  double array

s_tth1V            27380x1         219040  double array

s_tth2V            27380x1         219040  double array

s_ttr              27380x1         219040  double array

s_tvir             27380x1         219040  double array

s_vxg              27380x1         219040  double array

s_vxg_orig         27380x1         219040  double array

s_vxi1             27380x1         219040  double array

s_vxi1c            27380x1         219040  double array

s_vxi2             27380x1         219040  double array

s_vxi2c            27380x1         219040  double array

s_vyg              27380x1         219040  double array

s_vyg_orig         27380x1         219040  double array

s_vyi1             27380x1         219040  double array

s_vyi1c            27380x1         219040  double array

s_vyi2             27380x1         219040  double array

s_vyi2c            27380x1         219040  double array

s_vzg              27380x1         219040  double array

s_vzi1             27380x1         219040  double array

s_vzi1_p3          27380x1         219040  double array

s_vzi1c            27380x1         219040  double array

s_vzi2             27380x1         219040  double array

s_vzi2_p3          27380x1         219040  double array

s_vzi2c            27380x1         219040  double array

s_wdff1            27380x1         219040  double array

s_wlgff1           27380x1         219040  double array

s_wltff1           27380x1         219040  double array

s_wsff1            27380x1         219040  double array

s_wxff1            27380x1         219040  double array

s_wyff1            27380x1         219040  double array

s_wzff1            27380x1         219040  double array

s_yrhp             27380x1         219040  double array

z_acnum                1x1              8  double array

z_blksndx              4x2             64  double array

z_blksutc              4x6            192  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_gapsndx              3x1             24  double array

z_min_size             1x1              8  double array

z_offset_dpbuck        1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            82x8           1312  char array

Grand total is 4272367 elements using 34172738 bytes

Pre-processing is complete...have a nice day.

(total processing time of 2.99 minutes)

Saving: /acdata/hur02/data_mat/021003Is_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 021003I in netCDF Format? [yN]: y