*----*----*----*----*----*----*----*----*----*----*----*----*----*

Processing Date:  08-Feb-2001

Data Processor :  barryd

Diary File     :  /acdata/pacjet/docs_proc/980223Hs_P.doc

Total Number of Records: 18620

Reading Records:   500  1000  1500  2000  2500  3000  3500  4000  4500  5000  5500  6000  6500  7000  7500  8000  8500  9000  9500 10000 10500 11000 11500 12000 12500 13000 13500 14000 14500 15000 15500 16000 16500 17000 17500 18000 18500 19000

==============================================================================

N42RF ADC Channel Assignments for 980223

ADC

Channel	 Variable	Instrument Description

00      lwcjw    	Liquid Water Content J-W -   N42RF ABD CALJET 1998 after 2/22

01      ttf1    	Rosemount Total Temp #1 FWD     SN A7775/amp #152 CAL DATE 980115

02      ttf2    	Rosemount Total Temp #2 AFT     SN 58172/amp #12 cal date 980115

03      dpgef    	General Eastern Dewpoint   SN 1201/1011B sn 52724/93602 cal date 980115

04      pdaf    	Attack Pressure Fuselage	  SN 823 CAL DATE 980115

05      pqaf    	Dynamic Attack Pressure Fuselage  SN 832 CAL DATE 980115

06      pdsf    	Sideslip Pressure Fuselage   	  SN 844 CAL DATE 980115

07      pqsf    	Dynamic Sideslip Pressure Fus     SN 833 CAL DATE 980115

08      psw    	Static Pressure Wingtip           SN 164 CAL DATE 980115

09      pqw    	Dynamic Pressure Wingtip          SN 164 CAL DATE 980115

10      trdprt5    	Surface PRT-5 Radiometer  L.Fus	  SN 589 CAL DATE 980112

11      tsrdwin    	Side Rad. Window Temp.

12      tsrdco2    	Radiometric Air Temp (Side)       SN 650 CAL DATE 980115

13      irs    	Ice Rate Sensor

14      azi2    	Vertical Acceleration - INE 2

15      azi1    	Vertical Acceleration - INE 1

16      pdar       	Attack Pressure Radome	          SN 845 CAL DATE 980112

17      pdsr    	Sideslip Pressure Radome 	  SN 284 CAL DATE 980112

18      pqr    	Dynamic Pressure Radome  	  SN 658 CAL DATE 980115

19      ptr    	Total Pressure Radome 		  SN 227 CAL DATE 980115

20      ttr    	Total Temp #3

21      tmp4    	Total Temp #4

22

23

24      dpaocf    	AOC Dewpoint Fuselage 	EdgeTech 137X 18267/1684   CAL DATE 970611

25      dp2bal    	DW2 balance

26      lyman    	AIR Lyman Hygrometer

27      dpegg    	DW3 EG&G              EG&G 137 392/901

28

29

30

31      klwc    	King Liquid Water Voltage

32      psf    	Static Pressure	Fuselage	  SN 165 CAL DATE 980115

33      pqf1    	Dynamic Pressure #1 Fuselage 	  SN 165 CAL DATE 980115

34      pqf2    	Dynamic Pressure #2 Fuselage	  SN 286 CAL DATE 980115

35

36

37

38

39

40

41

42

43

44

45

46

47      pcab    	Cabin Pressure Rmnt 1201FA   sn 177 cal date 082300

48      axbt1    	AXBT Channel #1

49      axbt2    	AXBT Channel #2

50      axbt3    	AXBT Channel #3

51      upyel    	Up pyranometer 1 yellow

52      upred    	Up pyranometer 2 red

53      upclr    	Up pyranometer 3 clear

54      uppyrg    	UP pyrgeometer

55      upcase    	Up pyrgeometer case temp

56      updome    	Up pyrgeometer dome temp

57      dnyel    	down pyranometer 1 yellow

58      dnred    	down pyranometer 2 red

59      dnclr    	down pyranometer 3 clear

60      dnpyrg    	Down pyrgeometer

61      dncase    	Down pyrgeometer case temp

62      dndome    	Down pyrgeometer dome temp

63      tupprt5    	Up-Looking PRT-5 Radiometer  648 cal date 980112

64

65

66

67

68

69

70

71

72

73

74

75

76

77

78

79

==============================================================================

Time for reading, saving data:  2.06 minutes

No problems detected on yrhp or mohp or ddhp for 980223H_s

NO time DROPOUT (i.e., No dt<0) found in  980223H_s

NO REDUNDANT time (i.e., No dt==0) found in  980223H_s

There is a TIME GAP at this sample number:

71

Here are the contiguous blocks:

BLOCKS 	      SAMPLES		       UTC

01	    00001-00070		15:50:31-15:51:40

02	    00071-18620		15:52:11-21:01:20

Checking data CONTNUITY around time gap at 71

samples	tptime  ddhp hhhp mmhp sshp	 psf	ttf1	pqf1

00068	057098   23   15   51   38	 996.22	11.74	 0.14

00069	057099   23   15   51   39	 996.22	11.74	 0.14

00070	057100   23   15   51   40	 996.22	11.74	 0.12

00071	057131   23   15   52   11	 996.27	11.84	 0.07

00072	057132   23   15   52   12	 996.22	11.85	 0.06

00073	057133   23   15   52   13	 996.27	11.85	 0.01

00074	057134   23   15   52   14	 996.30	11.85	 0.06

Do you want to correct data affected by gap? y/n [y]:   n

Final contiguous blocks saved in ----> z_blksndx & z_blksutc:

BLOCKS 	      SAMPLES		       UTC

01	    00001-00070		15:50:31-15:51:40

02	    00071-18620		15:52:11-21:01:20

View Figures of Raw Data? [yN]: y

Input UTC Range for Raw Data Plots (hit RETURN for entire flight)

Format (include [ ]): [hh mm ss hh mm ss] ------>  [16 03 00 21 01 00]

Save Figures as a PostScript File? [yN]: n

If OK, type ANY Key to Continue (note: This closes all figure windows)

********************************************************************************

Substituting dynamic pressure values < 35.0 mb at takeoff and landing with 35.0 mb.

********************************************************************************

Checking pqf1

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 757

Dynamic pressure values set to 35.0 mb for sample numbers above: 18198

Checking pqf2

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 757

Dynamic pressure values set to 35.0 mb for sample numbers above: 18198

Checking pqr

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 757

Dynamic pressure values set to 35.0 mb for sample numbers above: 18198

***WARNING THIS DYNAMIC PRESSURE HAS VALUES THAT ARE TOO LOW (<15 mb)

OUTSIDE OF THE TAKEOFF AND LANDING PERIODS

IF THIS IS PART OF SPECIAL "STALL MANEUVERS" YOU MAY PROCEED,

ELSE, YOU SHOULD LOOK MORE CLOSELY AT THIS DYN. PRESSURE.

Type CTRL<C> to STOP the process or HIT ANY key to CONTINUE:

Checking pqsf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 754

Dynamic pressure values set to 35.0 mb for sample numbers above: 18387

Checking pqaf

-------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 755

Dynamic pressure values set to 35.0 mb for sample numbers above: 18201

Checking pqw

------------

Dynamic pressure values set to 35.0 mb for sample numbers below: 755

Dynamic pressure values set to 35.0 mb for sample numbers above: 18280

The cutoff index numbers for pressures > 35.0 mb are: z_pqst:   757

z_pqnd: 18198

The quality control routines will NOT be ran on these variables:

axbt1   	axbt2   	axbt3

ddhp    	dncaseV 	dnclrV

dndomeV 	dnpyrgV 	dnredV

dnyelV  	dp2balV 	hhhp

hr159p  	irsV    	klwcV

lwcjw   	lymanV  	mmhp

mohp    	pcab    	sshp

tmp4    	trdprt5V	tsrdco2

tsrdco2V	tsrdwinV	tupprt5

tupprt5V	upcaseV 	upclrV

updomeV 	uppyrgV 	upredV

upyelV  		upyelV

------------------------------------------------------------------------

|		  DATA QUALITY CHECKS FOR 980223Hs		       |

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                |                   |  NO   |

|pqw     |                |                |                   |  YES  |

|pqf1    |                |                |                   |  YES  |

|pqf2    |                |                |                   |  YES  |

|pqaf    |                |                |                   |  YES  |

|pqsf    |                |                |                   |  YES  |

|pdar    |                |                | > 25 mb/s         |  NO   |

|pdaf    |                |                | > 40 mb/s         |  NO   |

|pdsr    |                |                |                   |  YES  |

|pdsf    |                |                |                   |  YES  |

|psf     |                |                | > 0.5 mb/s        |  NO   |

|psw     |                |                |                   |  YES  |

|ptr     |                |                |                   |  YES  |

|hr159s  |                |                | > 50 m/s          |  NO   |

|hr232   |                |                | > 50 m/s          |  NO   |

|hi1     |                |                | > 50 m/s          |  NO   |

|hi2     |                |                | > 50 m/s          |  NO   |

|hg      |                |                |                   |  YES  |

|hdgi1   |                |                |                   |  YES  |

|hdgi2   |                |                |                   |  YES  |

|pitchi1 |                |                |                   |  YES  |

|pitchi2 |                |                |                   |  YES  |

|rolli1  |                |                |                   |  YES  |

|rolli2  |                |                |                   |  YES  |

|dai1    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|dai2    | < -8 deg       | > 8 deg        | > 5 deg/s         |  NO   |

|azi1    |                |                |                   |  YES  |

|azi2    |                |                |                   |  YES  |

|lati1   |                |                |                   |  YES  |

|lati2   |                |                |                   |  YES  |

|latg    |                |                |                   |  YES  |

|longi1  |                |                |                   |  YES  |

|longi2  |                |                |                   |  YES  |

|longg   |                |                |                   |  YES  |

|vxi1    |                |                |                   |  YES  |

|vxi2    |                |                |                   |  YES  |

|vxg     |                |                | > 8 m/s/s         |  NO   |

|vyi1    |                |                |                   |  YES  |

|vyi2    |                |                |                   |  YES  |

|vyg     |                |                | > 8 m/s/s         |  NO   |

|vzi1    | < -30 m/s      | > 30 m/s       | > 10 m/s/s        |  NO   |

|vzi2    |                | > 30 m/s       | > 10 m/s/s        |  NO   |

|vzg     |                |                |                   |  YES  |

|ttf1    |                |                |                   |  YES  |

|ttf2    |                |                |                   |  YES  |

|ttr     |                |                |                   |  YES  |

|dpegg   |                |                |                   |  YES  |

|dpgef   |                |                |                   |  YES  |

|dpaocf  |                |                |                   |  YES  |

|trdprt5 |                |                |                   |  YES  |

------------------------------------------------------------------------

------------------------------------------------------------------------

| Name   |     < min      |     > Max      |  [d(var)/dt] >>   |  Pass |

------------------------------------------------------------------------

|pqr     | < 15 mb        |                |                   |  NO   |

------------------------------------------------------------------------

Entering Routine to Correct:---->	pqr

If there is a REDUNDANT variable that could be

used as a reference or substitute ENTER it NOW

Please do one of the following:

- Enter EXACT NAME of Reference variable to be used

- Hit Return key for NO Reference variable

- Enter s to Skip Correction of pqr

- Enter q to quit this routine (qcheckall.m)

What is your choice:   q

Starting the NOAA P-3 Data Reduction Program -- preproc.m

Using MATLAB version 5.3.0.10183 (R11)

These are SLOW data only - to create a *s_P.mat file.

-----------------------------------------------------

Processing pacjet Data File:  980223H

Please Choose Processing Speed:

1. Low    - User Controlled Pauses

2. Medium - Ten Second Pauses

3. High   - No Pauses

Input 1-3 [3]:

-----------------------------------------------------

980223H - HP Time Period of Slow Tape Operation:

Starting Time --> 15:50:31 UTC

Ending Time   --> 21:01:20 UTC

Total time in seconds: 18650.0

Total time in minutes: 310.83

Total time in hours  : 5.18

OR, 5 hour(s), 10 minute(s), and 50 second(s)

-----------------------------------------------------

980223H - Contiguous Time Check on HP Time.

There are 2 contiguous time blocks on the slow tape.

Please confirm these numbers,

Record      1 - HP Time: 15:50:31 UTC

Record     70 - HP Time: 15:51:40 UTC

Record     71 - HP Time: 15:52:11 UTC

Record  18620 - HP Time: 21:01:20 UTC

HP Time Gap 1 : 31 Seconds

Contiguous Time Block Check -- Completed.

The 7 newly-calculated variables are:

a_timeSTART  s_timehp_ymdhms  s_timetp     z_min_size

a_timeEND    s_timehp_run     s_timetc_01

Choose a Reference Dewpoint Sensor:

1. dpaocf - AOC Dewpointer - Fuselage

2. dpegg  - EG&G Dewpointer #3 (NCAR)

3. dpgef  - General Eastern Dewpointer - Fuselage

Input 1-3 [1]:  3

Reference Dewpoint Sensor -----------> dpgef

Choose a Reference Temperature Sensor:

1. ttf1 - Rosemount Total Temperature #1 - Fuselage

2. ttf2 - Rosemount Total Temperature #2 - Fuselage

3. ttr - Rosemount Total Temperature Sensor - Radome

Input 1-3 [1]:  1

Reference Total Temperature Sensor -----------> ttf1

---------------------------------------------------------------------

N42RF AOC Empirical Adjustments  08-Feb-2001

Formula: X_adj= X_orig + Empirical Adjustment

Variable   Reference	Adjustment	Cal Flight

--------   ---------	----------	----------

Total	     ttf1	(0.00 C)	XXXXXX

Temperature

Dewpoint    dpgef	(0.00 C)	XXXXXX

Temperature

Sea Surface  prt5   	(0.00 C)	XXXXXX

Temperature

Dynamic      pqf1  	(1.31 mbar)	XXXXXX

Pressure      pqr     	(0.87 mbar)	XXXXXX

Static			 See		XXXXXX

Pressure		Below

Static Pressure Correction from Trailing Cone Empirical Data:

Correction Formulas:  s_psfc = psf - ps_defect

ps_defect = A1*pqf1 + A2*pqf1^2 + A3*pqf1^2.5 + A4*pqf1^3

(all pressures in mb)

Coefficients:  	A1 =  0.15211

(from N42RF)   	A2 = -0.0122277

A3 =  0.00185083

A4 = -0.000077304

---------------------------------------------------------------------

Empirical Corrections to Dewpoint Temperature, Radiometric Surface Temperature,

Recovery Temperature, Static Pressure, & Dynamic Pressure -- Completed.

The 12 newly-calculated variables are:

a_dpref           z_offset_dpgef    z_offset_pqf1     z_offset_pqr

a_ttref           z_offset_trdprt5  z_offset_ttf1     z_offset_ttf2

s_dpgef_orig      s_ttf1_orig       s_trdprt5_orig    s_psfc

*********************************************************

Inertial Navigation Equipment (INE) Correction with GPS.

*********************************************************

Features of UCI INE Correction Using GPS:

- No Forward shift of vxg & vyg (For Flights after 1994 there is no GPS lag-time).

- Low-pass Filter of GPS Raw Data (vxg,vyg,longg,latg) at 0.2 Hz.

- Low-pass Filter of INE/GPS difference at 0.0025 Hz.

GPS correction of INE1 and INE2 -- Completed.

The 12 newly-calculated variables are:

s_lati1c     s_longi1c     s_vxi1c     s_vyi1c

s_lati2c     s_longi2c     s_vxi2c     s_vyi2c

s_latg_orig  s_longg_orig  s_vxg_orig  s_vyg_orig

*****************************************************

Heading Conversion and Offset.

*****************************************************

INE Heading Offset = 0.00 Degrees

INE Heading Range changed from [-180 180] to [0 360]

Calculating GPS-corrected track angle and drift angle.

Track Angle/Drift Angle Calculation -- Completed.

The 7 newly-calculated variables are:

s_dai1c  s_hdgi1_orig  s_trki1c  z_offset_hdg

s_dai2c  s_hdgi2_orig  s_trki2c

*****************************************************

Integration of the Vertical Acceleration of the INE.

*****************************************************

Pressure Altitude Calculation using Corrected Static Pressure -- Completed.

Integration of INE1 and INE2 Vertical Acceleration

to Determine INE1 and INE2 Vertical Velocity and Altitude  -- Completed.

The 9 newly-calculated variables are:

s_hi1_p3  s_hi1c  s_vzi1c  s_vzi1_p3  s_hpalt_psfc

s_hi2_p3  s_hi2c  s_vzi2c  s_vzi2_p3

*****************************************************

Thermistor Calibration.

*****************************************************

Default Setting - No Thermistor Calibration.

*****************************************************

Calculation of Thermodynamic Variables.

*****************************************************

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 deiced configuration "a" slow temperature sensor

Low-pass filtering dynamic pressure at fc=0.1 Hz

before Calculating Ambient Temperature

Rosemount 102 Non-deiced fast temperature sensor

Dry Air Ambient Temperature Calculation -- Completed.

The 3 newly-calculated variables are:

s_tad_f1  s_tad_f2  s_tad_r

Mean Humidity Correction to True Airspeed is: 0.21 m/s

There are 15 newly-calculated variables:

s_ah_gef  s_mr_gef   s_tad   s_theta     s_machd

s_rh_gef  s_tasdf    s_tvir  s_thetav    s_machh

s_sh_gef  s_tashf    s_tl    s_thetae

*****************************************************

Calibration of the Lyman-alpha Hygrometer.

*****************************************************

Default Setting - No Lyman-alpha Calibration.

*****************************************************

Calibration of Pyrgeometer Case and Dome Temperatures.

*****************************************************

No Pyrgeometer Calibration.

*****************************************************

Renaming Raw Variables to s_* - using slowreduc.m

*****************************************************

Starting SLOWREDUC.m.

Done with SLOWREDUC.m.

*****************************************************

Input of Fast Tape Information.

*****************************************************

Please create the variable,

z_fstutc

z_fstutc is a Nx7 matrix containing the "fast tape" data from the *.doc file.

(ie, when the fast tape is recorded and the fast tape number)

Format Example:  From 921128H there are 3 contiguous sections on fast tape #1

and 2 contiguous section on fast tape #2 (see ~togac/docs/921128.doc).

This information should be input as:

[1 2 10 34 2 16 58

1 3 29 2 3 40 28

1 3 40 30 4 41 37

2 4 42 59 5 32 54

2 5 34 13 5 58 2]

Note:  For flights with no fast tape infomation please input:

[ 0 ] or just hit RETURN to continue

Input this information now (include the square brackets ([ ]))

--->

**********************************************************

Calculation of Humidity-Corrected and GPS-Corrected Winds

**********************************************************

The plot above will help you choose which of INE1 or INE2

should be used in the Calculation of WINDS.

If you hit return at the following prompts, WINDS will be

calculated using:

SLOW RATE DATA		slw

FULL EQUATIONS		ful

FUSELAGE GUST PROBE	fus

INE1			one

INE ONE or TWO?                 one/two [one]:

SLOW or FAST rate data?         slw/fst [slw]:

SIMPLE or FULL wind equations?  sim/ful [ful]:

RADOME or FUSELAGE gust probe?  rad/fus [fus]:

Calculating winds for:

slow rate data, full equations, fuselage, INE1: ---->	s_wndff1

***FYI: The Angle of Attack Coefficients are for TOGA COARE

obtained from 921128H1_m1sp and 921128H4_m4sp

PQF1 offset: z_offset_pqf1=1.31 mb for N42RF

No offset to heading on P342RF

No offset to ssaf on P342RF

Used s_ttf1

There are 10 newly-calculated variables 18620 samples long, 4 coefficients

and 3 house-keeping variables:

s_wxff1   s_wdff1   s_wlgff1   s_aaf     s_ssaf    a_aaf

s_wyff1   s_wsff1   s_wltff1   c_kaaf    c_kssaf   a_ssaf

s_wzff1   s_tashf              c_baaf    c_bssaf   z_offset_pqf1

Check that all variables are included in the

work space and that there are no unwanted variables

Your variables are:

a_aaf               s_longg_orig        s_tsrdco2V

a_dpref             s_longi1            s_tsrdwinV

a_fldate            s_longi1c           s_ttf1

a_person            s_longi2            s_ttf1_orig

a_project           s_longi2c           s_ttf2

a_ssaf              s_lwcjw             s_ttr

a_timeEND           s_lymanV            s_tupprt5

a_timeSTART         s_machd             s_tupprt5V

a_ttref             s_machh             s_tvir

c_baaf              s_mmhp              s_upcaseV

c_bssaf             s_mohp              s_upclrV

c_kaaf              s_mr_gef            s_updomeV

c_kssaf             s_pcab              s_uppyrgV

do_fastdata         s_pdaf              s_upredV

s_aaf               s_pdar              s_upyelV

s_ah_gef            s_pdsf              s_vxg

s_axbt1             s_pdsr              s_vxg_orig

s_axbt2             s_pitchi1           s_vxi1

s_axbt3             s_pitchi2           s_vxi1c

s_azi1              s_pqaf              s_vxi2

s_azi2              s_pqaf_orig         s_vxi2c

s_dai1              s_pqf1              s_vyg

s_dai1c             s_pqf1_orig         s_vyg_orig

s_dai2              s_pqf1c             s_vyi1

s_dai2c             s_pqf2              s_vyi1c

s_ddhp              s_pqf2_orig         s_vyi2

s_dncaseV           s_pqr               s_vyi2c

s_dnclrV            s_pqr_orig          s_vzg

s_dndomeV           s_pqsf              s_vzi1

s_dnpyrgV           s_pqsf_orig         s_vzi1_p3

s_dnredV            s_pqw               s_vzi1c

s_dnyelV            s_pqw_orig          s_vzi2

s_dp2balV           s_psf               s_vzi2_p3

s_dpaocf            s_psfc              s_vzi2c

s_dpegg             s_psw               s_wdff1

s_dpgef             s_ptr               s_wlgff1

s_dpgef_orig        s_rh_gef            s_wltff1

s_fstape            s_rolli1            s_wsff1

s_hdgi1             s_rolli2            s_wxff1

s_hdgi1_orig        s_sh_gef            s_wyff1

s_hdgi2             s_ssaf              s_wzff1

s_hdgi2_orig        s_sshp              s_yrhp

s_hg                s_tad               z_acnum

s_hhhp              s_tad_f1            z_blksndx

s_hi1               s_tad_f2            z_blksutc

s_hi1_p3            s_tad_r             z_fstindx

s_hi1c              s_tasdf             z_fstutc

s_hi2               s_tashf             z_gapsndx

s_hi2_p3            s_theta             z_min_size

s_hi2c              s_thetae            z_offset_dpgef

s_hpalt_psfc        s_thetav            z_offset_hdg

s_hr159p            s_timehp_run        z_offset_pqf1

s_hr159s            s_timehp_ymdhms     z_offset_pqr

s_hr232             s_timetc_01         z_offset_trdprt5

s_irsV              s_timetp            z_offset_ttf1

s_klwcV             s_tl                z_offset_ttf2

s_latg              s_tmp4              z_pqnd

s_latg_orig         s_trdprt5           z_pqst

s_lati1             s_trdprt5V          z_srate

s_lati1c            s_trdprt5_orig      z_varnames

s_lati2             s_trki1c

s_lati2c            s_trki2c

s_longg             s_tsrdco2

Name                   Size         Bytes  Class

a_aaf                  1x150          300  char array

a_dpref                1x5             10  char array

a_fldate               1x10            20  char array

a_person               1x6             12  char array

a_project              1x6             12  char array

a_ssaf                 1x149          298  char array

a_timeEND              1x11            22  char array

a_timeSTART            1x11            22  char array

a_ttref                1x4              8  char array

c_baaf                 1x1              8  double array

c_bssaf                1x1              8  double array

c_kaaf                 1x1              8  double array

c_kssaf                1x1              8  double array

do_fastdata            1x1              8  double array

s_aaf              18620x1         148960  double array

s_ah_gef           18620x1         148960  double array

s_axbt1            18620x1         148960  double array

s_axbt2            18620x1         148960  double array

s_axbt3            18620x1         148960  double array

s_azi1             18620x1         148960  double array

s_azi2             18620x1         148960  double array

s_dai1             18620x1         148960  double array

s_dai1c            18620x1         148960  double array

s_dai2             18620x1         148960  double array

s_dai2c            18620x1         148960  double array

s_ddhp             18620x1         148960  double array

s_dncaseV          18620x1         148960  double array

s_dnclrV           18620x1         148960  double array

s_dndomeV          18620x1         148960  double array

s_dnpyrgV          18620x1         148960  double array

s_dnredV           18620x1         148960  double array

s_dnyelV           18620x1         148960  double array

s_dp2balV          18620x1         148960  double array

s_dpaocf           18620x1         148960  double array

s_dpegg            18620x1         148960  double array

s_dpgef            18620x1         148960  double array

s_dpgef_orig       18620x1         148960  double array

s_fstape           18620x1         148960  double array

s_hdgi1            18620x1         148960  double array

s_hdgi1_orig       18620x1         148960  double array

s_hdgi2            18620x1         148960  double array

s_hdgi2_orig       18620x1         148960  double array

s_hg               18620x1         148960  double array

s_hhhp             18620x1         148960  double array

s_hi1              18620x1         148960  double array

s_hi1_p3           18620x1         148960  double array

s_hi1c             18620x1         148960  double array

s_hi2              18620x1         148960  double array

s_hi2_p3           18620x1         148960  double array

s_hi2c             18620x1         148960  double array

s_hpalt_psfc       18620x1         148960  double array

s_hr159p           18620x1         148960  double array

s_hr159s           18620x1         148960  double array

s_hr232            18620x1         148960  double array

s_irsV             18620x1         148960  double array

s_klwcV            18620x1         148960  double array

s_latg             18620x1         148960  double array

s_latg_orig        18620x1         148960  double array

s_lati1            18620x1         148960  double array

s_lati1c           18620x1         148960  double array

s_lati2            18620x1         148960  double array

s_lati2c           18620x1         148960  double array

s_longg            18620x1         148960  double array

s_longg_orig       18620x1         148960  double array

s_longi1           18620x1         148960  double array

s_longi1c          18620x1         148960  double array

s_longi2           18620x1         148960  double array

s_longi2c          18620x1         148960  double array

s_lwcjw            18620x1         148960  double array

s_lymanV           18620x1         148960  double array

s_machd            18620x1         148960  double array

s_machh            18620x1         148960  double array

s_mmhp             18620x1         148960  double array

s_mohp             18620x1         148960  double array

s_mr_gef           18620x1         148960  double array

s_pcab             18620x1         148960  double array

s_pdaf             18620x1         148960  double array

s_pdar             18620x1         148960  double array

s_pdsf             18620x1         148960  double array

s_pdsr             18620x1         148960  double array

s_pitchi1          18620x1         148960  double array

s_pitchi2          18620x1         148960  double array

s_pqaf             18620x1         148960  double array

s_pqaf_orig        18620x1         148960  double array

s_pqf1             18620x1         148960  double array

s_pqf1_orig        18620x1         148960  double array

s_pqf1c            18620x1         148960  double array

s_pqf2             18620x1         148960  double array

s_pqf2_orig        18620x1         148960  double array

s_pqr              18620x1         148960  double array

s_pqr_orig         18620x1         148960  double array

s_pqsf             18620x1         148960  double array

s_pqsf_orig        18620x1         148960  double array

s_pqw              18620x1         148960  double array

s_pqw_orig         18620x1         148960  double array

s_psf              18620x1         148960  double array

s_psfc             18620x1         148960  double array

s_psw              18620x1         148960  double array

s_ptr              18620x1         148960  double array

s_rh_gef           18620x1         148960  double array

s_rolli1           18620x1         148960  double array

s_rolli2           18620x1         148960  double array

s_sh_gef           18620x1         148960  double array

s_ssaf             18620x1         148960  double array

s_sshp             18620x1         148960  double array

s_tad              18620x1         148960  double array

s_tad_f1           18620x1         148960  double array

s_tad_f2           18620x1         148960  double array

s_tad_r            18620x1         148960  double array

s_tasdf            18620x1         148960  double array

s_tashf            18620x1         148960  double array

s_theta            18620x1         148960  double array

s_thetae           18620x1         148960  double array

s_thetav           18620x1         148960  double array

s_timehp_run       18620x1         148960  double array

s_timehp_ymdhms    18620x6         893760  double array

s_timetc_01        18620x1         148960  double array

s_timetp           18620x1         148960  double array

s_tl               18620x1         148960  double array

s_tmp4             18620x1         148960  double array

s_trdprt5          18620x1         148960  double array

s_trdprt5V         18620x1         148960  double array

s_trdprt5_orig     18620x1         148960  double array

s_trki1c           18620x1         148960  double array

s_trki2c           18620x1         148960  double array

s_tsrdco2          18620x1         148960  double array

s_tsrdco2V         18620x1         148960  double array

s_tsrdwinV         18620x1         148960  double array

s_ttf1             18620x1         148960  double array

s_ttf1_orig        18620x1         148960  double array

s_ttf2             18620x1         148960  double array

s_ttr              18620x1         148960  double array

s_tupprt5          18620x1         148960  double array

s_tupprt5V         18620x1         148960  double array

s_tvir             18620x1         148960  double array

s_upcaseV          18620x1         148960  double array

s_upclrV           18620x1         148960  double array

s_updomeV          18620x1         148960  double array

s_uppyrgV          18620x1         148960  double array

s_upredV           18620x1         148960  double array

s_upyelV           18620x1         148960  double array

s_vxg              18620x1         148960  double array

s_vxg_orig         18620x1         148960  double array

s_vxi1             18620x1         148960  double array

s_vxi1c            18620x1         148960  double array

s_vxi2             18620x1         148960  double array

s_vxi2c            18620x1         148960  double array

s_vyg              18620x1         148960  double array

s_vyg_orig         18620x1         148960  double array

s_vyi1             18620x1         148960  double array

s_vyi1c            18620x1         148960  double array

s_vyi2             18620x1         148960  double array

s_vyi2c            18620x1         148960  double array

s_vzg              18620x1         148960  double array

s_vzi1             18620x1         148960  double array

s_vzi1_p3          18620x1         148960  double array

s_vzi1c            18620x1         148960  double array

s_vzi2             18620x1         148960  double array

s_vzi2_p3          18620x1         148960  double array

s_vzi2c            18620x1         148960  double array

s_wdff1            18620x1         148960  double array

s_wlgff1           18620x1         148960  double array

s_wltff1           18620x1         148960  double array

s_wsff1            18620x1         148960  double array

s_wxff1            18620x1         148960  double array

s_wyff1            18620x1         148960  double array

s_wzff1            18620x1         148960  double array

s_yrhp             18620x1         148960  double array

z_acnum                1x1              8  double array

z_blksndx              2x2             32  double array

z_blksutc              2x6             96  double array

z_fstindx              1x1              8  double array

z_fstutc               1x22            44  char array

z_gapsndx              1x1              8  double array

z_min_size             1x1              8  double array

z_offset_dpgef         1x1              8  double array

z_offset_hdg           1x1              8  double array

z_offset_pqf1          1x1              8  double array

z_offset_pqr           1x1              8  double array

z_offset_trdprt5       1x1              8  double array

z_offset_ttf1          1x1              8  double array

z_offset_ttf2          1x1              8  double array

z_pqnd                 1x1              8  double array

z_pqst                 1x1              8  double array

z_srate                1x1              8  double array

z_varnames            85x8           1360  char array

Grand total is 2961669 elements using 23687028 bytes

Pre-processing is complete...have a nice day.

(total processing time of 3.14 minutes)

Saving: /acdata/pacjet/data_mat/980223Hs_P.mat

Do you want to create PostScript plots? [yN]: n

Do you want to save 980223H in netCDF Format? [yN]: y