[image: image1.png]



[image: image2.png]



NOAA G-IV
WINTER STORMS 2006
Flight 7 – Track 20
PANC – PANC
Flight ID: 060205N
Sensor or system





Number or Name
Inertial (for wind derivation)  



VEW_PITR/VNS_PITR


Temperature Probe





AT3
Dew Point Probe





DPLC
Static and Dynamic Pressure




PS2C/QC2C
Project Directory / Constants File



601 / 49cal051
Notes:

There were no time/data glitches during this flight.  Large spikes were seen in the aircraft attitude data at take-off and landing.
AT2 was not installed for these missions.  DPLC was chosen as the primary dewpoint sensor because DPRC was greater than the ambient temperature during ascent and descent.  It also read 5-10 degrees warmer than DPLC through most of the flight.  Because of the ascent data, the data from DPLC appears to be the more accurate of the 2 sensors. 

During ascent and descent, dynamic and differential pressures diverged due to location and air flow around the aircraft.  All data, specifically pressure and wind data should be used carefully during these times.  
DAP1 was not operational from 2323Z-0036Z.  Raw dynamic attack pressure right (DAP2) was and should be used for derivations.
All other instruments worked properly.





Takeoff


Landing

Aircraft Static Pressure (mb)

986.5 mb

982.8 mb

Station Altimeter


29.27


29.18”
Flight Director:

Contact Paul Flaherty
Phone #:


(813) 828-3310 ext.  3094






