1

NOAA G-IV ERROR SUMMARY

WINTER STORMS 2007

FERRY FROM  MacDILL TO HONOLULU

Flight ID: N070116

Sensor or system						Number or Name

INE	(for wind derivation)				VEW_PITR, VNS_PITR

Accelerometer						ACINS_PITR

Temperature Probe				          AT3

Dew Point Probe						DPRC

Static Pressure						PS2M

Dynamic Pressure						QC2M

Attack Angle						AKRD1

Slip Angle						          SSRD1

Vert. Wind						          PALT

Constants File                                                           49cal061

Project Directory						/proj/701

Local surface observation not current or unavailable.

Notes:

A refueling stop was made in Mesa, AZ with a duration of 70 minutes.

There were no data gaps.

The Total Temperature #2 (TT2) probe was not available for this mission.

All other instruments worked optimally during the flight.

Takeoff		Landing

Aircraft Static Pressure           1022.2mb/973.8mb	   973.8mb/1016.9mb

Corrected Tower Pressure       1022.0mb/973.5mb	  973.5mb/1017.3mb

Flight Director:	A. Barry Damiano       (813) 828-3310 ext. 3073