1

NOAA G-IV ERROR SUMMARY

WINTER STORMS 2007

TRACK35

Flight ID: N070127

Sensor or system						Number or Name

INE	(for wind derivation)				VEW_PITR, VNS_PITR

Accelerometer						ACINS_PITR

Temperature Probe				          AT3

Dew Point Probe						DPRC

Static Pressure						PS2M

Dynamic Pressure						QC2M

Attack Angle						AKRD2

Slip Angle						          SSRD1

Vert. Wind						          PALT

Constants File                                                           49cal061

Project Directory						/proj/701

Local surface observation not current or unavailable.

Notes:

There were no data gaps.

The Total Temperature #2 (TT2) probe was not available for this mission.

Static Pressure #1...PS1M...exhibited several stair-step jumps beginning at  204440Z and ending at 225625Z. This did not impact any meteorological derivations since it was not selected.

Dynamic Attack Pressure #1...DAP1...began producing erroneous output shortly after takeoff and continued until the aircraft landed. This did not impact any meteorological derivations since it was not selected.

All other instruments worked optimally during the flight.

All 14 tempdrop messages were successfully sent to NCEP and made it into the 28/00Z model run.

Takeoff		Landing

Aircraft Static Pressure                1016.1mb	          1012.1mb

Corrected Tower Pressure           1016.2mb	          1012.6mb

Flight Director:	A. Barry Damiano       (813) 828-3310 ext. 3073