1

N43RF ERROR SUMMARY

Ocean Winds 2011

Mission #5

Flight ID: 20110124I1

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				          TT1

Dew Point Probe						TDM2X (EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTI1

Constants File                                                           n43_11owv1.adc

Project Directory						/acdata/2011/MET/20110124I1

Notes:

There were three data gaps during this flight from 144652Z – 144655Z, 155501Z – 155508Z, and 183821Z – 183829Z.

There were instances where TDM2 collected erroneous data.  During such instances, values for TMD2 were modified using direct substitution of the BUCK (TDM1)  dewpoint source for the period: 154950Z – 155023Z.   The equation used in the substitution follows:

TDM2X = TDM1

During portions of the flight, the fuselage dynamic attack pressure (PQAF) output was unreliable.  Modifications were made to PQAF substituting values from PQF1.

The equations used in the substitutions and the time periods follow.

140421Z – 142133Z: PQAFX = PQF1

142134Z – 155352Z: PQAFX = PQF1 -3

153553Z – 160753Z: PQAFX = PQF1+0.4

There were 2 total AXBTs deployed, 2 were good, 0 failed, and 0 were questionable.

There were 8 total dropsondes deployed, 8 were good, 0 failed, and 0 were questionable.

Takeoff/Landing data:  Data during landing and takeoff are potentially suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE!!! The variable names dpj_wgs, dpj_was, and dpj_wz in the netCDF file represent vertical ground, vertical air, and vertical wind speeds respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

1421Z                   2140Z

Aircraft Static Pressure               994.2 mb	             996.8mb

Corrected Tower Pressure           995.1 mb                997.1 mb

Flight Director:	A. Barry Damiano/ Ian Sears     (813) 828-3310 ext. 3073/3039