NOAA G-IV N49RF ERROR SUMMARY

1

HURRICANE 2011

8 July 2011 TDR FAT WSR-88D Intercomparison

(PSM) KMCFKMCF

Flight ID: 20110708N1

Sensor or system						Number or Name

Accelerometer						AccZI.1

Altitude							AltGPS.3

Attack Angle						AA.2

Dew Point Probe						TD.1

Dynamic Pressure						PQF.2

Geopotential Altitude					AltGPS.3

Inertial Selected						INE1

Static Pressure						PS.2

Slip Angle							SA.2

Temperature Probe				                     TTM.1

True Airspeed						TASF.1

Constants File                                                           49cal111

Flight Directory						acdata/2011/MET/20110708N1

Local Met Data			Takeoff (1712z)		Landing (1850z)

Aircraft Static Pressure		  1011.4 mb			     1013.1 mb

Tower Pressure (corrected)	  1013.7 mb			     1014.1 mb

__________________________________________________________________

Notes:

The AAMPS data system worked well with no data interruptions.

During cruise at 41K: TTM.1 spiked about 4C (from near -32C up to -28C) on two occasions (at 18:14:53z and 18:19:20z) with TTM.4 spiking only about half as much and TTM.3 not spiking at all. The plane was encountering significant convection during this time (especially the second spike during which vertical wind velocity peaked at 11 m/s. Additionally, there was no evidence of TTM.3 oscillation at this flight level as was seen on other flights during the summer. However, while level at the lower altitude of 23K, TTM3 displayed a very large amplitude (around 7C) oscillation with a period of about 4 minutes. TTM.1 is the default.

Both TdM.1 and TdM.2 exhibited significant supersaturation during the convective encounters around 18:14z and 18:19z with dew point exceeding ambient temp (TA.1) by more than 15C.

In creation of higher MET parameters, PDAlphaF.2 was selected (under Attack Pressure Probe Selection choices) to utilize AA.2.

GDIFF check: Mean of 1520 meters of drift for INE #1 (with respect to the Novatel) 1263 meters for INE#2. In creation of higher MET parameters, INE #1 selected.

Vertical Winds were close to zero for the cruise portion of flight at 41K (with a mean UWZ.1 of +0.08 from 17:54z to 18:23z). This includes the encounter with significant convection which included a max value of +11.09 at 18:19z.

All other flight level instruments worked optimally during the flight.

Flight Directors: Richard Henning (813) 828-3310 ext. 3086 and Jessica Williams