NOAA G-IV N49RF ERROR SUMMARY

1

HURRICANE 2011

3 Aug 2011 TS Emily (NOAA9 0905A EMILY) NHC (PHS) KMCFKMCF

Flight ID: 20110803N1

Sensor or system						Number or Name

Accelerometer						AccZI.1

Altitude							AltGPS.3

Attack Angle						AA.2

Dew Point Probe						TD.1

Dynamic Pressure						PQF.2

Geopotential Altitude					AltGPS.3

Inertial Selected						INE2

Static Pressure						PS.2

Slip Angle							SA.2

Temperature Probe				                     TTM.1

True Airspeed						TASF.1

Constants File                                                           49cal111

Flight Directory						acdata/2011/MET/20110803N1

Local Met Data			Takeoff (1728z)		Landing (0156z)

Aircraft Static Pressure		  1010.6 mb			     1007.0 mb

Tower Pressure (corrected)	  1012.8 mb			     1011.7 mb

__________________________________________________________________

Notes:

There was a glitch in the AAMPS data system that caused a data gap for all analog and inertial data about 6-7 seconds after 00z that lasted about 45 seconds.

In addition to the full data outage described above, there were intervals of brief data gaps in AltRa.1, the APN-232 radar altimeter, at the following times:

17:47:41-17:48:20z (multiple gaps during this interval)

17:56:45z

18:03:37z

18:16:40z

01:20:52 and 01:20:55z

There was an abnormally large spread (4.7 millibars for PSF.2) between Raw Static Pressure (PSF) and MacDill Station Pressure during landing rollout. PSF.2 was the closer of the two systems and the default.

TTM.3 displayed an oscillation of around 0.4C (with a period of approx 4 minutes) during cruise above 41K. TTM.1 is the default.

In creation of higher MET parameters, PDAlphaF.2 was selected (under Attack Pressure Probe Selection choices) to utilize AA.2.

GDIFF check: Mean of 2757 meters of drift for INE #1 (with respect to the Novatel) 2005 meters for INE#2. In creation of higher MET parameters, INE #2 selected.

The Left Dew Point sensor (TdM.1) showed supersaturation (RH exceeding 100% with respect to TA.1) during the following brief intervals in the CDO and in other areas of cloudiness during our cruise portion of flight at or above 41,000 feet:

2207-2247z

2250z

2252-2319z

Vertical Winds showed a very small positive bias during the cruise portion of flight (with a mean UWZ.1 of +0.07).

All other flight level instruments worked optimally during the flight.

- 30 drop points assigned by NHC for ingestion into 04/0000z models

- 32 AVAPS II dropsondes deployed

- 30 were good enough to transmit a WMO TEMPDROP message (all assigned drop points were covered with an ob, 29 coded surface winds):

Drop #8 at 1948 was a backup to what was originally thought to be a FF at 1947z. It turned out the first was good and the backup transmitted no data

Drop #9 at 2008z had no Launch Detect but the backup was good

Drop #19 (at Drop Point #17) died below 550 mb (no heights reported)

Flight Director: Richard Henning (813) 828-3310 ext. 3086 and Jessica Williams