Flight ID: 20110808H1

Sensor or system						Number or Name

Inertial Selected (for wind derivation)			INE 1

Accelerometer							ACCI1

Temperature Probe						TT2

Dew Point Probe						TDM2

Static Pressure							PSF

Dynamic Pressure						PQF

Altitude (for vertical wind)					ALTI1

Flight Directory		acdata/MET/2011/20110808H1

Constants File	              /acdata/adc/42_11v5.adc

Local Met Data:			Takeoff (1900Z)		Landing (2105Z)

Aircraft Static Pressure		1012.3 mb			1012.8  mb

Tower Pressure (corrected)		1012.8  mb			1012.7 mb

Notes:

There were no data gaps.

Total Temperature sensor number 1 malfunctioned during the flight.  Total Temperature sensor number 2 was selected as the default.

Takeoff/Landing data:  Data during landing and takeoff are potentially suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE!!!    The variable names GSZ_DPJ, ASZ_DPJ and WSZ_DPJ in the netCDF file represent vertical ground speeds , vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

All other AOC instruments worked properly.

There were 0 expendables deployed from the aircraft internally.