NOAA G-IV N49RF ERROR SUMMARY

1

HURRICANE 2011

23 Aug 2011 Irene (NOAA9 0909A IRENE)

NHC (PHS) KMCFKMCF

Flight ID: 20110823N2

Sensor or system						Number or Name

Accelerometer						AccZI.1

Altitude							AltGPS.3

Attack Angle						AA.2

Dew Point Probe						TD.1

Dynamic Pressure						PQF.2

Geopotential Altitude					AltGPS.3

Inertial Selected						INE2

Static Pressure						PS.2

Slip Angle							SA.2

Temperature Probe				                     TTM.1

True Airspeed						TASF.1

Constants File                                                           49cal111

Flight Directory						acdata/2011/MET/20110823N2

Local Met Data			Takeoff (1735z)		Landing (0143z)

Aircraft Static Pressure		  unavail mb		               1011.7 mb

Tower Pressure (corrected)	  1013.1 mb			     1013.1 mb

__________________________________________________________________

Notes:

There was an AAMPS data system crash just prior to takeoff. The system was restored at 17:36:14z (a little over a minute after takeoff). As a result, there is no data for that first minute.

There was a glitch in the AAMPS data system that caused a data gap for all analog and inertial data beginning 7 seconds after 00z that lasted 47 seconds.

There were intervals of brief data gaps in AltRa.1, the APN-232 radar altimeter, at the following times:

17:52:17-17:52:51z (multiple gaps during this interval)

19:54:16z

20:50:59z

TTM.3 displayed an oscillation of around 0.5C (with a period of approx 3 minutes) during cruise above 41K. TTM.1 is the default.

In creation of higher MET parameters, PDAlphaF.2 was selected (under Attack Pressure Probe Selection choices) to utilize AA.2.

GDIFF check: Mean of 5667 meters of drift for INE #1 (with respect to the Novatel) 3668 meters for INE#2. Both of these values are much higher than normal. In creation of higher MET parameters, INE #2 selected.

Vertical Winds were very close to zero during the cruise portion of flight (with a mean UWZ.1 of +0.03 from about 1900-0030z).

All other flight level instruments worked optimally during the flight.

- 34 drop points assigned by NHC for ingestion into 24/0000z models

- Cuban Overflight denied: Pt #29 moved to 20.5N 73.9E Pt #34 eliminated (not enough fuel)

- 33 AVAPS II dropsondes deployed

- Drop #17 at 2128z dies around 500 mb so no heights reported in WMO message

- All other drops were good and transmitted, remaining 32 sondes all coded surface winds.

Flight Directors: Richard Henning (813) 828-3310 ext. 3086 and LTJG Nick Morgan.