NOAA G-IV N49RF ERROR SUMMARY

1

HURRICANE 2011

24 Aug 2011 Irene (NOAA9 1509A IRENE)

NHC (PHS) KMCFKMCF

Flight ID: 20110824N2

Sensor or system						Number or Name

Accelerometer						AccZI.1

Altitude							AltGPS.3

Attack Angle						AA.2

Dew Point Probe						TD.1

Dynamic Pressure						PQF.2

Geopotential Altitude					AltGPS.3

Inertial Selected						INE1

Static Pressure						PS.2

Slip Angle							SA.2

Temperature Probe				                     TTM.1

True Airspeed						TASF.1

Constants File                                                           49cal111

Flight Directory						acdata/2011/MET/20110824N2

Local Met Data			Takeoff (1722z)		Landing (0142z)

Aircraft Static Pressure		  1012.1 mb		               1009.1 mb

Tower Pressure (corrected)	  1013.4 mb			     1012.0 mb

__________________________________________________________________

Notes:

There was an AAMPS data system crash at 21:27:31z. The system was restored at 21:32:56z. As a result, there is no data for that five minute interval. Some derived parameters which depend on inertial inputs did not fully return to normal until approximately 21:46z.

In addition to the full data outage described above, there were intervals of brief data gaps in AltRa.1, the APN-232 radar altimeter, at the following times:

17:44:30-17:45:11z (multiple gaps during this interval)

19:00:31z

01:26:23z

There was a glitch in the AAMPS data system that caused a data gap for all analog and inertial data beginning 2 minutes 53 seconds after 00z that lasted 46 seconds.

There was an abnormally large spread (2.9 millibars for PSF.2) between Raw Static Pressure (PSF) and MacDill Station Pressure during landing rollout. PSF.2 was the closer of the two systems and the default.

TTM.3 displayed an oscillation of around 0.5C (with a period of approx 3.5 minutes) during cruise above 41K. TTM.1 is the default.

In creation of higher MET parameters, PDAlphaF.2 was selected (under Attack Pressure Probe Selection choices) to utilize AA.2.

GDIFF check: Mean of 2579 meters of drift for INE #1 (with respect to the Novatel) 3482 meters for INE#2. In creation of higher MET parameters, INE #1 selected.

Vertical Winds were very close to zero during the cruise portion of flight (with a mean UWZ.1 of -0.01 from about 1930z to the AAMPS data crash at 21:27:31z). After the crash, good vertical wind data was not re-established until approximately 21:46z.

All other flight level instruments worked optimally during the flight.

- 33 drop points assigned by NHC for ingestion into 25/0000z models

- 33 AVAPS II dropsondes deployed, all were good enough to transmit WMO TEMPDROP message, so all assigned point covered with an ob

- Drop #30 at 0023z died at 1005.6 mb so no heights reported

- 31 of the 33 sondes coded surface winds.

Flight Directors: Richard Henning (813) 828-3310 ext. 3086 and LTJG Nick Morgan.