1

N42RF ERROR SUMMARY

HURRICANE IRENE

Flight ID: 20110825H1

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACCI1

Temperature Probe				                    TT1

Dew Point Probe						TDM2X

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind					          ALTI1

Constants File                                                          /acdata/adc/42_11v5.adc

Project Directory				/acdata/2011/MET/20110825H1

Special note: There was a major problem with the attack angle output during this mission that results in erroneous vertical winds for the entire mission.

Notes:

There were many data gaps throughout the flight. The times are listed below.

205521Z

210411Z – 210412Z

212211Z

230101Z – 210102Z

232751Z

011541Z

021821Z

021911Z – 021914Z

Dewpoint sensor 2 (TDM2 [EdgeTech]) generated erroneous data between

203205Z – 203220Z. The erroneous data were replaced with dewpoint sensor 1 (TDM1 [ Buck]) output via direct substitution: TDM2X = TDM1.

Dewpoint sensor 2 (TDM2 [EdgeTech]) generated erroneous data between

015539Z – 015732Z. The erroneous data was replaced with dewpoint sensor  3 (TDM3 [Maycomm TDL]) output via direct substitution: TDM2X = TDM3

During the flight there were instances where dewpoint temperature values exceeded derived ambient temperature values resulting in humidity values above 100%. These situations occurred during heavy precipitation events.

All other instruments worked optimally during the flight.

There were thirty-six (36) GPS dropsondes deployed.  33 were good 3 were bad.

Takeoff/Landing data:  Data during landing and takeoff are potentially suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE!!! The variable names dpj_wgs, dpj_was, and dpj_wz in the netCDF file represent vertical ground, vertical air, and vertical wind speeds respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff(1949Z)	Landing(0325Z)

Aircraft Static Pressure                 1007.0 mb               1007.7 mb

Corrected Tower Pressure             1007.3 mb	              1008.0 mb

Flight Director:	Ian Sears       (813) 828-3310 ext. 3039