Flight ID: 20111126I1

Sensor or system						Number or Name

Inertial Selected (for wind derivation)			INE 1

Accelerometer							AccZfilterI-GPS.1

Temperature Probe						TTM.1

Dew Point Probe						TdM.2X

Static Pressure							PSF.1

Dynamic Pressure						PQF.1

Altitude (for vertical wind)					AltI-GPS.1

Flight Directory		acdata/MET/2011/20111126I1

Constants File	              2011111131/AAMPSConfig/core/n43.xml

Local Met Data:			Takeoff (0315Z)		Landing (1253Z)

Aircraft Static Pressure		1009.4 mb			1006.9 mb

Tower Pressure (corrected)		1008.2 mb			1006.8 mb

Notes:

During the flight, the data system malfunctioned several times resulting in multiple 1 Hz data files.  The only data files that are useable are 20111126I1_A.nc and 20111126I1_C.nc.  These two files will remain separated for the time being, but will be discussed as a singular data set for the purposes of this error summary.  20111126I1_A.nc  includes the times 011416Z-060437Z.  20111113I1_C.nc  includes the times 063121Z-130049Z.  Note the time gap between the two files.

Dewpoint sensor 2 (TdM.2 [EdgeTech]) generated erroneous data between

041853Z – 041917Z, 070404Z – 070441Z, 112629Z – 112637Z, and 122411Z – 122512Z. The erroneous data were replaced with dewpoint sensor 1 (TdM.1 [ Buck]) output via direct substitution: TdM.2x = TdM.1.

Takeoff/Landing data:  Data during landing and takeoff are potentially suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE!!!    The variable names GSZ_DPJ, ASZ_DPJ and WSZ_DPJ in the netCDF file represent vertical ground speeds , vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

All other AOC instruments worked properly.

There were 35 GPS dropsondes, 39 AXBT’s and 23 CTD’s deployed from the aircraft internally.