[image: image1.png]



[image: image2.png]



N42RF ERROR SUMMARY
OHC PRE ISAAC, KMCF-KMCF
16 Aug 2012

Flight ID: 20120816H1
Sensor or system





Number or Name

Inertial Selected (for wind derivation)


INE 1 
Accelerometer






AccZfilterI-GPS.1
Temperature Probe





TTM.2
Dew Point Probe





TDM.2
Static Pressure






PSM.2
Dynamic Pressure





PQM.2
Altitude (for vertical wind)




AltI-GPS.1

Flight Directory

acdata/MET/2012/20120816H1
Constants File
              20120816H1/AAMPSConfig/core/n42.xml

Local Met Data:


Takeoff (1308Z)

Landing (2020Z)

Aircraft Static Pressure (PSM.2)
1018.1 mb


1015.4 mb

Tower Pressure (corrected)

1018.1 mb


1016.1 mb
Notes:
The Novatel position data, Alt, Lat and Lon GPS.3 all spiked erroneously numerous times throughout the flight from 14:43Z to 19:27Z.

The Edgetech dewpoint, TDM.2, performed best and was used as default.   
During the last half hour of the flight, the transit back to KMCF, from 20:06:05Z until landing, several one second data gaps were observed in only some derived and reference parameters (with a .d or ref extension).  
SPECIAL NOTE!!!    The variable names GSZ_DPJ, ASZ_DPJ and WSZ_DPJ in the netCDF file represent vertical ground speeds, vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

All other AOC instruments worked properly.

There were 8 GPS dropsondes, 20 AXBT’s 21 CT’s and 13 CP’s released from the aircraft.  
Flight Director:


Jess Williams / Jack Parrish
Phone #:


(813) 828-3310 ext. 3140/3077
Page 1 of 1

