Flight ID: 20121027N1

Sensor or system						Number or Name

Static Pressure Probe 						PSM.2

Dynamic Pressure Probe  					PQM.2

Total Temperature Probe 					TTM.1

Dewpoint Temp. Probe  					TDM.1

Vertical Accelerometer  					AccZI.1

Altimeter  							AltGPS.3x

INE Selection  						1

Differential Attack Pressure Probe  				PDALPHA.2

Differential Sideslip Pressure Probe 	 			PDBETA.2

Dynamic Attack Pressure Probe  				PQALPHA.2

Dynamic Sideslip Pressure Probe  			PQBETA.2

Constants File		49cal102

Flight Directory		acdata/MET/2012/20121027N1

Local Met Data:			Takeoff (1728Z)		Landing (0124Z)

Aircraft Static Pressure		1004.3mb			1003.6mb

Tower Pressure (corrected)		1005.4mb			1005.4mb

Notes:

At 00z there was a system wide data gap that appeared from 00:00:05z to 00:00:54z.

At 00:48:15 there was a downward spike in the Novatel GPS (GPS.3).  This spike was removed using ACAT-4 processing software.  Finalized data can be found in the .AXC file.

TDM.1 and TDM.2 are both not rated for use under -50 deg C.  Cannot be considered reliable for dewpoints colder than -50C.

PQM.1 Malfunctioned throughout the flight and PQM.2 should be used in derived parameters.

AltRa1 was malfunctioning until from takeoff to 19:33:49z.  It appeared to then work well the rest of the flight.