[image: image1.png]



[image: image2.png]



N43RF ERROR SUMMARY
Hurricane Sandy 28 OCT 2012 
TDR

Flight ID: 20121028H2
Sensor or system





Number or Name

Inertial Selected (for wind derivation)


INE 1 


Accelerometer






AccZfilterI-GPS.1
Temperature Probe





TTM.1

Dew Point Probe





TDM.2X
Static Pressure






PSF.2 
Dynamic Pressure





PQM.2
Altitude (for vertical wind)




AltI-GPS.1

Flight Directory

acdata/MET/2012/20121028H2
Constants File
              
AAMPSConfig/core/n43.xml

Local Met Data:


Takeoff (1953) KMCF
Landing (0336Z) KMCF
Aircraft Static Pressure

1006.8  mb


1009.1 mb

Tower Pressure (corrected)

1006.7 mb


1008.3 mb
Notes:

Takeoff/Landing data:  Data during landing and takeoff are suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE:  The variable names GSZ_DPJ, ASZ_DPJ and WSZ_DPJ in the netCDF file represent vertical ground speeds vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

During approach into KMCF, TDM.2 recorded erroneous data.  They were directly substituted with values recorded by TDM.1 during the following times 032047Z – 032147.

All other AOC instruments utilized in deriving higher order parameters performed optimally.

There were 15 GPS dropsondes, 12 AXBTs  deployed from the aircraft.
0 GPS dropsondes and 2 AXBTs failed.

There was a data gap from 000008Z – 000051Z.

Flight Director:


Ian Sears
Phone #:


(813) 828-3310 ext. 3039
Page 1 of 1

