## Flight ID: 20141004H1

Sensor or system						Number or Name

Static Pressure Probe 						PSM.2

Dynamic Pressure Probe  					PQM.2

Total Temperature Probe 					TTM.1

Dewpoint Temp. Probe  					TDM.1

Vertical Accelerometer  					AccZfilterI-GPS.1

Altimeter  							AltIGPS.3

INE Selection  						INE 1

Flight Directory		acdata/MET/2014/20141004H1

Local Met Data:			Takeoff (1601Z)		Landing (2033Z)

Aircraft Static Pressure		1011.9 mb			1009.0mb

Tower Pressure (corrected)		1010.7mb			1008.6mb

Notes:

There were no data gaps.

All primary sensors provided valid data throughout the flight.

Data during landing and takeoff are potentially suspect.

SPECIAL NOTE!!! The variable names DPJ_GSZ, DPJ_ASZ and DPJ_WSZ in the netCDF file represent vertical ground speeds , vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm. It is recommended that these values be used for vertical wind analysis.

| Expendable Type | Number deployed | Number good | Number of messages transmitted |
| --- | --- | --- | --- |
| GPS dropwindsonde | 5 | 5 | 5 |
| AXBT | 0 | 0 | 0 |
| IR Sondes | 4 | - | - |